Type:			PATH-GEN

Document No.:	PATH-GEN-PSCM

Title:			PATHOLOGY USER HANDBOOK

Owner:		Liam O’Grady

Status			Active

Active Date:		23/08/2022

Review Date: 		23/08/2024

Revision 14 Approved by;

| Liam O’Grady | Laboratory Manager |
| --- | --- |
| Dr Andrew Hodgson | Consultant Haematologist |
| Dr Paul Hartel | Consultant Histopathologist |
| Dr Ana Reuda-Benito | Consultant Microbiologist |
| Martin Lawrence | LIS Manager |
| Sonia Gilmartin | Chief Medical Scientist, Haematology laboratory |
| Lorraine McCafferty | Chief Medical Scientist, Blood Transfusion laboratory |
| Noreen Montgomery | Chief Medical Scientist, Biochemistry laboratory |
| Mike Mitchell | Quality Manager, Microbiology laboratory |

| Revision No.13 Discarded | 13, obsolete date: 23/08/2022 |
| --- | --- |
| Revision No.14 Activated | 14, active date: 23/08/2022 |
| Section(s) involved | Amendments |
| General | - Update of laboratory address to reflect that used by SUH - Added BT CMS to main contact numbers - Removed reference to wooden box which was located outside lab door as no longer present. - GP interface meeting updated to Acute primary care interface meeting. - Sample Tube types, removed HLA testing from Citrate tube |
| Biochemistry | - New senior medical scientists added to senior list - Anti-Carbonic Anhydrase II Antibodies referral lab changed to Biomnis - Anti CCP removed from serology immunology referrals - GAD referral laboratory is now UHG - Removed Anti-IgA antibodies, see Blood Transfusion - Anti - IA2 now sent to Exeter - CD4 count now sent to GUH - Added in Bullous pemphigoid antibodies, Pemphigoid vulgaris antibodies, DPPX, Natalizumab (Tysabri) antibodies, CASPR2 and LGI1 antibodies added - Update to VGKC to advise testing CASPR2 and LGI1 - Updated John Radcliffe Hospital to Oxford University Hospital - Gel free and metal free tubes added to the vacutainer table. - Troponin T Hs added to the on call test menu - Haptoglobin, procalcitonin added to Biochemistry test menu - Updated the genetic testing table to current bench card - Biochemistry urine sample requests, added: Urine Arsenic, Urine chromium, urine hydroxyproline, urine melatonin, urine molybdenum. |
| Blood Transfusion | - Updated CMS to Lorraine McCafferty, contact number and email address, removed JR as SMS. Removed Acting from EOB position. - Added apply tourniquet to Performing the phlebotomy section - Added to sample lablleing section: NoteFor requests for DCT only, addressograph sample label permitted, only mandatory requirement is minimum of two patient identifiers. |
| Haematology | - Updated Laboratory contact numbers to include Haem Quality Manager, removed JR as SMS, EOB as QM and CMC as SMS, updated QM to Wendy McGinty, added contact number and e-mail address. - Haematology laboratory section wording updated and Coagulation and Blood Film sections minor updates. - Haematology specimens section, time essential for coagulation samples - Removed Haptoglobin from Haematology tests - Minor updates to TAT’s section. - Complete review and update of Referral test section. |
| Microbiology/ Serology | - Added Dr Vlasta Zujic Atalic telephone details (74163). - Removed Karen Logan as the Surveillance Scientist, and added Karen Hickey. - Added the Molecular Suite telephone (74166) - Added to the On Call Test Available Table Premidnight SARS-CoV-2 Rapid Test (8pm and midnight) AND SARS-CoV-2 Rapid Test (Consultant or Night Sister approved only) Post Midnight. - On Call Services. Removed “ Biochemistry On call staff process blood cultures post midnight “ - Contact details provided for new Senior Staff - Added details of sample type for Covid-19 / Respiratory Viruses as Universal Transport Medium (UTM-RT) to Nasopharyngeal , Nasal , Throat swab types. - Removed “not available” from Bartonella henselae and Quintana - Added Chikungunya IgM, Chlamydia pneumonia, Chlamydia Psittaci, Covid Abs, E. coli PCR, HTLV, Meningococcal PCR, Mumps RNA, Yellow fever and Zika virus. - Removed Chlamydia group CFT (non std) - Removed reference to the NVRL for the medical indications table. - Urine Cell Count Reporting Update (2022) Values of >1000 /μL of white blood cells (WBC) and/or red blood cells (RBC) will no longer be reported for automated cell counts, rather it will be the absolute value counted per μL. Reporting of manual counts will remain unchanged i.e. the absolute value of WBC and RBC will be reported up to 999 per μL. Thereafter, >1000/μL will be reported. Bacterial cells and epithelial cells will be reported as scanty, 1+, 2+ or 3+. - 14. Out of Hours Referral Testing- Courier Times Urgent specimens collected overnight can no longer be transported in time to be tested at the reference laboratory the next day. Instead, specimens received after 6 pm will be transported from Sligo using our regular courier service at 10 am the following routine working morning, arriving later that afternoon and tested the day after. This will result in a 24 h delay in turnaround time for these specimens. - Genital Samples testing and reporting policy effective from 3rd February, 2020. In line with best practice, investigation for Neisseria gonorrhoea in female patients will be carried out on endocervical swabs only. This is the specimen of choice for isolation of Neisseria gonorrhoea. Gram staining of vaginal swabs will be carried out only when bacterial vaginosis is specifically requested or if clinically indicated. Gram staining of male urethral swabs will continue to be carried out on Genito urinary medicine (GUM) specimens and specimens where STI is being investigated. The specimen of choice for investigation of balanitis is a swab from the balanoprepucial groove. Urethral swabs querying balanitis will not be processed and will be reported with a comment requesting submission of a swab from balanoprepucial groove. These changes are in line with current international recommendations (Reference: Public Health England 2017. UK Standards for Microbiology Investigations (Investigation of Genital Tract and Associated Specimens) B 28 Issue 4.6) - Faeces Testing From October 11th, 2021 the Dept. of Microbiology moved from a culture-based method for the detection of enteric pathogens in faecal specimens to a molecular platform called the “EntericBio” realtime PCR. The EntericBio system employed in SUH is a molecular, automated platform for the detection of enteric pathogens directly from stool samples. The test targets Salmonella spp, Shigella spp, Campylobacter spp, Cryptosporidium spp, Giardia spp and Verotoxin-producing E.coli (VTEC) in a PCR assay. The assay will increase detection rates for the 6 main enteric pathogens, particularly VTEC. Negative results will be reported as No target DNA Detected Positive findings will be reported as follows;: Salmonella enterica spp Salmonella enterica spp DNA detected Shigella spp Shigella spp DNA detected Verotoxigenic E. coli Verotoxigenic E. coli DNA detected Campylobacter spp Campylobacter spp DNA detected. Cryptosporidium spp Cryptosporidium spp DNA detected Giardia spp Giardia lamblia DNA detected Culture for confirmatory and epidemiological purposes will be performed on samples in which Salmonella spp or Shigella spp DNA is detected. If a viable organism is recovered, the isolate will be sent to the National Salmonella Reference Laboratory for speciation and susceptibility testing. Occasionally the organism will not grow on culture as it may not be viable but the system will still detect small amounts of DNA. In these cases, we will issue the report as NOT ISOLATED. If VTEC DNA is detected, the stool sample will be sent directly to Cherry Orchard Public Health Laboratory for full investigation. The Molecular system is not designed for tests of clearance of carriage. If this is required, it must be indicated on the request form or communicated to the Clinical Microbiology Team. ## Completing the Microbiology /Serology Request Form The Mandatory details required for processing patient specimens, are - Clinical details. For example, include details if the specimen is sent during an outbreak or there is a history of foreign travel or a specific diagnosis is being considered; include any history of administration of antimicrobial drugs. All of the above may influence the type of test that the laboratory performs. - Collection times - Requesting Doctor and patient location completed. In the sampling section :For the Vaginal / Cervical / Anorectal after collection, swabs should be placed in a non-nutrient Transport Medium such as Amies or Stuart. 19. Antimicrobial Testing SUH reports sensitivity testing of pathogens as S= Susceptible i.e. this antibiotic is expected to be effective for treatment in this patient. R= Resistant i.e. this antibiotic is NOT expected to be effective for treatment in this patient. I = Intermediate i.e. this antibiotic can be effective under certain circumstances. Look for Consultant Microbiologist advice |
| Histology and Cytology | - Removed Dr CK Consultant Pathologist - Sinéad O’Rourke replaces CM as CMS - Quality Manager updated to Senior Medical Scientist (Quality Officer) - Elaine Logan replaces KL as Quality Officer - Location of lab right replaces left - Removed or the Chief Medical Scientist - CLN-TH-008 updated to S- CLN-TH-008 - Added Ensure the addresograph labels used are from the current admission. Ensure episode/event corresponds to the clinician who is to receive the report, and no other clinician is referenced on the request form. - Added or Cytolyte fixative pre-filled containers - Part type of a specimen updated to Specimen description - Added and legibly - Removed Seminal Fluid - Removed should be assisted to dry quickly by waving in the air - Added if required - Added pre-booked |
| Laboratory IT | - Changed text from Laboratory IT to Laboratory Information System throughout document - Added Assistant LIS Manager details to Laboratory contact details - Added LabInfo.SystemsNW@hse.ie email to LIS contact details in hours of operation table Added “Please note: As not all phone calls may be answered, it is advisable to submit enquiries to the email given above.” - Changed Systems screen shots of Kepler to System screen shots of LAB73, reflections - Added to first sentence of Faxed Reports “and are the responsibility of the individual laboratory departments involved.” |

| Biochemistry | Haematology / Blood Transfusion | Microbiology | Histology / Cytology | Public Health | IT |
| --- | --- | --- | --- | --- | --- |

# Table of Contents

1.	Table of Contents	5

2.	Preface	6

3.	Introduction	7

4.	Location of the Laboratories	7

5.	Car Parking	7

6.	Laboratory contact numbers	8

7.	Hours of operation	9

8.	Test Availability	9

9.	Oncall service	9

10.	Turnaround times	11

11.	Laboratory Supplies	11

12.	Pathology request forms	12

13.	Specimen Transport	12

14.	Specimen Collection	16

15.	Specimen Acceptance Policy:	17

16.	Policy on protection of personal information	19

17.	Complaint procedure	19

18.	Biochemistry Laboratory	20

19.	Blood Transfusion Laboratory	48

20.	Haematology Laboratory	56

21.	Microbiology Laboratory	69

22.	Public Health Laboratory	178

23.	Histology and Cytology	179

24.	Laboratory Information System	189

# Preface

This handbook has been prepared to inform the users of the Saolta University Health Care Group, Sligo University Hospital, Pathology Laboratory of which services are available and how to obtain the services required.

It is appreciated that with the ever increasing range of test available it is difficult for the user to know which request form, specimen container, type of specimen and specific protocol required to obtain the specific investigation and result required. It is hoped that this handbook can address some of the problems encountered by clinical staff.

The handbook contains lists of relevant telephone numbers to facilitate access to appropriate consultant and senior scientific staff for advice; departmental telephone numbers are also available for result enquiries etc.

The views of users of this handbook and suggestions on how it may be improved are welcome; agreed changes in content and format etc. will be incorporated in future editions.

Liam O’Grady

Laboratory Manager

(On behalf of the Pathology Dept.)

# Introduction

A comprehensive Pathology Laboratory Service is provided by the departments of Biochemistry, Haematology/Blood Transfusion, Histology/Cytology and Microbiology. Mortuary Services are also provided at the Saolta University Health Care Group-Sligo University Hospital.

The Pathology Department provides a service for Consultant In-patients and Out-Patients also for primary Care Practitioners and Kingsbridge Hospital. An "On-call" Service is provided outside routine working hours for urgent requests in Biochemistry, Haematology/Blood Transfusion and Microbiology.

The role of the Pathology Service can be summarised as follows:

- to provide a consultant-led advisory service supported by appropriate diagnostic facilities

- to provide analytical results with appropriate attention to quality, speed and economy

- to provide interpretation of results, and where necessary, advise on further investigation

- to monitor individual patients and provide laboratory control of therapy where necessary

- to collaborate in the development and implementation of new methods of diagnosis and treatment

- to undertake fundamental and/or applied research

- to participate in research projects generated in the hospital or community

- to collaborate in training and continuing education of staff in the hospital and community

- to offer support and quality control of new patient testing facilities

The Pathology Service is provided by a multi-disciplinary team of staff consisting of Consultant Pathologists, Medical Scientists, Medical Laboratory Assistants, Clerical, Secretarial and Portering Staff. All major disciplines of the Pathology Service are provided to hospital medical staff, GP Practices and other health care units within the region.

This handbook has been prepared to familiarize the user with departmental structure and policies as well as specific test requirements.

Laboratory policy statements include brief descriptions of each laboratory, key contact personnel, hours of operation and instruction regarding specimen collection and transportation to the laboratory.

Acute primary care interace meetings occur quarterly, which the laboratory manager and clinical director attends.

# Location of the Laboratories

The Pathology laboratories are located on level 4.

The address of the laboratories is:

Pathology Department

Sligo University Hospital,

The Mall,

Sligo.

Eircode for Sligo University Hospital from the General Managers Office is F91 H684.

# Car Parking

The nearest car park to the laboratory is just off the mall.
Car parking is “pay and display”.

| # Laboratory contact numbers |  |  |  |
| --- | --- | --- | --- |
| Tel; 071917 ext |  |  |  |
| Laboratory Manager – Liam O’Grady ext 74560 |  |  |  |
| Laboratory Reception office | 74553 | Reception Fax no. | 36889 |
| Clinical Chemistry | ext | Haematology/Blood Transfusion | ext |
| Oncall | 173450 | Oncall | 173440 |
| Chief Medical Scientist | 74561 | Haem Chief Medical Scientist | 74562 |
| Main lab | 74590 | Haem lab Haem Quality Manager | 74556 72562 |
| Endocrinology | 74141 | BT Chief Medical Scientist Blood Transfusion lab | 76881 74144 / 74719 |
| Reception | 74142 | Haemovigilance | 74675 |
|  |  | BT Quality Manager | 74759 |
|  |  | Dr Andy Hodgson | 74458 |
|  |  | Dr Aine Burke | 36897 |
| Histology/Cytology |  | Microbiology |  |
| Main lab | 74559 | Oncall | 173444 |
|  |  | Main lab | 74557 |
| Chief Medical Scientist | 74564 | Molecular Suite | 74166 |
| Pathologist Secretary | 74554/ 74710 | Chief Medical Scientist office | 74563 |
|  |  | Consultant Microbiologist Dr Ana Rueda Benito office | 74162 |
|  |  | Consultant Microbiologist Dr Vlasta Zujic Atalic | 74163 |
|  |  | Consultant Microbiologist’s secretary | 72501 |
|  |  | Quality Manager | 74434 |
| Serology | 74159 | Surveillance Scientist- Karen Hickey | 74140 |
| Public Health | 74558 | Laboratory IT |  |
| Media | 74157 |  |  |
| Infection Prevention and Control | 74161 | Martin Lawrence – LIS Manager Siobhan McHugh | 74565 36824 |

# Hours of operation

|  | Routine Hours | On Call Hours |
| --- | --- | --- |
| Mon – Thurs | 0800h – 2000h | 2000h – 0800h |
| Fri | 0800h – 2000h | 2000h – 0900h |
| Sat – Sun - Public Holidays | On Call work only | 0900h – 0900h |

To contact laboratory during routine hours, please refer to specific department for contact details.

To contact laboratory during On Call hours, contact relevant department as follows;

Biochemistry: 				173450

Haematology/Blood Transfusion: 	173440

Microbiology: 				173444

Histology / Cytology / Serology / Public Health / Media /Infection Prevention and Control Department

Open 09:00 to 17:00hrs weekdays only. Please note that these departments are not open at weekends or Public Holidays and do not provide an “on call” service.

The Laboratory Central Reception has no office cover after 17:00 weekdays and ALL weekends, all queries must go through the On-Call telephones as above.

# Test Availability

Tests Available during routine hours

For routine test availability and specimen requirements, please refer to specific departmental guidelines

Biochemistry

Haematology/ Blood Transfusion

Histology/Cytology

Microbiology

Serology

Public Health

# Oncall service

Medical Laboratory Scientists provide an emergency On Call service outside of the routine working hours for in -patients (see above for “on call” working arrangements). This service is intended to respond to urgent test requests and provide results, where there is an immediate clinical requirement for decision making in the patients care.

Specimens during On Call hours should be sent on the red PATH-GEN-FRM-12 Laboratory Emergency Request Form. Any other tests required should be completed on blue/green request forms and attached. These non-OnCall tests will be processed during next routine hours.

NB : All 3 copies of form must have patient information completed

## Biochemistry Oncall

| Biochemistry On Call tests (On Call Telephone number 173450) |  |
| --- | --- |
| Blood gases * | Total bilirubin (neonates only) |
| Urea & Electrolytes | Alcohol ** |
| Cardiac enzymes (weekends only) | Paracetamol |
| Amylase | Salicylate |
| Magnesium | Glucose |
| Calcium | CRP |
| Troponin T Hs |  |

*Biochemistry On call MUST be contacted prior to sending blood gas specimen. Failure to do so may result in specimen not being processed. Do not send blood gas specimens in Shute system

** Alcohol requests from ED will only be processed upon direct discussion with the consultant. Result cannot be used for medico legal purposes due to collection procedure.

Tests other than those listed above will be separated and stored and processed during the next routine hours. However in the event that specialized tests are required to be processed during Oncall hours e.g. Urine Organic Acids or any specimen that must be sent on ice, clinicians MUST contact Biochemistry On Call to pre-arrange.

## Haematology / Blood transfusion Oncall

| Haematology / Blood transfusion On Call tests (On Call Telephone number 173440) |  |
| --- | --- |
| Group & Cross match* | Full Blood Count |
| Group & hold | Coagulation Screen |
| Antibody identification | D Dimers |
| Blood products* | Fib C |

*On call scientist must be contacted to arrange

NB a blood banking form must be completed for all Blood transfusion requests

## Microbiology on call

| Microbiology Tests available on call ( On call Telephone number 173444) |  |
| --- | --- |
| Pre-midnight | Post-midnight |
| CSF analysis | CSF analysis |
| Corneal Scrapings |  |
| Blood cultures. | Blood Cultures |
| Urines Culture / Microscopy | Urine (Paeds < 2 years of age only) |
| Sputum from ICU/ NICU. |  |
| Gentamicin assays |  |
| Vancomycin assays |  |
| HIV Ag/Ab & Hepatitis B Surface Antigen from Source patient of Occupational Exposure/Needle Stick Injury | HIV Ag/Ab from Source patient of Occupational Exposure/Needle Stick Injury |
| Pregnancy tests |  |
| MRSA screens |  |
| VRE screens |  |
| Legionella & Pneumococcal Urinary Antigens |  |
| SARS-CoV-2 Rapid Test (8pm and midnight) | SARS-CoV-2 Rapid Test (Consultant or Night Sister approved only) |

The Microbiology Medical Scientist On-Call must be contacted prior to sending any urgent requests On Call. They are contactable using the numbers above or through the Main Switchboard .Other tests not listed here may be processed by request of the attending consultant physician and following discussion with the Medical Scientist on call.

There is no requirement to notify on call staff when sending blood cultures.

# Turnaround times

Please note that the arrival area for specimens via chute/porter is a separate area to the Biochemistry, Haematology and Microbiology labs. Therefore sending a specimen without notification to relevant Oncall staff may result in delay in specimen being processed and increased turnaround times.

Specimens between 1700H and 2200H will be batched with a maximum turnaround time of 3hrs, please note that if specimen is required urgently during this time period, the OnCall staff must be notified and the specimen will be processed ASAP and in general with a maximum turnaround time of 1hr from receipt of specimen.

You are required to alert Oncall staff regarding all specimens after 2200H through to 0900H.

Oncall staff must be notified for all specimens from Resus to ensure specimens are processed immediately.

For routine test TAT’s refer to individual laboratory departments.

## Microbiology Turnaround Times

The Microbiology Laborarory stated turnaround times (TAT’s) are from the day of receipt to issue of reports, in calendar days.

The times shown are the typical TAT’s achieved by the laboratory, but may be longer or shorter depending on the availability of staff and the complexity of the investigation. SUH staff are committed to the fastest possible issue of reports, consistent with accuracy, on the specimens they examine.TAT’s may vary during seasonal outbreaks, and testing may be conducted more frequently during epidemic seasons.

The Microbiology Laboratory seeks to process at least 75% of specimens received, within the published TAT’s.

This Quality Objective is reviewed each month using available data from the Laboratory Information System (LIS) for all accredited tests.

# Laboratory Supplies

For SUH internal users, request forms and specimen containers are issued from the laboratory upon completion of supplies requisition form available from laboratory reception.  External service users are required to source their request forms and specimen contaniners from Cruinn Diagnostics using PATH CR FRM 3 Supplies requisition for GP and Community Hospitals.  GP orders received by 12pm will be delivered on the next working day

| Laboratory reception | 071 917 4553 |
| --- | --- |

This form can also be downloaded

Please refer to QPulse for Pathology Paediatrics order form

Pathology Ward order form

Supplies requisition for GP and Community Hospitals.

Please allow 2-3 days from laboratory receipt of form to receive supplies.

# Pathology request forms

Paper Request Forms

There are several types of request form in current use;

- Blue Request form used for routine blood sciences analysis

- Red Request form used for urgent on call analysis

- Green Request form used for Microbiology/Serology analysis

- Purple Request form used for Histology/Cytology analysis

- For BloodTransfusion form details see separate BloodTransfusion section

Request forms should be completed with appropriate legible clinical details. All request forms must be completed with the following information Please write legibly

- The patient’s details (forename, surname, date of birth, sex, hospital number home address) on all  copies of request form

- Details of the originator of the request (doctor's name; also address and telephone number or the hospital ward/source to which the report should be returned)

- A brief summary of the relevant clinical details.

- The tests requested.

- The specimen collection date and time.

- The specimen type

Request form problems that will cause cancellation or delay in specimen processing

- Illegible patient demographics

- Absent or incorrect patient identifier

- Illegible name of requesting clinician

- Absent or incorrect time and date of request

- Incorrect ward/location

- Unclear or absent marking of test request boxes

High Risk Patients and Danger of Infection Specimens

All biological specimens are handled as though each specimen is a high-risk danger of infection specimen. However in known cases of high risk, please advise laboratory of risk on request form.

# Specimen Transport

Transport of specimens to the laboratory must be done to minimise risk of infection to all those who come into contact with specimen. All specimens should be treated as potentially biohazardous and standard precautions should apply. Infection Prevention and Control guidelines are available on Qpulse for dealing with biological spills should be followed in the event of leak or spill during transport or handling.

Histology/Cytology specimens must be delivered directly to the Histology/Cytology Laboratory. Pneumatic chute system is unsuitable.

Specimens must be transported in such a manner that:

- Patient confidentiality is maintained during transportation and on receipt of specimens.

- STAT and routine in house specimens are transported to the lab ASAP.

- GP or outside locations must be transported to the lab within 48 hours (72 hours for Serology specimens) or in accordance with criteria for time dependant analytes.  Time dependant analytes for Biochemistry are highlighted in Purple in the Biochemistry section of this document.

- Extremes of temperature are avoided during transport and specimens should be ideally transported at ambient temperature in the appropriate specimen container.

- Specimens will be required to be packed and transported in accordance with the European Agreement concerning the International Carriage of Dangerous Goods by Road (UN ADR).

## Internal transport of specimens

Specimens must be placed within the specimen bag attached to the request form and sealed. The request form is either attached to bag or sits into bag envelope compartment. Transport of specimens to laboratory from within hospital, is by use of portering service, Healthcare assistantss or/and pneumatic tube system.

Many wards/departments in the hospital have a pneumatic tube system linked to all the departments. Each chute station displays the operating instructions and a problem guide. For all faults and general information ring the Maintenance department on 74555 or in an emergency bleep 180.

NB: Blood gas specimens should NEVER be sent via pneumatic tube system as they will not be processed.Blood gas specimens must NOT be sent with needle still in place

## Specimens on ice

If specimen is required to be stored on ice, place ice into a specimen bag, place specimen into another specimen bag and place into ice specimen bag, this ensures the sample label is not damaged by ice water. Send specimens on ice to laboratory immediately. Specimens on ice should NEVER be sent via pneumatic tube system.

## Procedure for the Out of Hours Delivery and Storage of Specimens to Pathology

Urgent specimens may be sent by chute to 4551 or 4552 alternatively the specimen may be delivered to the scientist “on-call”. The person generating the request must contact the scientist “on-call.

## External transport of specimens

Specimens may be hand delivered to laboratory central reception office without arrangement during routine hours.

## GP collections

A courier service is arranged with Laboratory Manager for predefined days and is done by 2 taxi companies. Service users have been instructed on the transport requirements (PATH-BT-MEMO-13 Specimen Transport Requirements for Pathology Specimens).

## Packing instructions

Diagnostic specimens which are to be transported by road to the laboratory should be packaged as follows in accordance with the European Agreement concerning the International Carriage of Dangerous Goods by Road (ADR 2015). It is the responsibility of the sender to adequately package specimens for transport. Diagnostic specimens, which are assigned UN 3373, are human materials that are transported only for the purposes of diagnosis or investigation.

This following packing instruction applies to diagnostic specimens (UN 3373):

The packaging should be of good quality, strong enough to withstand the shocks and loadings normally encountered during carriage. Packaging should be constructed and closed to prevent any loss of contents that might be caused under normal conditions of carriage.

The packaging should consist of at least three components:

- A primary receptacle; (Specimen tube / container)

- A secondary receptacle (Bag); and

- An outer packaging (Box)

Of which either the secondary or the outer packaging shall be rigid.

Primary receptacles should be packed in secondary packagings in such a way that, under normal conditions of carriage, they cannot break, be punctured or leak their contents into the secondary packaging. Secondary packagings should be secured in outer packagings with suitable cushioning material. Any leakage of the contents shall not compromise the integrity of the cushioning material or of the outer packaging.

For further details of the packing instructions for UN 3373 refer to European Agreement concerning the International Carriage of Dangerous Goods by Road (ADR 2015) part 4 packing instruction P650.

Sample collection tube types

| Volume | Order of Draw | Cap Colour | Additive | Assays | Mixing Instructions | Special Instructions |
| --- | --- | --- | --- | --- | --- | --- |
| 3ml | 1 |  | Citrate Solution | PT, APTT, D-Dimer, Fibrinogen, Thrombophillia Screen, | After Blood Collection, Invert tube 4 times | Fill tube to Arrow Line - Inadequately filled tubes CANNOT be used, including overfilled tubes. |
| 9ml | 2 |  | Serum Gel | General Biochemistry Tests, Immunology & Virology Tests, | After Blood Collection, Invert tube 5-10 times | Allow 30 Minutes before Centrifuging |
| 6ml | 3 |  | Serum clot activator Gel Free | Biochemistry tests: certain drug level | After Blood Collection, Invert tube 5-6 times | Take ONLY when specifically requested |
| 9ml | 4 |  | Lithium Heparin Gel | Biochemistry tests; if specimen is clotting in-vitro, some non-routine Biochemistry tests e.g. Amino Acids | After Blood Collection, Invert tube 5-10 times | Allow 30 Minutes before Centrifuging |
| 4ml | 5 |  | Lithium Heparin Gel Free | Biochemistry test: Chromosome analysis | After Blood Collection, Invert tube 8-10 times | Take ONLY when specifically requested |
| 3ml | 6 |  | EDTA | FBC, HBA1c, Malaria Parasites, Sickledex, Reticulocyte Count, ACTH, Renin, Cyclosporins, Haemochromatosis, Ammonia, ESR, PTH, PCR | After Blood Collection, Invert tube 8-10 times | Ammonia MUST be Transported on ICE PTH must be sent promptly to the lab |
| 6ml | 7 |  | EDTA | Group& hold, Crossmatch, DCT | After Blood Collection, Invert tube 8-10 times | Handwritten details ONLY - no addressograph (within SUH PDA collect label acceptable) |
| 4ml | 8 |  | Fluoride Oxalate | Blood Glucose Levels & GTT, Lactate | After Blood Collection, Invert tube 5-10 times | Specify Collection Time & State if sample is RANDOM or FASTING,Lactate to be transported on Ice |
| 6ml | 9 |  | Serum clot activator, Metal free | Trace Metal Analysis | After Blood Collection, Invert tube 8-10 times | Take ONLY when specifically requested |

# Specimen Collection

Specimen containers and request forms should be labelled at the time of collection. Pre-labelling of blood collection tubes is poor practice and increases risks of misidentification.

If using an addressograph/sticky label on a specimen it must be no bigger than that of the label already on the container and should be placed horizontally and only over the existing label.

Separate Blood samples are required for each of the Laboratory disciplines (e.g. if a clotted blood sample is required for Serology and Biochemistry tests, then two clotted blood samples should be sent). Ensure the correct numbers of samples are sent for the tests requested. One full clotted specimen is adequate for all routine biochemistry and endocrinology testing.

## Contamination, interfering factors and specimen storage

!!! AVOID CONTAMINATION !!!

When taking a series of blood specimens, it essential that the order of draw outlined in the table above is followed. Failure to adhere to this sequence will lead to contamination of blood specimens with anticoagulants /preservatives. This contamination can produces spurious and invalid results in major biochemical parameters.

- Avoid haemolysis, drip contamination, over-heating and prolonged venous constriction.

- Ensure thorough and instant mixing of blood with anticoagulant (heparin, fluoride EDTA or potassium EDTA) for plasma specimens.

- Do not transfer blood from one tube to another e.g. EDTA to Lithium heparin.

- Do not leave Clinical Biochemistry blood specimens in the fridge (4°C) or overnight at room temperature without prior centrifugation if required.

# Specimen Acceptance Policy:

The following does not apply to Blood Transfusion or Histology/Cytology; please refer to Blood Transfusion and Histology/Cytology sections.

For test specific requirements, refer to specific laboratory department sections.

Mandatory criteria for specimen labeling

- Patient surname & forename (do not use abbreviations)

- SUH PCN (where available for GP samples)

- Date of birth

- Date of collection *Multiple specimens taken at different times on a patient MUST be labeled on the specimen container with the time (24 hr clock) when the specimen is taken. The request form should also be labeled accordingly

- For babies of multiple births: twin/triplet etc number

- In exceptional circumstances e.g. SUH patients in a major incident or unknown unconscious ED patient: Unique identification number, name e.g. Jane Doe and gender.

- Details must be legible

Mandatory criteria for request form completion

- Patient surname & forename( do not use abbreviations)

- SUH PCN (where available for GP requests)

- Date of birth

- Date & time (24 hr clock) of collection

- For babies of multiple births: twin/triplet etc number

- In exceptional circumstances e.g. SUH patients in a major incident or unknown unconscious ED patient: Unique identification number, name e.g. Jane Doe and gender.

- Relevant Clinical Details

- Location and Doctor

- Test(s) requested

- Details must be legible

The patient details must be correct and correspond on specimen and request form.

Additional labeling information

- Please provide Professional Registration number

- All sheets of the request form should be labeled with an addressograph.

- Some genetic/specialised tests require an additional completed consent form and may not be processed without it, refer to specific laboratory department sections.

- Specimen and form may be handwritten or addressograph labeled or use Blood Track PDA label.

Please Use the appropriate request form:

-Blue Request form used for routine Blood sciences analysis (Biochemistry/Haematology/Serology)

-Red Request form used for urgent on call analysis (Biochemistry/Haematology/Microbiology)

-Red Blood Transfusion request form (Blood Transfusion)

-Green Request form used for Microbiology analysis and chlamydia testing for Serology (Microbiology/ Serology)

-Purple Request form used for Histology/Cytology analysis

-Brown Request form is used for Kingsbridge Hospital in patients

Actions if mandatory requirements not met

If any mandatory criteria are omitted or incorrect on specimen &/or request form or differ between specimen and request form, the specimen will not be analysed, will be rejected and this will be reported on the LIS.

Aged (>48hrs) samples and illegible writing on request forms or samples will NOT be processed.

Deviation from Specimen Acceptance Policy:

If a clinician requires a rejected request to be processed due to the specimen being irreproducible, they must attend the Pathology laboratory and in conjunction with a medical scientist complete a PATH-GEN-FRM-3 Specimen Deviation form. The clinician will state the reason for the error, confirm they are unable to obtain repeat specimen and accept responsibility for any clinical decisions made on the basis of the results.

The Pathology Department will accept no responsibility for specimens analysed which initially failed to meet the acceptance criteria.

Examples of unrepeatable/irreproducible specimens would include:

- Paediatric specimens <7yrs of age

- All histology and non-gynae cytology specimens.

- Bone marrow, CSF specimens, tissues and other fluids obtained by invasive procedures (NOT blood specimens).

- Dynamic function test specimens.

- Post mortem specimens where recollection is not possible

- Specimens collected in an acute situation where the clinical status of the patient may have changed e.g. drug overdose, hypoglycaemic episode, commencing anti-coagulant therapy, mast cell tryptase, complete loss of venous access such as severe burns.

- Specimens for culture from normally sterile sites where antibiotic therapy has been subsequently started e.g. blood cultures

(This list is not intended to be exhaustive)

Please note in general that specimens of Blood would not normally be classified as ‘Unrepeatable’.

General Practitioner requests for changes to patient demographics

Where a GP requires a patient’s forename, surname, DOB or gender to be amended on the Laboratory Information System (LIS), they must provide written confirmation.

This must be on GP headed paper which includes:

- Patient’s current forename, surname, DOB, gender, address,

- the change required

- The GPs signature (include PCN if available).

This should be provided with the specimen as required.

If not, and the patient demographics on the request do not match those on the LIS, the specimen will not be processed and will be reported as rejected on the LIS. Specimens will be stored for 48hrs and processed if testing is feasible upon receipt of the confirmation.

NB: General Practitioners; Where Pathology reports are returned to GP practice with Sligo University Hospital PCN quoted, please update patient records and use PCN on future requests

# Policy on protection of personal information

Arrangements are in place to ensure that confidentiality of personal information is maintained. Each member of staff is contractually bound not to discuss or disclose any information of a confidential nature except in the proper course of their employment, COR-CE-002 Sligo General Hospital Confidentiality Code of Practice.

# Complaint procedure

A complaint may be made by contacting the Laboratory Manager or the relevant laboratory Chief Medical Scientist or Quality Manager at the contact details given. The relevant laboratory will follow up complaints promptly as per their laboratories procedure.

# Biochemistry Laboratory

Biochemistry Laboratory Pathology Department, Sligo University Hospital, Sligo.

Introduction	20

Biochemistry Hours of Operation	21

Biochemistry Laboratory Staff Contact Details	21

Biochemistry Blood Sample tube guidelines	22

Receipt of Specimens	23

Sample Processing, Results and Turn-Around-Times (TAT's)	23

Retrospective Requesting (add-on requests)	24

Telephoning of Results	24

Biochemistry Test Menu	24

Blood and Fluids	24

Urine Biochemical Analysis	30

Procedure for 24hr urine collection	30

Biochemistry Referrals	35

Requests for Genetic Testing	35

Factors affecting Clinical Biochemistry results	40

Haemolysis	40

Icterus	41

Lipaemia	42

Immunology Referral Tests	42

Return to Table of Contents

## Introduction

The function of the Clinical Chemistry laboratory is to perform qualitative and quantitative analyses on body fluids such as blood, urine, spinal fluid as well as other fluids. This is a guide to the Biochemistry laboratory in Sligo University Hospital and it aims to detail sample requirements for the repertoire of tests that are performed in the department and to summarise requirements for those that are sent out to referral laboratories.

## Biochemistry Hours of Operation

| Hours of Operation: | Routine Service Monday-Friday 0800-2000 Emergency On call service available outside of these hours |
| --- | --- |

## Biochemistry Laboratory Staff Contact Details

The telephone in Biochemistry will be answered daily between 11:30 – 13:00h and between 14:00-1530h.  Patient reports are available on the LIS for look up as soon as they are authorised.

Details of specimen requirements are listed in the sections below.

| Name | Job title | Contact / Email |  |
| --- | --- | --- | --- |
| Mr Liam O’Grady | Laboratory Manager | Liam.OGrady@hse.ie 071 917 4560 |  |
| Ms. Noreen Montgomery | Chief Medical Scientist | Noreen.Montgomery@hse.ie 071 917 4561 |  |
| Ms Karen Connolly | Senior Medical Scientist (Quality Officer) | KarenA.Connolly@hse.ie 071 917 4590 |  |
| Ms Lisa Duignan | Senior Medical Scientist (Quality Officer) | Lisa.Duignan@hse.ie 071 9171111 ext 74159 |  |
| Ms Martina Egan | Senior Medical Scientist | Martina.Egan2@hse.ie 071 917 4590 |  |
| Ms Louise Molloy | Senior Medical Sceintist (NPT) | Louise.Molloy1@hse.ie Ext 73444 |  |
| Ms Carmel O’Neill | Senior Medical Scientist | Carmel.ONeill@hse.ie 071 917 4590 |  |
| Laboratory Phone Numbers | On call | 173450 |  |
|  | Biochemistry Reception | 071 917 4142 |  |
|  | Main Laboratory | 071 917 4590 |  |
| Fax | 071 917 4658 |  |

## Biochemistry Blood Sample tube guidelines

The sample tubes that are predominantly used in Biochemistry are as follows;

Vacuette Serum Tube

The inner wall of the VACUETTE® Serum tubes have a special coating of microscopic silica particles to activate the coagulation process. Serum gel tubes contain an inert barrier gel that is present in the bottom of the tube. During centrifugation the barrier gel moves upward to the serum - clot interface, where it forms a stable barrier separating the serum from fibrin and cells. VACUETTE® Serum Tubes with Gel improve the serum yield and enable serum to be left in the primary tube.

Serum Gel free Tubes

The serum tubes without gel are needed for checking the levels of many therapeutic drugs.  Please contact the laboratory for further guidance

Vacuette Lithium Heparin Tube

The inner wall of the VACUETTE® Heparin tubes is coated with spray-dried lithium, ammonium or sodium heparin. The additives are anticoagulants, which block the coagulation cascade and prevent coagulation of the blood sample.

Plasma gel tubes contain an inert barrier gel that is present in the bottom of the tube. During centrifugation the barrier gel moves upward to the plasma - cell interface, where it forms a stable barrier separating the plasma from cells. VACUETTE® Plasma Tubes with Gel improve the plasma yield and enable plasma to be left in the primary tube.

Lithium Heparin Gel free tubes

Use the gel-free lithium heparin tubes for Chromosome and Genetic studies.

Vacuette Flouride Oxalate Tube

Both sodium fluoride and iodoacetate are used in VACUETTE® Glucose Tubes as glycolysis inhibitors to preserve glucose when combined with an anticoagulant such as EDTA, potassium oxalate or heparin. The tubes are suitable for determining glucose and lactate. The latter must be collected on ice.

Vacuette EDTA Tube

The tube interior of EDTA tubes is spray dried with EDTA. (EDTA – a salt of ethylene diamine tetraacetic acid). EDTA tubes are offered as either K2EDTA or K3EDTA tubes.

Blood gas syringes

Unique dry, electrolyte-balanced heparin prevents bias and analyzer clotting

## Receipt of Specimens

Ideally all specimens should be received as soon as possible following phlebotomy. For in-house samples the most efficient delivery to the laboratory is via the chute. Certain sample types however cannot be transported via the pneumatic chute system as outlined in the departmental specimen acceptance policy. The samples that should not be sent via chute are Blood Gases and any sample on ice requiring immediate processing e.g. Lactate and Ammonia.  All samples for Biochemistry must be received within 48hrs of phlebotomy in line with departmental specimen acceptance criteria. A restricted testing profile can only be provided when specimens are aged.

## Sample Processing, Results and Turn-Around-Times (TAT's)

Every effort is made to ensure that samples are processed in a timely manner with results available to the requesting clinicians within stated TAT's.

STAT specimens: Results available within a 1 hour target

Routine SUH in patient specimens: Results available within a 4 hour target.

GP specimens: Results available within 48 hours of receipt into the laboratory during routine working hours.

The relevant department should always be contacted in advance if results from primary care locations are required urgently.

## Retrospective Requesting (add-on requests)

It may be possible to retrospectively request additional testing on a sample already in the possession of the laboratory when this would facilitate efficient clinical management. However, this depends on the integrity of the sample in our possession, its suitability for the additional test and current workload levels being experienced. Results may take up to 12hr to report. If urgent results are required it is always preferable to take a fresh sample. Add-on testing remains at the discretion of the laboratory because of the additional risk and work it involves and we would appeal to users not to abuse this aspect of our service.

In general tests can be added up to 24 hours post collection, after 24 hours it is preferable to collect another sample. Some tests are not suitable for add-on requesting e.g. Alcohol,Ammonia, CO2, Glucose, HbA1c, Lactate, PTH

## Telephoning of Results

The department strives to phone back critical test results as soon as possible following report authorisation, in line with departmental policy and in conjunction with guidance issued nationally from the Royal College of Pathologists.  Once a report is authorised it is available to view at ward level and is downloaded to primary care locations via Healthlink.  For further information please contact the Laboratory on Ext 74561.

## Biochemistry Test Menu

## Blood and Fluids

| Test | Specimen type |  | Additional Information |
| --- | --- | --- | --- |
| Time dependant analytes highlighted in Purple |  |  |  |
| Albumin | Blood Fluid | Serum (Red top tube) |  |
| Alcohol | Blood | Serum (Red top tube) | Must be requested by Consultant when coming from ED |
| Alk.Phosphatase | Blood | Serum (Red top tube) | . |
| ALT | Blood | Serum (Red top tube) |  |
| Alpha Fetoprotein | Blood | Serum (Red top tube) | . |
| Alpha1 Antitrypsin | Blood | Serum(Red top tube) |  |
| Ammonia | Blood | EDTA (purple top tube) | On ice and transported to Lab immediately Must inform Lab before taking sample Do not send via chute |
| Amylase | Blood | Serum (Red top tube) |  |
| Anti-CCP | Blood | Serum (Red top tube) |  |
| AST | Blood | Serum (Red top tube) |  |
| Beta HCG | Blood | Serum (Red top tube) |  |
| Bicarbonate | Blood | Serum (Red top tube) |  |
| Bilirubin (Total) | Blood | Serum (Red top tube) |  |
| Bilirubin (Direct) | Blood | Serum (Red top tube) |  |
| Blood Gases | Arterial Blood | Arterial Blood Balanced Heparinised Syringe. | Do not transport in chute. Needle must NOT be left in syringe. Label sample clearly. Inform laboratory when sending gas especially during on call periods |
| Calcium | Blood | Serum (Red top tube) |  |
| CEA | Blood | Serum (Red top tube) | . |
| CA-15.3 | Blood | Serum (Red top tube) |  |
| CA-19.9 | Blood | Serum (Red top tube) |  |
| CA-125 | Blood | Serum (Red top tube) |  |
| Carbamazepine | Blood | Serum (Red top tube) |  |
| Chloride | Blood | Serum (Red top tube) |  |
| Cholesterol | Blood | Serum (Red top tube) |  |
| HDL Cholesterol | Blood | Serum (Red top tube) |  |
| LDL Cholesterol | Blood | Serum (Red top tube) |  |
| C-Reactive Protein | Blood | Serum (Red top tube) |  |
| Cortisol | Blood | Serum (Red top) |  |
| Creatine Kinase | Blood | Serum (Red top tube) |  |
| Creatinine | Blood | Serum (Red top tube) or Plasma (Green top tube) |  |
| CSF Protein | CSF | Universal | Contact Laboratory |
| CSF Glucose | CSF | Universal |  |
| Digoxin | Blood | Serum (Red top tube) | Specimen should be taken at least 6-12 hours post dose. |
| Electrophoresis | Blood | Serum (Red top tube) |  |
|  | EMU or 24H Urine | 24Hr container | EMU- full morning void or complete 24h collection |
| Ferritin | Blood | Serum (Red top tube) |  |
| Folate | Blood | Serum (Red top tube) |  |
| FSH | Blood | Serum (Red Top) |  |
| Gamma GT | Blood | Serum (Red top tube) |  |
| Glucose | Blood | Fluoride EDTA; Adult grey top or Paediatric yellow top tube. |  |
| Haemochromotosis | Blood | EDTA (purple top tube) |  |
| Haemoglobin A1c | Blood | EDTA (purple top tube) or Fluoride EDTA |  |
| Haptoglobin | Blood | Serum (Red top tube) |  |
| IgG IgA IgM | Blood | Serum (Red top tube) |  |
| Iron | Blood | Serum (Red top tube) |  |
| Lactate | Blood | Fluoride EDTA; Adult grey top or Paediatric yellow top tube. | On ice and transported to laboratory immediately Do not send via chute |
| LDH | Blood Fluid | Serum (Red top tube) |  |
| LH | Blood | Serum (Red top tube) |  |
| Lithium | Blood | Serum (Red top tube) | Specimen should be taken 12 hours post dose |
| Magnesium | Blood | Serum (Red top tube) |  |
| Oestradiol | Blood | Serum (Red top tube) |  |
| Osmolality | Blood | Serum (Red top tube) | For Water Deprivation Test, contact the laboratory in advance. |
|  | Urine | Random |  |
| Paracetamol | Blood | Serum (Red top tube) |  |
| Phenobarbital | Blood | Serum (Red top tube) |  |
| Phenytoin | Blood | Serum (Red top tube) |  |
| Phosphate | Blood | Serum (Red top tube) |  |
| Potassium | Blood | Serum (Red top tube) or Plasma (Green top tube) | GP’s must clearly state on request form if potassium testing is required, as it is not included in the GP Renal Profile, however, when the Creatinine level is >150umol/L or when the Potassium level is <3.0mmol/L it will be reported. NB Specimen must be received in laboratory within 4hrs of phlebotomy for an accurate potassium measurement. |
| Progesterone | Blood | Serum( Red top) |  |
| Procalcitonin | Blood | Serum (Red top) |  |
| Prolactin | Blood | Serum (Red top tube) |  |
| Protein (Total) | Blood Fluid | Serum (Red top tube) |  |
| PSA | Blood | Serum (Red) |  |
| PBNP | Blood | Serum(Red Top) |  |
| PTH | Blood | EDTA (purple top tube) |  |
| Rhuematoid factor | Blood | Serum (Red top tube) |  |
| Salicylate | Blood | Serum (Red top tube) |  |
| Sodium | Blood | Serum (Red top tube) or Plasma (Green top tube) |  |
| Sweat Test | Sweat | Collected by Medical Scientist, must arrange with Biochemistry Lab ext 4590 in advance. |  |
| Testosterone | Blood | Serum(Red Top) | Male levels only tested at SUH. Female / paediatric testing is referred to an external laboratory |
| T4 (Free) | Blood | Serum (Red top tube) | Samples with TSH above or below normal range will be processed, otherwise by endocrinologist request. |
| Total Iron Binding Capacity | Blood | Serum (Red top tube) |  |
| Transferrin saturation | Blood | Serum (Red top tube) |  |
| Triglyceride | Blood | Serum (Red top tube) |  |
| Troponin T Hs | Blood | Serum (Red top tube) |  |
| TSH | Blood | Serum (Red top tube) |  |
| Urate | Blood | Serum (Red top tube) |  |
| Urea | Blood | Serum (Red top tube) or Plasma (Green top tube) |  |
| Valproic Acid | Blood | Serum (Red top tube) |  |
| Vitamin B12 | Blood | Serum (Red top tube) |  |
| Vitamin D 25OH | Blood | Serum (Red top tube) |  |

Return to Biochemistry Index

Return to Document Table of Contents

## Urine Biochemical Analysis

Obtain the correct collection container from the laboratory for analysis;

refer to urine sampling guidelines

There are three types of urine container available from the lab;

Plain bottle

Catecholamine  / 5HIAA Testing (contains Hydrochloric acid) *

Calcium Testing  (contains Hydrochloric acid)*

*Health and safety notice*

Patient should be informed that container contains acid and be informed of the potential dangers.

Keep acidified containers out of reach of children

In case of contact with eyes or skin, rinse immediately with plenty of water and seek medical advice

Patients must NOT urinate directly into acidified container

Do not breathe any fumes from acidified containers

Please return any unused urine containers to laboratory for appropriate disposal.

### Procedure for 24hr urine collection

At the start of the collection (~8AM) empty the bladder completely, this should be done whether or not the patient feels the need.

Collection begins after 1st morning urine is passed.

Note the exact time on the bottle and the request card.

Collect all urine passed for the next 24 hours and place in the collection bottle.  The bottle should be kept in a cool place.

Exactly 24 hours later (8AM) empty the bladder completely, whether or not the patient feels the need.  Add this final specimen to the collection.  Once again note the finish time on the collection bottle and request card.

Promptly send the entire collection and request form to the laboratory in the bag provided.

Return to Biochemistry Index

Return to Document Table of Contents

Urine specimen requirements

| Test |  | Sample Type | Sent to: |
| --- | --- | --- | --- |
| Urine Amino Acids |  | Random Urine On Ice Only done as a Temple St. request. Clarify with requesting ward clinician. Metabolic Investigation request form must be completed. | Metabolic Lab Temple St |
| Urine 5HIAA |  | 24hr Urine collection in acidified CATS/HIAA bottle. Within 48 hours prior to the assay, avoid consuming serotonin containing foodstuffs e.g. bananas, walnuts, chocolate, dried fruit, citrus fruit, avocados, tomatoes, plums, kiwis, pineapples and mollusks. | Beaumont |
| Urinary Arsenic |  | Random urine | Eurofins |
| Bence Jones Protein |  | Screening - random sample. Known cases - 24hr collection | In house |
| Bone markers in Urine |  | Random Urine - Send with blood sciences form | Northern General Hospital Sheffield |
| Urine Calcium (Random) |  | Paeds only. Random sample -must be sent to lab immediately on ice | In house |
| Urine Calcium |  | 24hr Urine collection in acidified Calcium bottle | In house |
| Urine Calcium-Creatinine ratio |  | Paeds only. Random sample - must be sent to lab immediately on ice | In house |
| Urine Catecholamines / VMA ADULTS |  | Adults - 24hr Urine collection in acidified CATS/HIAA bottle. Paeds <15 yrs - Random sample accepted but must be acidified and sent immediately to lab. Within 48 hours prior to the assay, avoid consuming serotonin containing foodstuffs e.g. bananas, walnuts, chocolate, dried fruit, citrus fruit, avocados, tomatoes, plums, kiwis, pineapples and mollusks. | Beaumont |
| Urine Chromium |  | Sample to be taken at end of patients work shift. | Eurofins |
| Urine Citrate |  | 24hr Urine collection - plain bottle - must be received by lab immediately | Eurofins |
| Urine Citrate (Paeds) |  | Random Sample on Ice- Send with blood sciences form | Eurofins |
| Urine Copper |  | 24hr Urine collection - plain bottle | Eurofins Biomnis |
| Urine Cortisol |  | 24hr Urine collection - plain bottle | Eurofins Biomnis |
| Urine Creatinine / Creatinine Clearance |  | 24hr Urine collection - plain bottle. Blood sample required to be sent also for calculation of clearance estimation | In house |
| Urine Cystine | Adult | Early morning fasting sample - 10mls. Must be on ice | Eurofins Biomnis |
|  | Paed | Random Urine on ice (add 1 drop 5% thiomersal). Metabolic Investigation form must be completed. | Metabolic lab Temple St |
| Hydroxyproline |  | Early morning fasting sample on Ice. | Eurofins |
| Urinary Iodine |  | Early morning Sample - Send with blood sciences form | Eurofins Biomnis |
| Urine Melatonin |  |  |  |
| Urine Metabolic screen (Phos/Uric acid/Calcium) |  | 24hr Urine collection - plain bottle and 24hr Urine collection in acidified Calcium bottle (available from Lab) | In house |
| Urinary Metanephrines |  | 24hr Urine collection in acidified CATS/HIAA bottle (available from Lab). Paed samples - random sample (add 0.5ml 50% HCL to 10ml sample) | Beaumont |
| Methylmalonic Acid |  | 15ml early morning sample on ice | Eurofins Biomnis |
| Urine Microalbumin/creatinine ratio (MCR) |  | Random | In house |
| Urine Microalbumin Excretion 24 Hr |  | 24hr Urine collection - Plain Bottle | In house |
| Urine Molybdenum |  | Random urine | Eurofins |
| Mucopolysaccahrides |  | Random Urine Sample (add 1 drop 5% thiomersal) | Willink Manchester |
| Urine Myoglobin |  | Random Urine, send to lab urgently, requires freezing upon receipt and in <4 hrs. | Eurofins Biomnis |
| Urine Organic Acids |  | Urine- send immediately to lab on ice with Metabolic Investigation form. | Metabolic Lab Temple St |
| Urine Oxalate |  | 24hr Urine collection in acidified Calcium bottle | Eurofins Biomnis |
| Random Urinary Oxalate(Paeds) |  | Random Urine Sample | Birmingham Children’s Hospital |
| Urinary Porphyrin |  | 24hr Urine collection - plain bottle – protected from light | St.James |
| Urine Protein 24 HR |  | 24hr Urine collection - plain bottle | In house |
| Urinary Pyrimidine |  | 5-10ml Random Urine - Send with blood sciences form | Purine Lab St. Thomas’s |
| Purine |  | 5-10ml Random Urine - Send with blood sciences form | Purine Lab St. Thomas’s London |
| Urinary Reducing Substances |  | 10ml of urine avoid 1st sample of the morning. Send on Ice | Eurofins Biomnis |
| Serotonin (5 Hydroxytryptamine) |  | 24hr Urine Collection in plain container. Dietary restrictions: Within 48 hours prior to the assay, avoid consuming serotonin containing foodstuffs e.g. bananas, walnuts, chocolate, dried fruit, citrus fruit, avocados, tomatoes, plums, kiwis, pineapples and mollusks. | Eurofins Biomnis |
| Urinary Steroid Profile |  | 17ml Random Sample - Send with blood sciences form | Kings College Hospital London |
| Sulphonylurea |  | 24hr urine collection – plain bottle | Biomnis |
| Thallium |  | 10ml Random Urine - Send with blood sciences form | Eurofins Biomnis |
| TMA Trimethylamine Urea |  | Random Urine | Metabolic Lab /Clinical Chemistry Sheffield Children’s Hospital |
| Urine Toxicology screen (Benzodiazepine, Barbituates,Opiates,Cocaine, Propoxyphene,Cannabinoids, Amphetamine,Methadone, Ethanol) |  | Random urine NB. If Ecstasy / Heroin are required, please state on request form | Beaumont |

Please contact Biochemistry lab on ext 4142 or 4590 if further advice is required.

Return to Document Table of Contents

## Biochemistry Referrals

Specialised testing that is not available in Biochemistry SUH, may be sent to selected referral laboratories for analysis. Upon completion of analysis, the report is returned to Clinical Biochemistry, where it is scanned and forwarded on to the requesting location. Some referral lab reports are interfaced and are available for viewing electronically.

For further details on referral test requirements and where they are sent, please contact the department.

DRUG TESTING THAT REQUIRES SERUM GEL FREE TUBES ON ICE

| Benzodiazepam | Methanol |
| --- | --- |
| Clobazam/Frisium | Methotreexate |
| Clozapine | Mysoline/Primidone |
| Diazepam | Nitrazepam |
| Dilitiazem | Olanzapine |
| Esclicarbazepine/Zebinex | Oxycarbamezepine |
| Ethosuximide | Primidine/Mysoline |
| Felbamate | Prozac/Fluoxetine |
| Fluoxetine/Prozac | Ritalin/ |
| Frisium/Clobazam | Rispiradone/Risperadal |
| Gabopentine | Rufinamide/Innovlen |
| Innovlen/Rufinamide | Thiopentone |
| Keppra/Leviteracetam | Topiramate |
| Lacosamide/Vimpat | Trileptal/Oxycarbazepine |
| Lamictal/Lamotrigine | Venlafaxine/Effexor |
| Largital | Vigabatrin |
| Leviteracetam/Keppra | Vimpat/Lacosamide |
| Lorazepam | Zebinex/Esclicarbazepine |
| Mirtazpine | Zonisamide |

The list is intended as a guide only and is not exhaustive.

## Requests for Genetic Testing

Some referral tests require consent form and clinical information forms may be available on line depending on the test.

Genetic investigations, when required at Consultant request, may require arrangement and discussion with the laboratory in advance.  All genetic testing to be dispatched to Eurofins Biominis require a signed completed consent form that can be downloaded here https://www.eurofins.ie/biomnis/test-information/test-request-forms/

Genetic testing requests to be sent to the Cytogenetics and Molecular genetics laboratories at the National Centre for Medical Generics in Crumlin also require the completion of the appropriate consent that is available to download here

https://www.olchc.ie/services/departments-a-z/department-of-clinical-genetics/information-leaflets-forms/

For all other genetic testing requirements and forms please contact the main Biochemistry Laboratory at Ext 74590.

Genetic testing user guide

| Test Name / Genetic Investigation | Sample Type | Form on Q Pulse | Notes |
| --- | --- | --- | --- |
| Highlighted in red: Samples only accepted on Monday (due to later international dispatch via referral lab). |  |  |  |
| Orange fields: Consultant must contact Chief Medical Scientist in Clinical Biochemistry to organise “high cost” test requests before sample collection (Ms. Noreen Montgomery, Ext. 74561) |  |  |  |
| Ambiguous genetalia | 2 x EDTA whole blood | PATH-BIO-EXT-38 | Crumlin (Molecular Genetics) |
| Angelman syndrome | 2 x EDTA whole blood | PATH-BIO-EXT-38 | Crumlin (Molecular Genetics) |
| Beckman Weideman syndrome | 2 x EDTA whole blood | PATH-BIO-EXT-38 | Crumlin (Molecular Genetics) |
| BRCA1 + BRCA2 | 2 x EDTA whole blood | PATH-BIO-EXT-38 | Crumlin (Consultant Geneticist must preapprove testing in Crumlin)-otherwise see next row |
| BRCA1 + BRCA2 | 2 x EDTA whole blood | Completed BRCA Test Request & Consent form for PARP inhibition selection | Beaumont |
| Cadasil | 2 x EDTA whole blood | PATH-BIO-EXT-38 | Crumlin (Molecular Genetics) |
| CFTR gene | 2 x EDTA whole blood | PATH-BIO-EXT-38 | Crumlin (Molecular Genetics) |
| Cholinesterase phenotyping / (Suxamethonium sensitivity) | 2 x EDTA whole blood | PATH-BIO-EXT-40 | Bristol Genetics Lab |
| Chromosomal Analysis (PAEDS / < 5yrs old) | 2 x Lithium Heparin blood | PATH-BIO-EXT-38 | Crumlin (Cytogenetics) |
| Chromosomal Analysis (Adults / > 5yrs old) | 1 x gel free Lithium Heparin tube | PATH-BIO-EXT-39 | Eurofins Biomnis |
| Cochlin genetic test | 2 x EDTA whole blood | PATH-BIO-EXT-38 | Crumlin (Molecular Genetics) |
| Connexin | 2 x EDTA whole blood | PATH-BIO-EXT-38 | Crumlin (Molecular Genetics) |
| Cystic Fibrosis | 2 x EDTA whole blood | PATH-BIO-EXT-38 + PATH-BIO-EXT-25 | Crumlin (Molecular Genetics) |
| Down syndrome | 2 x Lithium Heparin blood | PATH-BIO-EXT-38 | Crumlin (Molecular Genetics) |
| Down syndrome maternal marker / Triple test | 1 x serum tube on ice | PATH-BIO-EXT-24 | Eurofins Biomnis |
| DPD deficiency testing (DPYD gene + 5FUT activity) | 3 x Lithium heparin gel free tube (2 tubes on ice + 1 tube off ice) | PATH-BIO-EXT-41 | Eurofins Biomnis |
| Dravet syndrome / SCNIA | 2 x EDTA whole blood | PATH-BIO-EXT-29 | Scotland Genetics Lab |
| Duchenne muscular dystrophy | 2 x EDTA whole blood | PATH-BIO-EXT-38 | Crumlin (Molecular Genetics) |
| Ehlers Donlos syndrome | 2 x EDTA whole blood | PATH-BIO-EXT-38 | Crumlin (Molecular Genetics) |
| Fabrys disease (genetic screen) | 2 x EDTA whole blood and / Sanofi blood spot card | PATH-BIO-EXT-28 | Willink Unit, Manchester |
| Fabrys enzyme (alpha galactosidase) | 1 x gel free Lithium Heparin tube | PATH-BIO-EXT-39 | Eurofins Biomnis |
| Facioscapulohumeral muscular dystrophy | 2 x EDTA whole blood | PATH-BIO-EXT-38 | Crumlin (Molecular Genetics) |
| Familial Amyloid polyneuropathy | 2 x EDTA whole blood | PATH-BIO-EXT-38 | Crumlin (Molecular Genetics) |
| FISH / Karyotyping (PAEDS / < 5yrs old) | 2 x Lithium Heparin blood | PATH-BIO-EXT-38 | Crumlin (Cytogenetics) |
| FISH / Karyotyping (ADULTS / > 5yrs old) | 1 x gel free Lithium Heparin tube | PATH-BIO-EXT-39 | Eurofins Biomnis |
| Fragile X | 2 x EDTA whole blood | PATH-BIO-EXT-38 | Crumlin (Molecular Genetics) |
| Fredreich ataxia | 2 x EDTA whole blood | PATH-BIO-EXT-38 | Crumlin (Molecular Genetics) |
| Galactose-1-phosphate uridyl transferase | EDTA whole blood | PATH-BIO-EXT-39 | Eurofins Biomnis |
| Galactose kinase | 1 x gel free Lithium Heparin tube | PATH-BIO-EXT-22 | Guys & St. Thomas (SAS Genetic enzyme lab) |
| Gauchers disease | 2 x EDTA whole blood and / Sanofi blood spot card | PATH-BIO-EXT-28 | Willink Unit, Manchester |
| Hereditary spastic Paraplegia | 2 x EDTA whole blood | PATH-BIO-EXT-11 | Sheffield Childrens Hospital (Genetics Lab) |
| Huntingtons disease | 2 x EDTA whole blood | PATH-BIO-EXT-37 + PATH-BIO-EXT-38 | Crumlin (Molecular Genetics) |
| Klinefelter syndrome (ADULTS) | 1 x gel free Lithium Heparin tube | PATH-BIO-EXT-39 | Eurofins Biomnis |
| Klinefelter syndrome (PAEDS) | 2 x Lithium Heparin blood | PATH-BIO-EXT-39 | Eurofins Biomnis |
| Krabbe disease | 2 x EDTA whole blood and / Sanofi blood spot card | PATH-BIO-EXT-28 | Willink Unit, Manchester |
| Lynch syndrome / Hereditary non polyposis colon cancer | 2 x EDTA whole blood | PATH-BIO-EXT-38 | Crumlin (Molecular Genetics) |
| Lysosomal enzymes | 2 x EDTA whole blood and / Sanofi blood spot card | PATH-BIO-EXT-28 | Willink Unit, Manchester |
| Marfan syndrome | 2 x EDTA whole blood | PATH-BIO-EXT-38 | Crumlin (Molecular Genetics) |
| Microarray analysis | 2 x EDTA whole blood | PATH-BIO-EXT-22 | Guys & St.Thomas (Genetic Lab), London |
| Mitochondrial DNA | 2 x EDTA whole blood | PATH-BIO-EXT-38 | Crumlin (Molecular Genetics) |
| MODY | 2 x EDTA whole blood | PATH-BIO-EXT-3 | Crumlin (Molecular Genetics) |
| Muscular dystrophy | 2 x EDTA whole blood | PATH-BIO-EXT-38 | Crumlin (Molecular Genetics) |
| Myosin genetic test | 2 x EDTA whole blood | PATH-BIO-EXT-38 | Crumlin (Molecular Genetics) |
| Neurofibromatosis | 2 x EDTA whole blood | PATH-BIO-EXT-38 | Crumlin (Molecular Genetics) |
| Noonan syndrome | 2 x EDTA whole blood | PATH-BIO-EXT-22 | Guys & St. Thomas (Genetic Lab), London |
| Osteogenesis imperfect | 2 x EDTA whole blood | PATH-BIO-EXT-38 | Crumlin (Molecular Genetics) |
| Pierre Robin syndrome (ADULTS) | 1 x gel free Lithium Heparin tube | PATH-BIO-EXT-38 | Crumlin (Cytogenetics) |
| Pierre Robin syndrome (PAEDS) | 2 x Lithium Heparin blood | PATH-BIO-EXT-38 | Crumlin (Cytogenetics) |
| PMP 22 gene (Charcot-Marie tooth disease) | 2 x EDTA whole blood | PATH-BIO-EXT-38 | Crumlin (Molecular Genetics) |
| Pompe Disease | 2 x EDTA whole blood and / Sanofi blood spot card | PATH-BIO-EXT-28 | Willink Unit, Manchester |
| Prader Willi syndrome | 2 x EDTA whole blood | PATH-BIO-EXT-38 | Crumlin (Molecular Genetics) |
| PR55 | 2 x EDTA whole blood | PATH-BIO-EXT-38 | Crumlin (Molecular Genetics) |
| PTEN | 2 x EDTA whole blood | PATH-BIO-EXT-38 | Crumlin (Molecular Genetics) |
| Retts syndrome | 2 x EDTA whole blood | PATH-BIO-FRM-9 | Crumlin (Molecular Genetics) |
| Spinal muscular atrophy | 2 x EDTA whole blood | PATH-BIO-EXT-38 | Crumlin (Molecular Genetics) |
| SPINK 1 gene | 2 x EDTA whole blood | PATH-BIO-EXT-38 | Crumlin (Molecular Genetics) |
| TTR gene | 2 x EDTA whole blood | PATH-BIO-EXT-38 | Crumlin (Molecular Genetics) |
| Tubersclerosis | 2 x EDTA whole blood | PATH-BIO-EXT-38 | Crumlin (Molecular Genetics) |
| Turners syndrome | 1 x gel free Lithium Heparin tube | PATH-BIO-EXT-39 | Eurofins Biomnis |
| Williams syndrome (ADULTS) | 1 x gel free Lithium Heparin tube | PATH-BIO-EXT-38 | Crumlin (Cytogenetics) |
| Williams syndrome (PAEDS) | 2 x Lithium Heparin blood | PATH-BIO-EXT-38 | Crumlin (Cytogenetics) |
| Wilsons disease | 2 x EDTA whole blood | PATH-BIO-EXT-11 | Sheffield Childrens Hospital (Genetics Lab) |
| 16p13 Deletions | 2 x EDTA whole blood | PATH-BIO-EXT-22 | Guys & St. Thomas (Genetic Lab), London |

Note:  IF THERE IS ANY GENETIC TEST, OTHER THAN THOSE LISTED ABOVE, PLEASE CONTACT THE CLINICAL BIOCHEMISTRY LAB IN ADVANCE OF SAMPLE COLLECTION, TO CONFIRM SPECIMEN REQUIREMENTS. (Extn. 74142 and 74590)

## Factors affecting Clinical Biochemistry results

### Haemolysis

Haemolysis is defined as red blood cell break down and the release of haemoglobin and intracellular contents e.g. Potassium into the serum. Haemolysis is most frequently an in vitro phenomenon caused by trauma in specimen collection or processing, although slow leakage may also occur.

Haemolysis is graded as slight, moderate or gross.

(1) Normal sample, (2) slightly haemolysed, (3) haemolysed, (4) haemolysed(5) grossly haemolysed

Test results on specimens with slight haemolysis are usually processed and comments are attached indicating the degree of haemolysis.

Haemolysed samples will be processed however some analytes cannot be accurately determined and in this instance a result will not be reported.

Grossly haemolysed samples will not be processed by the laboratory.

In the Biochemistry laboratory, the degree of haemolysis on all general chemistry samples is measured and any analytes affected are commented on automatically.

Factors attributed to in vitro haemolysis

For further information, please refer to following links;

www.specimencare.com_haemolysis

Oh-No-Its-Haemolysed

### Icterus

Icterus (or the icterus dex) is a measure of the yellow colour of serum. This colour is normally due almost exclusively to the presence of bilirubin, a hemoglobin waste product from the red blood cells. The presence of a very high Bilirubin level can interfere with certain analytes. In the Biochemistry laboratory, the degree of icterus in all general chemistry samples is measured and any analytes affected are commented on automatically.

### Lipaemia

Lipemia is a measure of serum transparency. High levels of blood lipids, mostly triglycerides, increase serum turbidity. In the Biochemistry laboratory, the degree of lipaemia in all general chemistry samples is measured and any analytes affected are commented on automatically.

NB If a clinician encounters an unexpected result, it is important to consider other possible measurement interferences. It has been documented that certain medications / supplements can interfere with laboratory results. If in any doubt contact the laboratory with as much information as possible regarding medications etc. The laboratory will endeavour to provide guidance on technical limitations when available.

## Immunology Referral Tests

Immunology is a broad branch of biomedical science that covers the study of all aspects of the immune system. The diseases caused by the immune system fall into two broad categories: immunodeficiency, in which parts of the immune system fail to provide an adequate response and autoimmunity, in which the immune system attacks its own host’s body.

The following Immunology Referral Tests are processed from the Serology Laboratory.

| Serology Laboratory Pathology Department Sligo University Hospital Sligo |  |  |
| --- | --- | --- |
| Hours of Operation | Routine Service Monday-Friday 0900-1700 |  |
| Mr Liam O’Grady | Laboratory Manager | Liam.OGrady@hse.ie 071 917 4560 |
| Ms Noreen Montgomery Ms Anne O Toole | Chief Medical Scientist (Biochemistry / Microbiology) | Noreen.Montgomery@hse.ie 071 91 7 4561 Anne.OToole@hse.ie 071 91 7 4563 |
| Ms Anne Duffy | Senior Medical Scientist Serology | Annea.duffy@hse.ie 071 9171111 Ext 74159 |
| Ms Lisa Duignan | Senior Medical Scientist | Lisa.Duignan@hse.ie |

Referral tests may take up to 2 weeks for turnaround of results and over 3 - 4 weeks for specimens sent to the UK.

Immunology Referral tests, Sample requirements and Referral Laboratory:

| Test | Sample Type/ Additional Information | Sent to: |
| --- | --- | --- |
| Acetyl choline receptor antibodies - ACRA | Serum | OUH, UK |
| Anti Adrenal gland Abs | Serum | Biomnis |
| Anti AMPA antibodies | Serum | OUH, UK |
| Anti Carbonic Anhydrase II Antibodies | Serum | Biomnis |
| Anti- DNA Abs | Serum | Biomnis |
| Anti ENA Abs (SSA, SSB, Sm, Rnp, Jo1, Scl-70) | Serum | Biomnis |
| Anti GAB receptor Ab, gamma-aminobutyric acid receptor | Serum | OUH, UK |
| Anti ganglioside antibodies/ Anti-glycolipid antibodies | Serum | Biomnis |
| Anti-glomerular basement membrane Ab - AGB | Serum | GUH |
| Anti- glutamic acid decarboxylase Abs - GAD | Serum | GUH |
| Anti Histone Abs | Serum | Biomnis |
| Anti IA2 antibodies – Anti tyrosine phosphatase Abs | Serum | Exeter |
| Anti-insulin antibodies | Serum, Send urgently to Lab. Must be FROZEN within 4 hr. Collect date and time must be specified on request form. | Biomnis |
| Anti-intrinsic factor antibodies - AIF | Serum | Biomnis |
| Anti-islet cell antibodies | Serum | Biomnis |
| Anti Lipoprotein 4 Ab | Serum, request with ACRA | OUH, UK |
| Anti Liver Kidney Microsomal Abs - LKM | Serum | Biomnis |
| Anti Myelin Associated Glycoprotein Abs- MAG Abs | Serum | OUH, UK |
| Anti-muscle-specific kinase antibodies- MUSK | Serum | OUH, UK |
| Anti Microsomal Abs - See Anti-thyroperoxidase Abs |  |  |
| Anti-mitochondrial antibodies | Serum | Biomnis |
| Anti MOG, Anti myelin oligodendrocyte glycoprotein ab | Serum | OUH, UK |
| Anti-neuromyelitis optica Abs – NMO Abs (aquaporin 4) | Serum | Biomnis |
| Anti N-methyl-D-aspartate receptor antibodies - NMDA | Serum | OUH, UK |
| Anti-nuclear Abs - ANA | Serum | Biomnis |
| Anti-neuronal Abs (Hu, Yo, Ri, CV2, Amphiphysin, Ma1, Ma2) | Serum | Biomnis |
| Anti-neutrophil cytoplasmic antibodies - ANCA | Serum | GUH |
| Anti-parietal cell Abs | Serum | Biomnis |
| Anti Proton Pump Abs | Serum | Biomnis |
| Anti Saccharomyces cervisiae Abs | Serum | Biomnis |
| Anti Skeletal Muscle Abs/ Striated Muscle Abs | Serum | OUH, UK |
| Anti Soluble Liver Antigen – Anti SLA | Serum | Biomnis |
| Anti-smooth muscle Abs | Serum | Biomnis |
| Stronglyoidiasis antibodies | Serum | Biomnis |
| Anti Synthetase Abs | Serum | Biomnis |
| Anti-reticulin Abs | Test Discontinued |  |
| Anti Ribosome Abs | Serum | Biomnis |
| Anti- thyroglobulin Abs | Serum | Biomnis |
| Anti-thyroperoxidase Abs – Anti TPO | Serum | Biomnis |
| Anti Titan Abs | Serum | Biomnis |
| Anti-TSH receptor Abs | Serum | Biomnis |
| Anti-tyrosine phosphatase antibodies, See Anti IA2 |  |  |
| Beta Interferon Neutralising Antibody | Serum. Gel Separator tube NOT suitable. Use 4 X 1.3 ml micro tubes available from Serology. Serology Lab must be notified before blood is taken. Collect date and time must be specified on request form. Sera must be frozen within 4 hours of venepuncture. | Biomnis |
| Bullous Pemphigoid Antibodies (see also Pemphigoid Vulgaris antibodies) | Serum | SJH |
| C1 esterase inhibitor | Serum | GUH |
| C1 Inhibitor Function | Serum. Send Urgently to Lab. Frozen ASAP & on same day sample was taken. Collect date and time must be specified on request form. | GUH |
| CASPR2 (Contactin-2 associated protein) | Serum | OUH, UK |
| CD 4 Count from GUM clinic/ HIV Positive patients | EDTA sample X 2. Serology lab must be contacted prior to taking the blood samples. Samples must be taken after 1 pm (Mon-Thurs) to ensure they are transported to SJH within 24 hrs of venepuncture. Specimen collect date and time must be provided on request form. | UHG |
| Circulating immune complexes (CIC) | Serum | Biomnis |
| Complement – C3, C4 | Serum | GUH |
| Complement CH100/ CH50 (Total haemolytic complement functional activity) | Serum. Send Urgently to Lab. Frozen ASAP & on same day sample was taken. Collect date and time must be specified on request form. | GUH |
| DPPX Antibodies | Serum | OUH, UK |
| Ganglionic ACRA | Serum | OUH, UK |
| Glycine Receptor Abs | Serum | OUH, UK |
| Interferon Beta Neutralising Ab – See Beta interferon Neutralising Ab |  |  |
| LGI1 Antibodies (Anti leucine rich glioma inactivated antibodies) | Serum | OUH, UK |
| M2 Subtype Mitochondrial Abs | Serum | Biomnis |
| Myositis Screen | Serum | GUH |
| Natalizumab (Tysabri) Antibodies | Serum, only take on a Mon or Tues. Must be arranged with lab in advance, requires freezing ASAP, bring samples direct to Serology. | Barts, UK |
| Paraneoplastic antibody markers (includes all neuronal Abs + CRMP5 | Serum | OUH, UK |
| Pemphigoid Vulgaris Antibodies | Serum | SJH |
| Pituitary Antibodies | Serum | Biomnis |
| Scleroderma Screen | Serum | GUH |
| Voltage gated calcium channel Ab | Serum | OUH, UK |
| Voltage gated potassium channel Ab (Oxford Immunology Laboratory Laboratory recommend that LGI1/CASPR2 antibody testing is conducted as a first line test when investigating VGKC antibodies) | Serum | OUH, UK |
| Zinc transporter 8 Abs | Serum | EX, UK |

Immunology Referral Laboratories:

| Laboratory | Address | Contact details |
| --- | --- | --- |
| Oxford University Hospital Immunology | Clinical Laboratory Immunology Churchill Hospital Churchill Drive Old Road Headington Oxford OX3 7LE UK | Tel: 0044 1865 225995 |
| Biomnis Laboratories Ltd. | Three Rock Road, Sandyford Business Estate, Sandyford, Dublin 18, Ireland. | Results and Test Enquiries 1800 252966 Telephone enquiries 09:00 - 17:30 GMT Web link; main website www.Biomnis.com |
| Galway University Hospital | Galway University Hospital Newcastle Road Galway | Telephone enquiries 09:00 - 17:00 GMT Results and Test Enquiries 091 524765 / 524222 ext 4418 |
| Immunology Dept Royal London & St Barts Hospital | Immunology, 2nd floor Pathology & Pharmacy building 80 Newark Street, Whitechapel, London, E1 2ES | Tel: 0044 2032460279 |
| Immunology Laboratory, St James’s Hospital | St James' Hospital James street, Dublin 8 | (01) 416 2928 or (01) 416 2034 |
| Exeter Pathology Services: Royal Devon and Exeter NHS Foundation Trust | Barrack Rd, Exeter (EX UK) EX2 5DW, UK | General Queries 0044 1392 402464 Clinical Queries 0044 1392 402463 |

Return to Biochemistry Index

# Blood Transfusion Laboratory

Blood Transfusion Laboratory Pathology Department, Sligo University Hospital, The Mall, Sligo. F91 H684

Return to Table of Contents

For Haematology Laboratory Index please click here.

Blood Transfusion Laboratory Index

Table of Contents	5

Blood Transfusion Laboratory	48

Introduction	49

Blood Transfusion Laboratory staff contact details	49

Information for service users within SUH	50

Information for General Practioner users of the Blood Transfusion service	50

Blood Transfusion Test Profile Requirements	50

Specimen collection for Blood Transfusion	51

Instructions for the patients	51

Identification of GP patients (where specimen is not for transfusion purposes)	51

Phlebotomy instructions	51

Phlebotomy/equipment	51

Cleansing the site	51

Performing the phlebotomy puncture	51

Order of draw	52

Post puncture care	52

Safe disposal of materials	53

Blood Transfusion laboratory request forms/specimen containers	53

Specimen containers requirements for Blood Transfusion tests:	53

Labelling the specimen container	53

Completing the request form	54

Storage of examined specimens	55

Repeat examination due to analytical failure	55

Further Examination of the Primary Specimen	55

## Introduction

The Blood Transfusion laboratory is located in the Pathology laboratory on level 4 of Sligo University Hospital. The Blood Transfusion laboratory is an INAB accredited testing laboratory, Reg. No. 198MT. It is accredited to ISO 15189, for activities as defined in its scope of accreditation which can be viewed on the INAB website (www.inab.ie).

| Hours of Operation Blood Transfusion Laboratory | Routine Service Monday-Friday(excluding bank holidays) 08.00-20.00 Specimen processing time cut-off is 16:30 Emergency On call service available outside of these hours |  |
| --- | --- | --- |
| Phone | Blood Transfusion Laboratory | Ext: 74144 071 91 74719 |
|  | On-call | 173440 |
| Fax | 071 917 4515 |  |

If telephoning from inside hospital see extensions in Bold

Access to the Pathology laboratory is restricted to limited hospital personnel. During routine hour’s access to the main Pathology laboratory is by keypad/card access door. The Pathology specimen reception office is accessible during routine hours. During emergency on call service hour’s access to the Pathology laboratory is through a key pad/card access door. The Pathology specimen reception is not accessible during these hours and specimens which are from outside the hospital are to be delivered during these times by prior arrangement only.

## Blood Transfusion Laboratory staff contact details

| NAME | JOB TITLE | Contact / Email |
| --- | --- | --- |
| Liam O’Grady | Laboratory Manager | liam.ogrady@hse.ie Mobile 087 6184160 Work 071 917 4560 |
| Dr Andy Hodgson | Consultant Haematologist | 071 917 4458 Andrew.hodgson@hse.ie |
| Dr Aine Burke | Consultant Haematologist | 071 917 36897 Aine.burke3@hse.ie |
| Ms Lorraine McCafferty | Chief Medical Scientist | 071 917 6881 Lorraine.mccafferty@hse.ie |
| Ms Cathy Mc Carry | Senior Medical Scientist | cathy.mccarry@hse.ie |
| Ms Eilish O’Brien | Quality Manager | 071 9174759 eilish.obrien@hse.ie |
| Ms Louise Robinson | Haemovigilance Officer | 071 917 4675 Bleep 226 louisem.robinson@hse.ie |

## Information for service users within SUH

For information regarding to the Blood Transfusion service within Sligo University Hospital please refer to PATH-BT-HV-QP16 Blood Transfusion laboratory user manual. The information below is for General Practioners only.

## Information for General Practioner users of the Blood Transfusion service

The Blood Transfusion laboratory at SUH provides Antenatal blood group and antibody screening service to General Practitioners and antenatal clinics. The Blood Transfusion department also provides advisory services, clinical, technical and Haemovigilance advice. The Haemovigilance service is a Consultant led service with a Haemovigilance Officer. The Consultant Haematologist and Senior Scientific staff provides advisory service to all users of the service. The Consultant Haematologist is available for clinical advice on Blood Transfusion issues.

Clinical advice on ordering of examinations and on interpretation of examination results is available at the contact details listed above if required.

Note: Blood transfusion samples on females <55 years require a SUH PCN in order to be processed, please see PATH-BT-MEMO-36 Ante-natal booking bloods & RAADP

## Blood Transfusion Test Profile Requirements

All specimens should be delivered to the BT laboratory ASAP or within 48 hours for processing.

| Test/Profile | Specimen Type | Specimen Requirements |  |  |  |  | Special Requirements | Routine Turnaround Time on arrival in the BT laboratory |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Additive Required | Volume Required mL |  | Container Type |  |  |  |
| Group and Screen(GRA) Antenatal/GP specimens | Blood | EDTA |  | 6 |  | Pink capped Blood Tube | None | 24 hrs |
| Anti-D Quantitation Anti-c Quantitation Antibody titres | Blood | EDTA |  | 2 x 6mL |  | Pink capped Blood tube | Sent to the IBTS | Written report—2 weeks. Report phoned to lab when test completed, if results are clinically significant report phoned to requesting clinician. |

*For paediatric tests 1 ml is the minimum requirement.

The biological reference ranges and required frequency of repeat examination relevant to the IBTS referred antibody quantitations/titres will be provided by the IBTS as part of the result report.

Return to Blood Transfusion Index

Return to Document Table of Contents

## Specimen collection for Blood Transfusion

## Instructions for the patients

No information need be provided to the patient in relation to their own preparation before primary specimen collection as there is no patient preparation required.

A failure to undertake the formal identity check with the patient at the bedside places the patient at risk and breaches professional standards and guidelines.

The person drawing the specimen must sign the specimen and the request form.

## Identification of GP patients (where specimen is not for transfusion purposes)

- These are treated differently in the Blood Transfusion laboratory, in that a transfusion can not occur on these specimens. This applies to GP specimens and many outpatient specimens. This is because these specimens are taken without an identification band in situ.

- The person taking the specimen should ask the patient to state their full name and date of birth e.g. patient should be asked ‘what is your name’ not ‘are you Mr/Mrs Murphy?’

- The specimen should be labeled at the time of sampling and the information given by the patient must correlate with that which is used to complete the specimen and request form.

## Phlebotomy instructions

- Medical doctors, registered nurses/midwives who have had appropriate training can carry out venepuncture.

- It is the responsibility of the person who is taking the BT specimen to ensure that the specimen collection tube is within its expiry date.

## Phlebotomy/equipment

- Appropriate number of suitable specimen collection tubes. Ensure that these are within expiry date.

- Evacuated tubes within expiry date (discard tube if necessary) and safety needle system as approved for use within SUH.

- Clean disposable tourniquet.

- 2% Chlorhexidine & 70% Isopropyl Alcohol swab.

- Gloves

- Gauze

- Waterproof plaster

## Cleansing the site

Step 1 Cleanse the site for a minimum of 30 seconds using a “friction scrub” technique applying sufficient pressure to amalgamate surface flora with 2% Chlorhexidine & 70% Isopropyl Alcohol swab.

If the patients arm requires excessive cleansing, then repeat the process with several alcohol swabs.

Step 2 Allow the area to air dry naturally for a minimum of 30 seconds.

## Performing the phlebotomy puncture

Apply tourniquet

Vacutainer tube holder method:

Step 1 Have the first tube, stopper-end first, ready to place into the tube holder without advancing it onto the interior needle.

Step 2 Remove the sheath from the needle.

Step 3 Grasp the holder with the fingertips, placing the thumb on top and two or three fingers underneath.

Step 4 Rest the back of the fingers firmly on the patients forearm so that the bevel of the needle faces up and lies just off the skin at the intended puncture site.

Step 5 Inform the patient of the imminent puncture. Note: Do not assume that the patient is prepared for the puncture. A verbal warning should be given, even if the patient appears unconscious or sedated.

Step 6 Anchor the vein. Using the thumb of the free hand, stretch the skin by pulling downward on the arm from below the intended puncture site.

Step 7 Guide the needle into the skin and vein with a steady, forward motion at an angle of 15 degrees or less.

Step 8 Advance the collection tube fully forward so that the interior needle punctures the stopper of the tube, using the flanges of the tube holder. Keep the needle assembly as stable as possible in the vein.

Step 9 Loosen the tourniquet with the free hand once blood begins to flow. If blood is not obtained, then the tube may have lost its vacuum or the needle may be improperly positioned in the vein or the vein may be too small for the needle gauge used or a vacuum-assisted draw.

Step 10 Allow the tube to fill fully to its stated capacity.

Step 11 Remove the filled tube from the tube holder, ensuring the needle is not pulled out of the vein when the stopper is unseated from the interior needle.

Step 12 Gently invert the tube that contains an additive 5-10 times. If more tubes are required, then apply, fill, remove and mix tubes, following the proper order of draw, see below.

Step 13 Instruct the patient not to clench his/her fist.

Step 14 Release the tourniquet, if still applied.

Step 15 Lay a gauze pad lightly on the insertion point without applying pressure.

Step 16 Withdraw the needle completely, immediately activating the devices safety feature according to manufacturer’s instructions.

Step 17 Apply pressure to the puncture site.

Step 18 Discard the activated device in a sharps containers without disassembling from the tube holder.

## Order of draw

To prevent additive carryover, follow order of draw when collecting multiple specimens during a single venepuncture:

- Sterile tubes or bottles for blood cultures

- Sodium citrate tube for coagulation studies (e.g. light blue closure)

- Serum tube with or without clot activator; with or without gel separator (e.g. red-, gold-, speckled closure)

- Heparin tube with or without gel separator (e.g. green closure)

- EDTA tube with or without gel separator (e.g. lavender closure/pink closure)

- Glycolytic inhibitor tube (e.g. grey closure)

## Post puncture care

Step 1 Apply firm pressure to the puncture site using a clean gauze pad until bleeding has stopped. Note: Bending the patients arm up is not an adequate substitute for pressure and prevents observation of bleeding or haematoma formation.

If the patient offers to apply pressure, then co-operative patients may be allowed to assist.

Step 2 Lift the gauze and observe the puncture site for 5 to 10 seconds for superficial bleeding and mounding or rising of the surrounding tissue.

If bleeding has not ceased, then re-apply pressure for 1 to 2 minutes and re-examine site, repeat the process until bleeding has stopped.

If a hematoma develops, then apply direct pressure for 1 to 2 minutes and re-examine site, repeat the process until bleeding has stopped. Maintain pressure dressing and frequent observation of the site. Verify coagulation status and seek medical help if necessary.

If bleeding persists longer than 5 minutes, then maintain direct pressure on site and re-examine site. Verify coagulation status and seek medical help if necessary.

Step 3 Bandage the puncture site, once bleeding has stopped.

Step 4 Instruct the patient to leave the bandage in place for at least 15 minutes.

## Safe disposal of materials

Ensure any contaminated sharps are disposed as described above in a contaminated sharps container; also ensure that any contaminated gauze pads are disposed in a contaminated waste container.

Return to Blood Transfusion Index

Return to Table of Contents

## Blood Transfusion laboratory request forms/specimen containers

This section outlines the information that is required to be documented on the blood transfusion laboratory request form and the specimen container, prior to the analysis of specimens.

## Specimen containers requirements for Blood Transfusion tests:

All blood must be taken into a 6 ml pink capped vacutainer tube.

HAND WRITTEN details or BloodTrack PDA labels are ONLY permitted.

Do not use addressograph labels

The Blood Transfusion Laboratory has one form in circulation: PATH-BT- LF-1

Return to Blood Transfusion Index

Return to Document Table of Contents

## Labelling the specimen container

This must be done at the patient’s side directly post phlebotomy. The following mandatory information must be handwritten in a legible manner on the specimen container:

- Patient’s full name

- Date of birth

- Hospital number (also mandatory for GP specimens on females <55 years old)

- Date and time of specimen collection (time not essential for GP specimens, mandatory if for IBTS referral)

- The signature of the person collecting and labeling the specimen.

Desirable information:

- Patient’s Location (desirable information)

- Patients home address (desirable information)

If any of the above mandatory information is not present and correct on the specimen, the specimen will be rejected by the Blood Transfusion laboratory, the clinician will be informed and a new specimen and form requested.

Note: For requests for DCT only, addressograph sample label permitted, only mandatory requirement is minimum of two patient identifiers.

Return to Blood Transfusion Index

Return to Document Table of Contents

## Completing the request form

Completion of the request form is the responsibility of the clinician, except for area relating to ‘Patient identified, specimen taken and labeled by’ where completion is by the person taking the specimen. Ensure to provide as much of the following information as is applicable. While some information below may be listed as desirable, it may be of benefit to the patient that it is provided.

The following mandatory information must be documented in a legible manner on the request form:

- Patient’s Hospital Number (PCN) (also mandatory for GP specimens on females <55 years old)

- addressograph label may be used

- Patient’s Full Name (Surname, Forename) addressograph label may be used

- Patient’s Date of Birth (Not Age) addressograph label may be used

- Name and contact/bleep number of person who identified the patient, collected and labeled that specimen. (This should be legible)

- Date and time of specimen collection (time not essential for GP specimens, mandatory if for IBTS referral)

If any of the above mandatory information is not present and correct on the request form, the specimen will be rejected by the Blood Transfusion laboratory, the clinician will be informed and a new specimen and form requested.

Desirable information on request form:

- Gender

- Patient’s full home address

- Patient’s location.

- The name of the requesting Clinician

- Relevant clinical information should be supplied e.g. antenatal history, blood transfusion history etc.

- If antenatal patient, the EDD should be indicated.

- Addressograph labels may be used on the request form.

Note for GPs: If GP does not have a PCN for a patient they must contact Hospital Admissions to obtain same, if PCN is not present on the specimen and request form for females <55 years old it will be rejected.

- All sections of the request form should be completed in full, if information is not available write this on the form.

Please be aware those specimens which are:

- of insufficient volume

- haemolysed

- noted to be in an expired specimen collection tube

- Greater than 48 hours since phlebotomy

will not be processed, as these factors could significantly affect the examination and results. A new specimen and form will be requested.

All Blood Transfusion specimens should be packaged and transported to the laboratory ASAP. Before and during delivery to the laboratory collected specimens should be stored at ambient temperature and not be exposed to extremes of temperature and must be delivered within a maximum of 48 hours of collection.

Packaging and tranpsort

Please refer to intial sections of document on specimen transport and packaging instructions for detail of same.

## Storage of examined specimens

Post-analysis, specimens are stored in the Blood Transfusion laboratory at 2-8ºC for up to 14 days. Specimens are disposed of in a rigid yellow bin suitable for disposal of specimens approximately 2 weeks after collection.

Return to Blood Transfusion Index

Return to Document Table of Contents

## Repeat examination due to analytical failure

In the event of an analytical failure, the Blood Transfusion laboratory will:

Repeat the examination using the manual method

Or

Store the specimens in appropriate conditions until the cause of the analytical failure is identified and corrected and then repeat the examination.

Return to Blood Transfusion Index

Return to Document Table of Contents

## Further Examination of the Primary Specimen

Further testing may be required to resolve unexpected results and so on occasion the Blood Transfusion laboratory may perform additional tests using the primary specimen, and/or may refer the primary specimen to a referral laboratory for additional or confirmatory examinations.

Return to Blood Transfusion Index

Return to Document Table of Contents

## Policy on protection of personal information

Arrangements are in place to ensure that confidentiality of personal information is maintained. Each member of staff is contractually bound not to discuss or disclose any information of a confidential nature except in the proper course of their employment, COR-CE-002 Sligo General Hospital Confidentiality Code of Practice. Personal data may be forwarded to a third party in the case of a referral test.

## Complaint procedure

The laboratory documents all complaints received from clinicians, patients staff or other parties and investigates these following the laboratories complaint procedure, PATH-LAB-POL-3 Identification and control of non conformances/complaints/improvement ideas. A complaint may be made by contacting the Blood Transfusion laboratory Chief Medical Scientist or Quality Manager or Laboratory Manager at the contact details given above. The laboratory ensures that those areas of activity and responsibility involved are promptly investigated

Records of all complaints including appropriate investigations, corrective actions, preventative actions and follow-up actions taken by the laboratory are reviewed and maintained electronically in the laboratories quality management system.

The customer complaints process and outputs are reviewed at quality management meetings and Management review meetings.

If a complaint cannot be resolved at local level the complainant is advised of their right to review by the Hospital Consumer Services.

The laboratory is committed by use of surveys or otherwise to establishing a method of measuring customer satisfaction. Improvements to the service as a result of customer satisfaction surveys are recorded and maintained by the laboratories quality management system.

# Haematology Laboratory

Haematology Laboratory Pathology Department, University Hospital, Sligo.

Return to Table of Contents

For Blood Transfusion Laboratory Index please click here.

Haematology Laboratory Index

Haematology Hours of Operation	57

Blood Transfusion Laboratory staff contact details	57

Haematology Laboratory General Information:	58

Medical advisory services	58

Turnaround Times	58

Blood Films	58

Coagulation Requests:	59

Urgent Specimens	59

On Call Tests	59

Haematology Specimen containers:	60

Haematology Routine Test Menu	60

Haematology In-House Special Tests	61

Referral Tests	61

Referral Laboratories used by Haematology:	61

Haematology Referral Tests	63

## Haematology Hours of Operation

| Hours of Operation | Routine Service Monday-Friday 08.00-20.00 Emergency On call service available outside of these hours |  |  |
| --- | --- | --- | --- |
|  | Haematology Lab |  | 071 91 74556 |
|  | On-call | 173440 |  |
| Fax | 071 917 4515 |  |  |

Return to Haematology Index

Return to Table of Contents

## Haematology Laboratory staff contact details

| NAME | JOB TITLE | Contact / Email |
| --- | --- | --- |
| Liam O’Grady | Laboratory Manager | liam.ogrady@hse.ie Mobile 087 6184160 Work 071 917 4560 |
| Dr Andrew Hodgson | Consultant Haematologist | 071 917 4458 Andrew.hodgson@hse.ie |
| Dr Aine Burke | Consultant Haematologist | 071 917 36897 Aine.burke3@hse.ie |
| Ms Sonia Gilmartin | Chief Medical Scientist | 071 917 4562 sonia.gilmartin@hse.ie |
| Ms Wendy McGinty | Quality Manager | 071 917 2562 wendy.mcginty@hse.ie |

Return to Haematology Index

Return to Table of Contents

## Haematology Laboratory General Information:

The Haematology laboratory has routine hours of 08:00am to 20:00hrs Monday to Friday and outside of those hours is staffed by a single Medical Scientist “On Call”

The tests processed by the Haematology laboratory and the specimen requirements are outlined in the table below.

This laboratory provides diagnostic investigations in general haematology and coagulation including ESR’s, blood film reviews, Warfarin monitoring, D-Dimers, Malaria parasite investigation, Sickle cell screening and Bone marrow slide fixing/staining. Specialised investigations not performed at Sligo University Hospital are routed through the Haematology Laboratory to external laboratories, see table below.

## Medical advisory services

Clinical laboratory advice is provided by a Consultant Haematologist (with 24/7 telephone cover).

## Turnaround Times

Expected turnaround times for common requests are identified in Table below. Turnaround time is defined as the time from specimen receipt in the Pathology Department to the time results are available.

The times stated are deliverable in 95% of instances in normal circumstances. There are times, due to factors outside the laboratory’s control, that the stated turnaround times may be exceeded. These events are infrequent and will be explained to users at the time. If the laboratory fails to meet expected turnaround times please contact the Chief Medical Scientist or Laboratory Manager (see contact list).

## Blood Films

If abnormalities are detected in the full blood count profile or there is an analyser generated flag, laboratory staff will examine a blood film. The laboratory has set criteria, which will prompt a blood film examination on the patient.

These criteria include a significant change from previous values, analyser generated flags or if results are outside laboratory defined levels in the pathological range.

Blood Films may also be referred to the Consultant Haematologist for specialised review.

## Bone marrow films/aspirate

Slides, slide holders and RPMI medium is supplied by the Haematology laboratory by request. Where Bone Marrow (BM) into RPMI is to be taken please contact the Haematology laboratory to obtain the appropriate referral laboratory request form as applicable to the referral tests required. Where a bone marrow aspirate is obtained any slides made must be ensured to be adequately labelled at the time of preparation.

Slides should be labelled with the following:

- Patient’s name,

- PCN

- Date of preparation of the slide.

Slides must be accompanied by a Blood Sciences request form which contains the patient’s details and states Bone marrow as the request. It is advisable that a FBC sample be processed on the same day as the bone marrow aspirate is obtained.

Where aspirate is collected into a RPMI medium, this must also be labelled with:

- Patient’s name,

- PCN

- DOB

- aspiration date

The appropriate referral request form must also be completed with the patient’s identifiers, clinical details, test request and signed by a requesting doctor.

Slides and/or BM in RPMI should be delivered by hand to the haematology laboratory. Where slides and/or BM in RPMI require urgent referral to a referral laboratory, please contact the haematology laboratory to discuss.

## Coagulation Requests:

The blood to anticoagulant ratio in the coagulation specimen is vital and for this reason, all specimens for coagulation testing must be filled to the Black Arrow indicated on the specimen tube. They should not be taken from heparin containing IV lines.

Specimens that are over-filled or under-filled will not be processed.

Haemolysed specimens will also not be processed as the results may be unreliable.

APTT, Fibrinogen and D-Dimer requests can only be processed if the specimen is less than 4 hrs post phlebotomy and the time of sample collection is mandatory on the request form.

Fibrinogen requests should be processed as soon as possible after sampling.

It is advisable for all coagulation requests, that the specimens are processed as soon as possible after phlebotomy.

Specimens for special coagulation tests are centrifuged, separated and frozen (within 4 hours of phlebotomy), and sent to a referral laboratory after consultation with the Consultant Haematologist. These specimens should be received in the laboratory at the latest 15.30hrs to allow time for processing and freezing prior to transport. Please contact the laboratory for advice if any other clotting assay is required which is not listed.

## Urgent Specimens

During routine hours of 8am to 8pm all test requests from ICU, HAEM/ONC, Day Services, Paeds, AAU and Emergency Department are treated as URGENT and do not require prior telephoned request.

If very urgent analysis is required, please contact the Haematology laboratory on numbers listed above.

## On Call Tests

During ‘on call’ periods the following tests are routinely available:

- FBC

When accompanied by relevant clinical details:

- Coagulation Screen/INR (Please indicate if patient is on Anticoagulants)

- D-Dimers

The following tests can be performed on-call under certain circumstances or when accompanied by relevant clinical details. Please contact the Medical Scientist on call if requesting any of these tests:

- Malarial Parasites

- Sickle Test

- ESR (Specifically for Temporal Arteritis, Septic Arthritis & Osteomyelitis only)

- Fibrinogen

The Medical Scientist on call must be contacted prior to sending specimens.

To arrange tests outside this profile contact the laboratory or medical scientist on call for further information.

Return to Haematology Index

Return to Table of Contents

## Haematology Specimen containers:

| Tube | Additive | Laboratory use |
| --- | --- | --- |
|  | Sodium Citrate | For coagulation determinations. Tube inversions prevent clotting. MUST be filled to Black arrow. Time of phlebotomy essential. |
|  | Serum Clot Activator | Tube inversions ensure mixing of clot activator with blood. For Serum specimens |
|  | K3EDTA | K3EDTA for whole blood haematology determinations. Tube inversions prevent clotting. Invert 8-10 times. |

Return to Haematology Index

Return to Table of Contents

## Haematology Routine Test Menu

| Test | Specimen type | Additional Information | Turn-Around-Time * |
| --- | --- | --- | --- |
| Full Blood Count | EDTA x 1 | One specimen is sufficient for FBC and ESR when filled to mark. | 1 hour stat 3 hrs routine 24hrs GP specimens |
| Erythrocyte Sedimentation Rate | EDTA x 1 | For ESR analysis on paediatrics- 2 paediatric specimens required. | 1 hour stat 3 hrs routine 24hrs GP specimens |
| Reticulocyte Count | EDTA x 1 | Can be added on to FBC specimen. | 1 hour stat 3 hrs routine 24hrs GP specimens |
| Coagulation Screen (on Heparin or Heparin & Warfarin) | NaCit x 1 | Specimen must be filled to the Black arrow on the tube | 1 hour stat 3hrs Routine 8 hrs GP |
| INR (on Warfarin) | NaCit x 1 | Specimen must be filled to the Black arrow on the tube | 1 hour stat 3hrs Routine 24 hrs GP |
| Fibrinogen | NaCit x 1 | Can be added on to Coag specimen. Specimen should <4hrs | 1 hour stat 3hrs Routine |
| D- Dimers | NaCit x 1 | Can be added on to Coag specimen if specimen is within 4 hrs of phlebotomy | 1 hour stat 3hrs Routine 4 hrs GP |

* Turn Around Time applies to Stat/Urgent specimens after they are received in Haematology Laboratory.

Return to Haematology Index

Return to Table of Contents

## Haematology In-House Special Tests

| Test | Specimen type | Additional Information | Turn-Around-Time * |
| --- | --- | --- | --- |
| Malaria (Films + Serology Screen) | EDTA x 1 | Can be requested on fresh FBC specimen. Contact lab for specific ‘Malaria Report’ form (Path Haem LP12) must be completed. | 3 Hours Antigen screen >24 hrs for complete report |
| Sickle Cell Screen | EDTA x 1 | Can be requested on FBC specimen. | 1 hr stat 1 week routine |

Return to Haematology Index

Return to Table of Contents

## Referral Tests

## Referral Laboratories used by Haematology:

Referral tests are specialised investigations that are processed by the Haematology laboratory and are transported to the various referral laboratories. Results and reports are returned directly to the requesting clinician, so please ensure request forms are completed clearly stating return address or location.

Please note that referral may take in excess of 2 weeks for turnaround of results. Any result enquiries should be made to the appropriate referral laboratory. PATH-HAEM-BC-37 Sample requirements for Haematology available in Phlebotomy department containing sample requirements including collection limitations.

The main referral laboratories are as follows;

| Laboratory | Address | Contact details |
| --- | --- | --- |
| St. James Hospital. | St James Hospital, James St Dublin 8. | (01)4162956(National Coagulation Lab) (01)4103576 (CMD) (01)4162394(Special Haem) (01)4162927(Immunology) |
| CHI, Crumlin. | The Division of Pathology and Laboratory Medicine (DPLM), CHI, Crumlin, Dublin | Telephone enquiries Monday-Friday from 09:00-17:00 phone (01)-4096251/ 4096432 Saturday-Sunday from 09:30-12:30 phone (01)-4096251/ 4096432 |
| Eurofins Biomnis Laboratories Ltd. | Three Rock Road, Sandyford Business Estate, Sandyford, Dublin 18, Ireland. | Results and Test Enquiries 1800 252966 Telephone enquiries 09:00 - 17:30 GMT Web link; main website www.Biomnis.com |
| University College Hospital, Galway | University College Hospital Newcastle Road Galway | Telephone enquiries 09:00 - 17:00 GMT Results and Test Enquiries 091 524765 / 524222 ext 4418 |
| Bristol | H+I Laboratory NHS BT, 500 North Bristol Park Northway Filton Bristol BS34 7QH | 00441179217536 Elaine Griffin 00441179217532 |
| Belfast City Hospital | Belfast City Hospital C Floor BCH Tower Lisburn Rd Belfast BT9 7AB | 0044 28 95040910 0044 28 950 48138/40914 |
| MLL Germany | MLL Munchner Leukamielabor GmbH Max-Lebsche-Platz 31 81377 Munich Germany | 0049 89 990017-0 info@mll.com |
| Sheffield | Sheffield Diagnostic Genetics Service Sheffield Childrens NHS Trust Western Bank Sheffield S10 2TH | 0044 114 271 7011/7019/7014 Sheffield.diagnosticGenetics@nhs.net |
| Leeds | Haematological Malignancy Diagnostic Service(HMDS) St James Institute of Oncology Level 3 Bexley Wing St James University Hospital Leeds LS9 7TF | 0044 113 2067851 |
| Great Ormond St | Immunology Lab, Level 4 Camelia Botnar Laboratories Great Ormond St Hospital for Children NHS Trust Great Ormond Street London WC1N 3JH | 0044 020 7839 8835 |
| Viapath (Kings) | Molecular Pathology c/o Central Specimen Reception Blood Sciences Laboratory Ground Floor Bessimer Wing Kings College Hospital Denmark Hill London SE5 9RS |  |
| Viapath (Guys) | Genetics, 5th floor Tower Wing Molecular Oncology, 4th floor Southwark Wing Guys Hospital, Great Maze Pond London SE1 9RT | Genetics : 004420 7188 1709 Molecular : 0044 20 7188 7188 ext 51060 |

## Haematology Referral Tests

| Test name | Specimen type | Information | Referral lab | TAT |
| --- | --- | --- | --- | --- |
| Anticardiolipin antibodies | Serum x 1 | Sent once a week on a Monday | Immunology UHG | 1-2 weeks |
| Anti Factor Xa | Na Citrate plasma x 2 | Should be received in lab within 1 hour of phlebotomy. Sample should be taken 4 hours post dose of LMWH. Details and dose of low molecular weight heparin (LMWH) should be stated on request form and time of administration. | Haem Lab UHG (adults), CHI Crumlin (children <16 yrs old) | UHG 1 week CHI 3-5 days |
| ADAMTS 13 assay | NaCit x 1 | Send PATH-HAEM-EXT-50 request form with full clinical details | Belfast City Hospital | ~6 hrs STAT 2-3 weeks Routine |
| BCR ABL (Molecular Analysis of Leukaemia) For Chronic Myeloid Leukaemia (CML) or Myeloproliferative disorders (MPD) | Peripheral blood 9ml in EDTA or BM 9ml in RPMI | Samples should be taken in afternoon before 16:00 (Monday-Thursday). Ensure sample is accompanied with fully completed and signed PATH-HAEM-EXT-14 Cancer Molecular Diagnostics-Request for molecular analysis | Cancer Molecular Diagnostics (CMD)St. James' Hospital | 14-21 working days |
| CALR exon 9 Mutations | 3ml EDTA x 2 | Send PATH-HAEM-EXT-14 request form | Cancer Molecular Diagnostics (CMD)St. James' Hospital | 14-21 working days |
| Cytogenetics | BM with heparin for Chromosome analysis FISH: EDTA or Heparin Peripheral Blood in EDTA for CLL | Contact laboratory for pack with consent forms, request forms and Heparin/ Universal container. Sample sent via First Direct Medical Couriers international shipment | MLL Germany Munchner Leukamielabor GmbH Max-Lebsche-Platz 31 81377 Munich Germany | Results available approx 6 weeks |
| CD3 (cells), CD4 (T Helper), CD8 (T Cytotoxic), CD19 (B cell), CD16/56 (NK cells), T & B subsets | 3ml EDTA x 2 | Time and Date of collection must be on request form. Store at RT DO NOT REFRIGERATE | Immunology Lab UHG <16 yrs CHI Crumlin | 5 working days |
| Chimerism testing | Peripheral blood 9ml in EDTA (3 samples) or 1ml of bone marrow in RPMI | Samples should be taken in afternoon and received in the laboratory before 16:00 (Monday-Thursday). Ensure sample is accompanied with fully completed and signed PATH-HAEM-EXT-14 Cancer Molecular Diagnostics-Request for molecular analysis | Cancer Molecular Diagnostics, Central Pathology Laboratory, St James's Hospital, Dublin 8. | Usually within 14-21 working days. |
| CD3 (cells), CD4 (T Helper), CD8 (T Cytotoxic), CD19 (B cell), CD16/56 (NK cells), T & B subsets | 3ml EDTA X 2 | Take sample after 2 pm (Monday-Thursday). Contact lab prior to sending samples as it must arrive in referral laboratory within 48 hours of phlebotomy. Time and date of collection must be on form. | Immunology Lab, St. James Hospital Dublin 8 | 5 working days |
| Factor Assays | Na citrate x 6 (CHI 2.9ml NaCit per factor) Cord blood acceptable | Send samples Mon-Fri before 15:30hrs. Ensure delivered to laboratory within 4 hours post phlebotomy. | NCHCD St James's Hospital. For patients <16 yrs send to CHI Crumlin | St James 4 weeks CHI Crumlin STAT 24 hrs |
| Factor inhibitor screen | Na citrate x 6 (OLCH NaCit 2 x2.9ml) | Send samples Mon-Fri before 15.30hrs. Ensure delivered to laboratory within 4 hours post phlebotomy. | NCHCD St James's Hospital. For patients <16 yrs send to CHI Crumlin | 4 weeks |
| Factor V Leiden | 1 x 3ml EDTA | Requires a signed informed consent form from patient (PATH-HAEM-EXT-45) | Eurofins Biomnis | 8 days |
| FISH for Multiple Myeloma | BM: 2-3mls in EDTA | Sample must be max 48hrs old on receipt in Sheffield. Use PATH-HAEM-EXT-46 request form. Sample should be taken Mon/Tue after 13:00hrs only. Please contact the lab in advance to arrange courier | Sheffield Diagnostic Genetics Service Sheffield Childrens NHS Trust Western Bank Sheffield S10 2TH | 21 days from Plasma cell content confirmed. |
| Hb- electrophoresis | 1 x 3ml EDTA plus Blood Film | Use PATH-HAEM-EXT 52 request form for adult samples Store and transport at 40C | Haematology St James Hospital CHI Crumlin <16yrs | 7 days |
| HIT screen (Heparin Induced Thrombocytopenia) | 2 x 6ml serum | Must have a pre-test probability score of 4 or more & must be accompanied by a clinician completed PATH-HAEM-EXT-1 SJH HIT request form. Send samples Mon-Thurs before 15:30. Ensure delivered to laboratory within 4 hours post phlebotomy. | NCHCD SJH | Up to 2 weeks |
| HLAB27 (HLA 27 genotype) | 3ml EDTA x 2 | Requires a signed informed consent form from patient PATH-HAEM-EXT-45 | Biomnis | 2 weeks |
| Hereditary Spherocytosis (EMA) | EDTA sample > 0.5ml | Contact laboratory to discuss prior to taking specimen as must be received by referral laboratory within 18-24 hours | Adults- St James Special Haematology Lab <16 yrs CHI, Crumlin Haematology Lab | 1 week |
| Immunophenotyping | BM: in RPMI And 1 unfixed, unstained slide. Peripheral blood:(~3ml EDTA) CSF: >1.5ml in Transfix tube | Must be accompanied by completed PATH-HAEM-EXT-15 UCHG Request for Specialised Haematology Tests or PATH-HAEM-EXT-41 SJH Haematology request for flow cytometry (immunophenotyping) | Haematology Lab., UCHG/SJH | 2-5 days |
| JAK2 | 3ml EDTA x 2 PB samples / BM in RPMI | Send with a fully completed and signed CMD form | CMD SJH | 14-21 days |
| Leucocyte Adhesion Deficiency (CD 18/ CD 11) | 3ml EDTA x1 sample | Contact laboratory to discuss prior to taking specimen as must be received by referral laboratory for testing <5 hrs post phlebotomy and requires prior arrangement with referral lab before phlebotomy. (Specialist test not all staff trained) | Immunology Lab St James Hospital | 5 days |
| Lupus anticoagulant | Na citrate x2 samples | Ensure delivered to laboratory within 4 hours post phlebotomy and before 15:30 | Eurofins Biomnis | 4 days |
| Methylenetetrahydrofolate reductase-MTHFR gene C677>T mutation | 3ml EDTA x 1 sample | Requires a signed informed consent form from patient (PATH-HAEM-EXT-45) | Eurofins Biomnis | 2 weeks |
| Molecular Haematology (MYD88, PDGFR, CLL testing) | 3ml EDTA x 2 | Use PATH-HAEM-EXT-47 Belfast Molecular referral form | Belfast City Hospital | Depends on test requested |
| Molecular Genetics Crumlin | 3ml EDTA(DNA analysis) | Use PATH-HAEM-EXT-51 and see instructions on rear of form for sample requirements | Department of Clinical Genetics, Crumlin | Depends on test requested |
| MYD88 (For Waldenstroms) | EDTA 6ml BM: Collected in EDTA and fresh smear | Use PATH-HAEM-EXT 49 referral request form | Leeds | 4-14 days |
| MPL Gene panel | 3ml EDTA x 2 | Use PATH-HAEM-EXT-14 and use “other” | CMD St James Hospital |  |
| Plasma viscosity | 3ml EDTA x 3 samples | Contact lab to discuss time of sampling. Must be received in UCHG<24HRS | UCHG | 2 days |
| Proxismal Nocturnal Haemoglobinuria (PNH) | 3ml EDTA x 2 samples | Samples must be taken before 15:30 Mon-Thurs. Sample to arrive in referral lab <48 hrs of phlebotomy. | Special Haematology St James Hospital Dublin 01-4162048 | 2 weeks |
| Prothrombin G20210A Mutation (F2) | 3 ml EDTA | Requires a signed informed consent form from patient (PATH-HAEM-EXT-45) | Eurofins Biomnis | 8 days |
| Red cell folate | 3ml EDTA blood | Store at RT, send with Biomnis. | Med Lab Pathology | 1 week |
| Soluble CD25 | Serum x 1 | Separate serum, stable for 4 days @ RT | Immunology Lab, Level 4 Camelia Botnar Laboratories Great Ormond St Hospital for Children NHS Trust Great Ormond Street London WC1N 3JH | 21 days |
| Thrombophilia screen | Na citrate x 6 | Haematology team must be contacted prior to taking specimens to discuss clinical details. Ensure samples delivered to laboratory within 4 hours post phlebotomy and before 15:30hrs | Biomnis: adults CHI: children <16 years old | Biomnis: 4 days CHI: 1 month |
| T cell receptor gene rearrangement | 3ml EDTA | Send with completed PATH-HAEM-EXT-14 referral lab request form | CMD St James Hospital | 14-21 days |
| TP53 Mutation | 3ml EDTA x3 | Send with completed PATH-HAEM-EXT-14 referral lab request form | CMD St James Hospital | 6 weeks |
| Urinary Haemosiderin | Urine 5-10mls | Store and transport at RT | Special Haemtology St James Hospital | 48 hrs |
| VITT Vaccine induced Thrombotic Thrombocytopenia | Serum x 2 | Send with VITT referral lab request form PATH HAEM EXT 61 | NCHCD St James Hospital | 2 working days |
| Von Willebrand screen | Na citrate x 6 | Ensure samples delivered to laboratory within 4 hours post phlebotomy and before 15:30hrs | NCHCD, SJH (Adults) CHI <16 yrs | 6-8 weeks |
| White Cell Antibodies | Serum sample x1 and 1 x 3ml EDTA if available | Sample to be sent with completed form PATH-HAEM-EXT-19 Mon/Tues/Wed | H+I Laboratory NHS BT 500 North Bristol Park Northway, Filton, Bristol BS34 7QH UK | 21 working days |

Return to Haematology Index

Return to Table of Contents

# Microbiology Laboratory

Microbiology Laboratory Pathology Department Sligo University Hospital Sligo

Return to Table of Contents

Microbiology Laboratory Index

Table of Contents	2

Microbiology	61

Microbiology Hours of Operation	63

Microbiology Laboratory Staff Contact Details	63

Introduction	64

Service Description	64

Scope of the Service	64

Ward access to laboratory management system	65

On-Call Service	65

Sample collection and identification, laboratory request forms, specimen containers	65

Handwashing Instructions	65

General Information on Collection of Microbiology Samples	66

Disposal of Waste Material Used in Specimen Collection	67

Completing the Request Form	67

Specimen Identification	68

Specimen Containers	68

Transport, Non conformance, additional test requests and storage of examined specimens	71

Transport of Specimens to the Laboratory	71

Reasons for Rejection/ Abridged testing of Samples received in Microbiology	71

Requesting Additional Tests	82

Storage of Examined Samples	82

Microbiology/Serology tests	83

Repeat Examination due to Analytical Failure	84

Further Examination of the Primary Specimen	84

Tests not Listed	84

Medical indications and Microbiology test requesting guide	84

Suspected bacteraemia, Systemic Inflammatory Response Syndrome (SIRS), Sepsis, Septic Shock	84

CNS infections	85

Respiratory tract infection	85

Gastrointestinal tract infection	86

Bone and joint infection	87

Urinary Tract Infections	89

Skin and superficial wound swabs	91

Deep-seated wounds/abscesses/ post-operative wound infection	91

Mycobacterial Infection	91

Fungal nail and skin infections	92

Medical indications and Serology test requesting guide	93

List of Microbiology tests and their Sample requirements	97

Abscess culture	97

Acanthamoeba PCR	98

Bartholins cyst fluid	99

Biopsy, Tissue, Bone and Prosthetic Devices	99

Blood Cultures	101

Bronchoalveolar Lavage/ Bronchial Washings/ Antral Washout	103

Catheter Tips (intravenous or intra-arterial)	104

Cerebrospinal fluid (CSF)	105

Corneal Scrapings	106

Eye Swabs	107

Faeces	108

Faeces - Routine	108

Faeces - C. difficile Toxin Assay	109

Faeces – Norovirus Testing	109

Fluids	110

Fungal (Mycology) Culture	111

Genital Tract Swabs	112

Legionella Urinary Antigen	131

Mycobacterium Staining and Culture 	114

Parasites, Ova, and Cysts.	115

Pneumococcal Urinary Antigen

Pregnancy Tests

Screening Swabs 	117

MRSA screen	119

VRE screen	120

Skin Scrapings	121

Sputum	121

Urine Microscopy and Culture	128

Upper Respiratory Tract Samples	123

Ear Swab	123

Nasal Swab	124

Nasopharyngeal (High Nasal) Swab or Aspirate	125

Oral Swabs	126

Throat Swab	127

Wounds	128

List of Serology tests and Sample Acceptance/Rejection criteria	134

General Serology Information	134

Needle Stick Injuries (NSI’s)	135

Criteria for Rejection of Serology Specimens	136

List of Serology tests	142

## Microbiology Hours of Operation

| *Hours of Operation | Routine Service: Monday-Friday 0800-2000* Emergency On call service available outside of these hours |  |
| --- | --- | --- |
| Phone** | On-call | Internal Speed dial173 444 or 087 3293875 |
|  | Microbiology Main Laboratory | 071 917 74557 071 917 74169 |
|  | Serology Laboratory | 071 917 1111 ext 74159 |
|  | Infection Prevention and Control | 071 917 74161 |
|  | Fax | 071 917 74658 |

*	Specimens submitted after 18.00 hrs may not be processed on the day of receipt therefore every attempt should be made to ensure that all specimens are transported to the laboratory prior to that time.

**	The Microbiology Laboratory only answers phone calls between: 12.00-1300 and 14.30-15.30. For urgent communications only (not results service) during these hours or in an emergency situation outside of these hours, please contact the laboratory on: 087-3293875 or internally on speed dial 173 444.

Return to Microbiology Index

Return to Table of Contents

## Microbiology Laboratory Staff Contact Details

| Title | Name | Phone* | Bleep | Email |
| --- | --- | --- | --- | --- |
| Microbiology lab for general enquiries |  | 071 91 74557 |  |  |
| Serology lab for general enquiries |  | 071 9171111 ext. 74159 |  |  |
| Consultant Microbiologist | Dr. Ana Rueda Benito | 071 9171111 ext 74162 |  | Ana.RuedaBenito@hse.ie |
| Consultant Microbiologist | Dr. Vlasta Zujic Atalic | 071 9171111 Ext 74163 |  | Vlasta.zujicatalic@hse.ie |
| Consultant Microbiology Secretary | Alison Murphy | 071 9172501 |  | Alison.Murphy7@hse.ie |
| Chief Medical Scientist | Anne O’Toole | 071 9174563 |  | anne.otoole@hse.ie |
| Senior Medical Scientist | Esther McCormack | 071 9174563 |  | esther.mccormack@hse.ie |
| Senior Medical Scientist | Marie Gunning | 071 9174563 |  | Marie.Gunning2@hse.ie |
| Senior Medical Scientist | Jen McGuinn | 071 9174563 |  | Jennifer.McGuinn@hse.ie |
| Senior Medical Scientist | Caroline Brennan | 071 9174563 |  | Caroline.Brennan4@hse.ie |
| Senior Medical Scientist (Serology) | Anne Duffy | 071 9171111 ext 74159 |  | annea.duffy@hse.ie |
| Senior Medical Scientist | Lisa Duignan | 071 9171111 ext 74159 |  | Lisa.duignan@hse.ie |
| Quality Manager | Mike Mitchell | 071 9174434 |  | mike.mitchell@hse.ie |
| Surveillance Scientist | Karen Hickey | 071 9174140 |  | KarenM.Hickey@hse.ie |
| Infection Prevention and Control | ADON Theresa Farrell | 071 9171111 ext 74161 | Bleep 132 | teresam.farrell@hse.ie |
|  | CNS Ciaran Adams | 071 9171111 ext 74161 | Bleep 117 | ciaran.adams@hse.ie |
|  | CNS Jean McGuinness | 071 9171111 ext 74161 | Bleep 131 | Jean.Mcguinness@hse.ie |

* Internal extensions in bold digits.

Return to Microbiology Index

Return to Table of Contents

## Introduction

This manual is designed to give an overall view of the services available in the Saolta University Health Care Group, Sligo University Hospital, Microbiology Laboratory. It is intended as a quick reference guide for both GPs and Hospital Clinicians.

Please note this manual is intended for use as a guide only.

## Service Description

The SUH Microbiology laboratory complies with and has been accredited to the International Standard ISO15189 since February 2014, Irish National Accreditation Board (INAB) registration number 321MT, the scope of Accreditation is published on the INAB website at INAB 321MT. Any deviations from or non-fulfilment of our Quality Management System are recorded as non-conformances, corrective and preventive actions implemented and follow-up monitoring implemented.

This department offers a comprehensive range of diagnostic services in routine Bacteriology, Parasitology, Serology and Virology. All Mycobacteriology is referred to University Hospitals Galway. Mycology samples (other than Corneal Scrapings) are analysed by external reference laboratories. The department also offers consultation in microbiology, infectious diseases and antibiotic utilisation and provision of statistical and cumulative data for infectious disease monitoring.

The proper selection, collection and transport of specimens to the laboratory is an essential part of the quality assurance of the microbiology laboratory. Results are reported rapidly and phoned if necessary to ensure timely intervention for optimum patient care. As part of the quality assurance process within the laboratory, turnaround times are routinely audited.

## Scope of the Service

- Diagnostic Bacteriology including Antimicrobial Susceptibility Testing.

- Diagnostic Microbial Serology and Virology.

- Guidance on Antimicrobial Chemotherapy.

- Guidance on Infection Prevention and Control and Outbreak Management

## Ward access to laboratory management system

The Laboratory Information System was not designed for ward access to Microbiology results. The system allows access to incomplete and/or unauthorised results. If accessing the LIS to view microbiology results, the user MUST ensure he/she scrolls through ALL windows associated with the particular report in order to view all interpretations and comments and check the report status.

Results with a report status of ‘pending’ are unauthorised and may be subject to change.

## On-Call Service

The Microbiology laboratory provides an out of hours on call test service. See the Main Introduction Section of this document for a guide to the tests available pre and post midnight and the criteria used for selection.

Microbiology On call Tel. no. 173444

Return to Microbiology Index

Return to Table of Contents

## Sample collection and identification, laboratory request forms, specimen containers

## Handwashing Instructions

Hands should be washed by systematically rubbing all parts of the hands and wrists with soap and water, paying particular attention to those areas of the handwhich are frequently missed e.g. finger tips, between the fingers, around the thumbs and back of the hands.

- STEPS 1, 2 	Turn on the tap using an elbow to operate the controls. Wet hands under running water.

- STEPS 3, 4 	Dispense approximately 5mls of antiseptic handwash into cupped hand.

- STEPS 5-9 	Wash hands thoroughly for 10-15 seconds without adding more water.

- STEP 10 	Rinse hands thoroughly under running water.

- STEPS 11, 12 Turn off the tap again using your elbow. Dry hands 	carefully with disposable paper towels. Cotton communal towels should NOT be used under any circumstances.

- Dispose of paper towel into waste bin lined with black plastic bag. Use Foot control to operate bin. Do not open or close the lid with your hand.

## General Information on Collection of Microbiology Samples

- Wash and dry hands carefully before and after collection of microbiology specimens.

- Each specimen should be considered potentially infectious and handled using Standard Precautions.

- The value and reliability of the results of many diagnostic bacteriological tests is largely dependent on correct procedures being followed when tests are requested.

- Microbiology results depend critically on the type and quality of the material received. Therefore this material should be representative and fresh.

- All specimens of infectious material should have their container lids securely tightened prior to transportation to ensure safe arrival in the laboratory and enclosed in a bag attached to a request form.

## Procedure for identification of patients

For In-Patients

	This procedure should include asking the patient to state his/her full name and date of birth e.g. patient should be asked ‘what is your name?’ NOT ‘are you Mr/Mrs Murphy?’

	The information given by the patient must be identical to that on the patient’s identity band. Do not take specimens if this information is incorrect.

	Specimen tubes can be labeled with addressograph label (except for Blood Transfusion) or hand written and labeled immediately after sampling at the patient’s bedside. Write the patient’s name, PN, date of birth and date and time (if required) of sampling on the bottle. The person drawing the specimen must sign the specimen and the request form.

For GP/ Out patients

	The person taking the specimen should ask the patient to state their full name and date of birth e.g. patient should be asked ‘what is your name’ not ‘are you Mr/Mrs Murphy?’

- The specimen should be labeled at the time of sampling and the information given by the patient must correlate with that which is used to complete the specimen and request form. '

Collect specimens before commencement of antimicrobial therapy.  This is usually possible for most mild infections.  For more serious infections, antimicrobial therapy should not be withheld pending collection of a specific specimen.  For example, antimicrobial therapy should not be withheld pending collection of CSF from an individual with suspected meningitis or collection of sputum from an individual with severe pneumonia.  However, blood cultures can be obtained in nearly all cases prior to antimicrobial treatment of serious infection.

Please send an adequate amount of specimen.  As a general rule – ‘the more specimen the better’. If pus is present, send pus rather than a swab and remember to send enough specimen if a whole series of tests are required.  This applies to CSF and serology specimens in particular.

For more detailed information regarding collection procedures for an individual test please refer to  LIST OF MICROBIOLOGY TESTS AND THEIR SAMPLE REQUIREMENTS where a comprehensive list of Microbiology/Serology tests are listed in alphabetical order.

## Disposal of Waste Material Used in Specimen Collection

All materials used in specimen collection should be treated as potentially hazardous and discarded using sharps containers and other appropriate colour coded bags. Please refer to the current hospital guidelines for Waste Management prepared by the Infection Prevention and Control Committee.

## Completing the Request Form

The Mandatory details required for processing patient specimens, are

- Clinical details. For example, include details if the specimen is sent during an outbreak or there is a history of foreign travel or a specific diagnosis is being considered; include any history of administration of antimicrobial drugs.  All of the above may influence the type of test that the laboratory performs.

- Collection times

- Requesting Doctor and patient location completed.

## Specimen Identification

Refer to specimen acceptance guidelines in this manual (Table 1 below).

N.B. All specimens from suspected or known cases of TB, CJD, hepatitis B & C, AIDS and HIV infection etc. must be treated as high risk specimens and a special biohazard label must be attached to both the appropriate specimen container and request form. The microbiology laboratory should be contacted before sending such specimens. Blood specimens from high risk patients must be taken by experienced staff. Gloves must be worn during venepuncture and the use of plastic aprons and eye protection is also advised, if considered appropriate.

## Specimen Containers

Adult blood culture bottles (aerobic and anaerobic)

Paediatric blood culture bottle

Urine Container

| BD Vacutainer® Plus urinalysis tubes | BD Vacutainer® urine collection cup |
| --- | --- |

Sterile universal container

Adult serum bottle

Adult EDTA bottle

Paediatric EDTA bottle (Purple top)

Blue Amies Agar Transport Gel Swab

Blue top swab. Stiff plastic shaft. Amies agar transport medium. General use swab for recovery of aerobes, anaerobes and fastidious organisms.

Orange Amies Agar Transport Gel Swab

Orange top swab. Amies agar transport medium. Firm wire shaft, ideal for ear and male urethral sampling.

Blue Minitip Amies Agar Flexible Twisted Wire Swab

Blue top flexible wire with a mini tip swab. Specifically for nasopharyngeal sampling. Very flexible, will bend and yield when in contact with posterior nasopharyngeal wall. Features a safe loop shaped wire tip covered with soft rayon. Amies agar transport medium.

Viral swab (Pink or Green top)

Pink or green top swab containing a viral transport media. Note 1: Never refrigerate viral swabs after collecting a sample. Note 2: Viral swabs are not suitable for routine bacterial culture and will not be processed for same.

SARS-CoV-2 / Respiratory Virus Screen

The required specimen is a nasopharyngeal swab into 3 ml of Universal Transport Medium (UTM-RT). See picture above. These can be provided by the laboratory on request. Please note if a liquid swab is not submitted, SUH Microbiology Laboratory cannot provide the rapid testing.

Mycotrans or Dermapack Type 3 Envelope or equivalent

Place specimen in centre of fully opened envelope. Close by re-folding and seal by removing backing strip. For additional security place envelope in outer transport bag and seal.

Return to Microbiology Index

Return to Table of Contents

## Transport, Non conformance, additional test requests and storage of examined specimens

## Transport of Specimens to the Laboratory

Refer also to general guidelines on transport in the Introductory section of this manual.

Specimens should be transported to the laboratory without delay to ensure optimal results. Commensal bacteria e.g. Coliforms or Coagulase negative Staphylococci present in the original sample or introduced accidentally at sampling, can survive and multiply at room temperature before the specimen is processed, and can gain an advantage in numbers over the pathogens which are subsequently outgrown. Therefore all specimens for culture should be submitted to the laboratory on the day of collection and with minimal delay.

All specimen containers must be tightly closed and placed in a transparent hazard bag for transport to the laboratory.

It is the responsibility of the person dispatching the specimen to the laboratory to ensure that it is packaged correctly, and does not pose a risk to anyone coming in contact with it during transport or on receipt in the laboratory.

All CSF specimens are treated with priority in the Microbiology Laboratory. Outside normal hours the requesting clinician must ensure that the on call medical scientist in Microbiology is aware that a CSF is expected.

CSF specimens should not be transported via the pneumatic tube system.

- High Risk Specimens

It is a requirement that laboratory specimens from patients who have known or suspected Risk Group 3 infections be labeled in such a manner that this knowledge be conveyed to the laboratory. Specimens from these patients should be labeled Biohazard or Danger of Infection. The specimen container should be labeled on the outside and clearly visible. The accompanying paperwork should be appropriately labeled.

## Reasons for Rejection/ Abridged testing of Samples received in Microbiology

It is the policy of the laboratory to endeavor to process all microbiology samples so long as they do not fall into any of the rejection criteria listed below.

Every attempt is made to allow sufficient time for corrective action to be performed by the clinician. Unfortunately not all rejection scenarios may be amended and the clinician may have to take a repeat sample. See List and Table below:

- Incomplete or illegible request form

- Specimens deviating from Specimen acceptance criteria

- Specimens submitted in an unsterile or incorrect container

- Tissue/ specimen received in formalin or other fixative

- Specimens which have leaked, either because the container has been damaged or the lid has not been tightened correctly.

- Samples that are too old to process either due to transportation delay or incorrect long term storage. See individual tests for more detailed criteria.

- Samples received with no clinical details or inappropriate clinical details provided on request form

- Unnecessary repeat requests

Note: Some samples may be subjected to an abridged testing protocol depending on the results obtained from preliminary testing eg urine samples may not be cultured if White Blood cell count is low with the presence of epithelial cells, as this is likely to yield contaminating organisms.

Table 1 Microbiology Samples Rejection/Abridged Testing  Criteria

| Scenario | Action | Exceptions | Rationale |
| --- | --- | --- | --- |
| Labelling/Identification Incomplete or illegible request form | Sample not processed. Report issued stating that Incomplete clinical details were provided | - CSF samples - Blood Culture samples - Unrepeatable samples | Sample must be labeled with two out of three unique identifiers which must be correct and match the information given on the request form. These are (i) Surname &Forename (Essential) - Date of birth - SUH PCN or Full address The Requesting Clinician is required to complete form: PATH-GEN-FRM-3 Declaration form for inadequately labelled samples and correct labelling error in person, within 4 hours of draw, before samples may be processed. Otherwise the bottles will be discarded. |
| Insufficiently labelled samples | Sample not processed. Report issued stating that two out of three unique identifiers required. | - CSF samples - Blood Culture samples - Unrepeatable samples |  |
| Samples from patients whose details do not correspond with the request form. | Sample not processed. Report issued stating that Different names on form and sample(s) or Incorrect PID or Name stated) | - CSF samples - Blood Culture samples - Unrepeatable samples | The request form and sample should have corresponding details. |
| Unlabelled / Mislabelled samples | Sample not processed. Report issued stating that unlabelled sample received and This sample deviated from Pathology Labelling Policy. Requesting clinician was contacted by the laboratory and informed of requirement to rectify labelling error and complete Declaration Form for Inadequately Labelled Specimens. Nature of deviation stated ie Unlabelled samples or Mislabelled samples. | - CSF samples - Blood Culture samples - Unrepeatable samples | Unrepeatable specimens-refer to sample deviation acceptance policy in Introduction section of this manual. Requesting Clinician is required to complete form: PATH-GEN-FRM-3 Declaration form for inadequately labelled samples and correct labelling error in person before samples may be processed. |
| Samples with no clinical details or inappropriate clinical details provided on request form ( including antibiotic assays) | Sample not processed. Any samples received without accompanying appropriate clinical details will also be rejected with the following comment “No (or inappropriate)clinical details provided. Sample not processed. Relevant clinical information is necessary in order to allow interpretation of test results. Samples will be held for 48 hours and processed if relevant clinical details are provided” | - ICU samples - NICU - RDU samples - Haematology/ Oncology patients - Diabetic patients - Any sample that cannot be easily repeated e.g. tissue, CSF, aspirates, blood cultures, BALs, biopsies. - MRSA/VRE screens (including CSU urines from known MRSA carriers) - Consultant Urologist - Pregnancy | Relevant clinical information is necessary in order to allow choice of relevant tests and interpretation of test results. If clinical information is subsequently provided, this is recorded on the report and the sample is processed. |
| Specimens with no requesting doctor or location | Specimen not processed. Rejected with following comment ‘’ ‘’ No details of requesting doctor given on form. Specimen not processed. ‘’ |  | Putting samples up to historic events on the Laboratory Information System (LIS), may breach confidentiality. |
| Specimen request form does not have a location and location cannot be determined from PCN/requesting doctor. | Specimen not processed. Rejected with following comment ‘’No patient location details given on form. Specimen not processed. |  | Putting samples up to historic events on the Laboratory Information System (LIS), may breach confidentiality. |
| Old Samples: Samples >48 hours old Or Date of collection not stated on request form or sample | Such samples will not be processed. Samples will be rejected with the comment: “Specimen >48 hours old. Unsuitable for analysis. According to best practice, specimens should be transported and processed as soon as possible. Delays of >48 hours are undesirable and may yield false negative or misleading results. Advise repeat specimen if clinically indicated.” | - Faeces | At this stage target organisms may not have survived and processing such samples may yield false negative or misleading results. Inappropriate antibiotic therapy can result from working up poor quality samples. No information available regarding storage or transport conditions prior to submission to laboratory. |
| Sample Quality/Quantity: Specimens submitted in a non-sterile or an incorrect container/swab. Leaking Sample Insufficient specimen received. | Sample not processed. Report issued with comment, specimen received in a non standard non sterile container. Sample not processed. Report issued with comment, Leaking sample received unsuitable for analysis. Sample not processed. Report issued with comment, Insufficient specimen for analysis or Small amount of specimen received, dried onto a sample stick. Insituable for analysais | Unrepeatable samples (Samples may be processed with a suitable comment appended to the report) N/A N/A | A non-sterile container may lead to a contaminated sample and misleading results. A leaking container may lead to a contaminated sample and misleading results. N/A |
| Urines: Catheter specimen urines (CSU) | Unless clinical details on accompanying request form imply systemic infection e.g. pyrexia, sepsis, rigors, vomiting, unwell, pt on IV antibiotics etc samples will not be processed. A report will be issued with the comment “Clinical details inadequate. Catheter specimen urines will only be processed if clinical details imply systemic infection. Advice repeat specimen if clinically indicated.” | . - ICU/NICU/RDU - Haem/Onc - Diabetic patients - Known MRSA positive patients/MRSA screening - If Catheter was just used to obtain sample i.e. is not a long term indwelling catheter e.g. urinary retention. - Suprapubic catheters - Pre-op samples. | Catheter associated bacteriuria is usually asymptomatic and is not synonymous with clinically significant infection. Submissions of CSU samples are relevant only in cases of systemic infection or for MRSA screening. |
| Urinary catheter received | Sample not cultured. A report will be issued with a comment stating ‘’Urinary catheter tip received. Unsuitable for culture’’ |  |  |
| Penile swab received if urinary catheter in situ | Sample not cultured. A report will be issued with a comment stating ‘’specimen not processed for culture. Swab from penile tip is unsuitable for culture in the presence of an indwelling urinary catheter’’ |  |  |
| Urine received for TB culture | Sample not cultured. A report will be issued with a comment stating ‘’urine samples not routinely tested for Mycobacterium spp by reference Laboratory.Contact Consultant Microbiologist at 071 9171111ext 74162 if renal TB clinically suspected.’’ |  |  |
| Urines submitted in universal container or blue BD urine sampling container | Sample not processed. Samples will be rejected with one of the following comments: REJUC Sample submitted in universal container. Sample not processed. As per memos of 22/06/15 and 23/07/15, urines received in universal containers will not be processed after 10/8/15. Please submit repeat specimen in appropriate test tube, available on request from the laboratory. REJUC2 Sample submitted in universal container. As per memos of 22/06/15 and 23/07/15, urines received in universal containers will NOT be processed after 10/8/15. Please submit all future specimens in appropriate test tube, available on request from the laboratory. REJBLU Sample received in blue urine sampling container. A second tube needs to be attached to this blue container and filled with urine as per label on top of blue container. Submit urine samples in this second tube. Please call Microbiology at 071 9174563 to discuss if required. | Very small volumes | Danger of leakage from universal. A leaking container may lead to a contaminated sample and misleading results. Requirement for urine vacutainer for urinalysis on automated UF |
| Urine Microscopy: Manual Microscopy WBC <20 x 106/L AND epithelial cells or amorphous deposit present. Automated Cell Count WBC <40 x 106/L AND ≥1+ epithelial cells present. Field obscured by Amorphous Deposit or Epithelial Cells Automated Cell Count WBC <40 x 106/L AND no bacteria present. | Sample not cultured. A report will be issued with the microscopy result and a comment stating “Culture not performed on this sample due to low white blood cell count and the presence of epithelial cells/amorphous deposit.” Sample not cultured. A report will be issued with the microscopy result and a comment stating “Poor quality sample as evidenced by large amounts of epithelial cells and/or amorphous deposit……Advise repeat specimen if clinically indicated.” Sample not cultured. A report will be issued with the microscopy result and a comment stating “Culture not performed on this sample due to absence/low white cells and absence/low levels of bacterial cells on urine cytometry. Evidence has shown that significant growth does not occur on culture in these instances.’’ | - Neutropaenic Haem/Onc patients - ICU/NICU/RDU pts - Suprapubic aspirates - Suprapubic catheter - >100 RCC in male patients, elderly females, pregnancy or anybody where there is not a reasonable explanation for a high RCC. - Proteinuria in pregnancy - Pyelonephritis | Majority of such samples cultured yield mixed growth of contaminating organisms (mixed skin flora or mixed enteric organisms) Culture not performed due to high likelihood of contamination Evidence has shown that significant growth does not occur on culture in these instances. |
| Faecal samples: (Routine culture) Samples received from in-house patients that have been hospitalised for >3 days Multiple routine samples with the same collection date | Such samples will not be processed for routine culture unless specifically indicated by Infection Prevention and Control. (Existing criteria for Norovirus and C. difficile apply). A report will be issued with the comment “Routine culture not performed as yield of routine enteric pathogens is low in patients that have been hospitalised for > 3 days.” (working days) Process one sample only. | N/A | Yield of routine enteric pathogens is low in these instances. For the investigation of enteric pathogens it is more appropriate to collect and submit samples on consecutive days. |
| Faecal samples: (Ova and Parasites) Samples received with no indication of foreign travel or with no reasonable clinical suspicion of parasitic infection | Sample not processed. A report will be issued with a comment stating “Screening for ova and parasites will only be carried out in circumstances where a reasonable clinical suspicion of parasitic infection exists e.g. foreign travel. If screening for ova and parasites is required, please contact the Microbiology Department at ext. 4557” | N/A | Control of unnecessary Ova and Parasite requests |
| Faecal samples: (C. Difficile) Non-diarrhoeal sample received Previous positive C. Difficile within 6 days | Sample not processed Sample not processed. Report issued with comment, This patient tested positive for C. Difficile on: (date) Please send repeat sample 6 days post initiation of therapy | N/A N/A | In accordance with National Guidelines, non-diarrhoeal samples are not tested for C. diff. toxins Duplication of work. Send repeat sample 6 days post initiation of therapy as per guidelines. |
| Faecal samples: (Norovirus) Norovirus requests received that have not been discussed with Infection Prevention and Control Sample received from a confirmed outbreak Sample received from a specific patient on a particular outbreak that has a known negative or positive result. | Sample not processed. Report issued with comment, Norovirus testing not performed. Please discuss Norovirus request with Infection Protection and Control prior to submitting samples. Sample not processed. Report issued with comment, Norovirus outbreak already confirmed in this unit. Further samples from this unit will not be processed for Norovirus detection. Sample not processed. Report issued with comment, indicating that a sample has been received that has been previously positive or indicating that a sample has been received that has been previously negative. | Samples received from ED and Assessment Units that have clinical details clearly indicating diarrhoea and vommitting. N/A Infection prevention and control may ask for a repeat of a negative result. | Control of Norovirus testing. Two positive norovirus cases obtained from a specific outbreak occurrence are required for confirmation of an outbreak. Control of Norovirus testing. |
| Faecal samples: (General) Multiple Requests / Single sample received | Report issued with appropriate comment from below Prioritise C. Difficile or Viral screen over routine culture. Sample processed for one test only. | At the discretion of Infection prevention and control or a senior scientist. | Control of unnecessary requests Mutiple requests , separate samples required Multiple requests: (One sample received), SEPARATE samples required. Multiple requests,( Two samples received) SEPARATE samples required. |
| MRSA: Screens from community (including nursing homes) Repeat MRSA screens received within 7 days MRSA: Axilla and/or groin swabs received | Such samples will not be processed. A report will be issued with the comment “Sample not processed. MRSA screens from the community will only be processed in the following circumstances: if clinical details indicate patient is for admission to hospital, if clinical details indicate screening is required as part of pre-operative assessment, or if requested by Infection Prevention and Control.” Such samples will not be processed. A report will be issued with the comment “Duplicate MRSA screen received within ‘? days.’ Please submit repeat screening swabs at weekly intervals.” Swabs not cultured. Report issued with comment, Axilla and groin swabs are not part of routine MRSA screening procedure in Sligo University Hospital. | - If clinical details indicate patient is for admission to hospital - If clinical details indicate screening is required as part of pre-operative assessment - If requested by Infection Prevention and Control N/A If the screen is for another hospital e.g. pre-op patient | Recommended by SARI Infection Prevention and Control Sub-Committee. The Control and Prevention of MRSA in Hospitals and in the Community. Ireland: Health Protection and Surveillance Centre, 2005. MRSA protocol. Axilla and groin swabs are not part of routine MRSA screening procedure in Sligo University Hospital. |
| Sputum: Salivary sample received | Sample not processed. Report issued with comment, “Salivary specimen received. Unsuitable for culture”. | ICU - Cystic Fibrosis | Incorrect sample type |
| Received one sputum sample and requested both TB and routine C&S | Either TB or routine culture is prioritised depending on clinical details. Comment added to report e.g. “One sputum sample received for routine and TB culture. Separate samples required” “Sample processed for TB Culture only.” “Sample processed for routine culture only” |  |  |
| Incorrect Swab type Incorrect swab type received e.g. viral swab for bacterial culture | Sample not processed. Report issued with comment, Incorrect swab type received. Viral swabs are unsuitable for bacterial investigation | N/A | Incorrect swab type |

IMPORTANT NOTE

Where there is uncertainty in the identification of the primary sample, and the primary sample is irreplaceable or critical e.g. cerebrospinal fluid, biopsy, blood culture, it is the policy of the Microbiology department to process the sample but not release the results until the requesting physician or person responsible for the primary sample collection takes responsibility for identifying and accepting the sample, or for providing proper information, or all these. The Declaration Form for Inadequately Labelled Samples (PATH-GEN-FRM-3) must be filled out in the laboratory before results can be reported.

## Requesting Additional Tests

Microbiology Samples: Due to the instability of bacteria over time and the processing undertaken for some samples, it is advisable that requesting additional tests on submitted samples are made as close to date of collection of sample as possible. Please phone relevant section in Laboratory with additional request. Requestor will be advised as to feasibility of carrying out additional tests requests. An additional form/specimen may be required.

Serology Samples: The time limit for testing blood samples for various antibodies / antigens is variable. If additional testing is required by the clinician on a sample previously received, please contact the Serology Laboratory to investigate the feasibility of using the initial specimen for analysis.

## Out of Hours Referral Testing- Courier Times

Urgent specimens collected overnight can no longer be transported in time to be tested at the reference laboratory the next day. Instead, specimens received after 6 pm will be transported from Sligo using our regular courier service at 10 am the following routine working morning, arriving later that afternoon and tested the day after. This will result in a 24 h delay in turnaround time for these specimens.

## Storage of Examined Samples

Table 2 Storage of Samples

| ID | Specimen Description | Storage Requirement | Storage Location | Minimum Retention Period |
| --- | --- | --- | --- | --- |
| 1 | Serum ( In house Serology tests ) Serum (Antibiotics and Referral tests) | Aliquot kept at -40oC Primary tube kept at 20C – 80C | Serology – -40oC freezer Serology Specimen Fridge | 2 years 7 days |
| 2 | Body fluids, aspirates, swabs | 20C – 80C | Microbiology Cold Room | 48 hours after release of reports |
| 3 | Urine Specimens | 20C – 80C | Microbiology Cold Room | 48 hours after release of reports |
| 4 | Faeces | 20C – 80C | Microbiology Cold Room | 48 hours after release of reports |
| 5 | CSF | Aliquot kept at -850C | Microbiology Freezer |  |
| 6 | Stained Slides: CSF and Blood Culture films | 180C – 250C for all stained slides | Microbiology Microscopy room | 7 days after release of report |

Return to Microbiology Index

Return to Table of Contents

## Microbiology/Serology tests

A comprehensive detailed list of tests available in Microbiology is outlined in List Of Microbiology Tests And Their Sample Requirements.

The list of Serology tests available are outlined in List Of Serology Tests And Their Requirements.

Each laboratory test will be described under the following headings:

- Specimen type

Where the specimen is blood and the required additive is stated as none, the requirement should be interpreted as a clotted sample.

- Sample Container

- Sample Collection/Preparation

- Volume/Quantity

- Safety Requirements

- Time Between Collection and Processing

Any special handling needs between time of collection and time received by the laboratory (transport requirements, refrigeration, warming, immediate delivery, etc.)

- Sample Quality

  - Special Requirements

The special requirements column defines for each diagnostic test if (applicable) the following:-

    - Patient preparation e.g. fasting

    - Consent form, if applicable.

    - Special timing for collection of samples.

      - Comments

Additional information is provided for the user.

## Repeat Examination due to Analytical Failure

It is the policy of the Pathology department in the event of an analytical failure to:

- Repeat the test using a backup instrument

Or

- Store the specimens in appropriate conditions until the cause of the analytical failure is identified and corrected and then repeat the test.

## Further Examination of the Primary Specimen

Where further testing is relevant to the investigation or diagnosis of the condition or symptoms which gave rise to the original test request then it is the policy of the Pathology department to pursue a diagnosis by performance of additional tests using the primary specimen.

## Antimicrobial Testing

SUH reports sensitivity testing of pathogens as

S= Susceptible i.e. this antibiotic is expected to be effective for treatment in this patient.

R= Resistant i.e. this antibiotic is NOT expected to be effective for treatment in this patient.

I = Intermediate i.e. this antibiotic can be effective under certain circumstances. Look for Consultant Microbiologist advice.

## Tests not Listed

If you require a diagnostic test that is not listed please contact the SUH Microbiology laboratory.

Return to Microbiology Index

Return to Table of Contents

## Medical indications and Microbiology test requesting guide

## Suspected bacteraemia, Systemic Inflammatory Response Syndrome (SIRS), Sepsis, Septic Shock

### Blood cultures:

For optimum sensitivity, two sets of blood cultures should be collected from separate sites within a 24 h period. These should be taken at least 20 min apart.  For patients with suspected endocarditis, three sets should be collected.

### Swabs:

Look for a focus of infection and culture those sites appropriate to a suspected focus.

### Skin Scrapings:

The sensitivity of this test however is at best 50%, so a NEGATIVE test does NOT exclude disease.

## CNS infections

### Blood cultures:

Blood cultures should be collected from all patients with suspected meningitis.

### CSF:

CSF should be collected from all adult patients with suspected meningitis except when a clear contraindication exists (e.g. signs of raised intra-cranial pressure, focal neurological signs, severe shock, severely depressed or fluctuating conscious level, coagulation disorder). Note antimicrobials should NOT be withheld pending a lumbar puncture.

### Meningococcal and/or Pneumococcal PCR:

Send 5 ml EDTA blood for meningococcal and/or Pneumococcal PCR.

### Paired sera:

Paired sera (two specimens taken 10-14 days apart) may be useful for a retrospective diagnosis of meningococcal disease.

## Respiratory tract infection

### Tonsillopharyngitis

Throat swab:

Please contact the laboratory if diphtheria or pertussis is suspected.

### Sinusitis

Using a syringe aspiration technique, a specially trained physician or an ENT surgeon can obtain material from maxillary, frontal, or other sinuses.   Place the contents of the syringe into a sterile universal container.

### Otitis media

Send ear swab to the laboratory.

### Whooping cough

Nasopharyngeal swab:

Please discuss with laboratory medical staff.

## Bronchitis

### Sputum:

A good quality purulent or mucopurulent sputum specimen should be obtained, preferably before antimicrobial therapy.

## Pneumonia

It is not necessary to perform a full range of microbiological investigations on all patients with community-acquired pneumonia. The extent of investigation should be determined by the severity and clinical course.  Specimens that should/may be sent include:

### Blood cultures:

Blood cultures should be obtained from all patients with moderate to severe Community-Acquired pneumonia (CAP).

### Sputum:

A good quality purulent or mucopurulent sputum specimen should be obtained from patients ill enough to require hospital admission or those being treated in the community and not responding to initial antibiotic therapy. Sputum should preferably be collected before antimicrobial therapy although antimicrobial therapy should not be delayed unnecessarily while awaiting a sputum specimen.  The specimen should be transported to the laboratory within 2h.  Salivary or mucosalivary specimens are unsuitable and are not processed.

### Legionella Urinary Antigen:

Urine for Legionella antigen should be obtained from all patients with severe CAP and particular patients with specific risk factors.

### Pleural fluid:

If a pleural effusion is present, consider aspiration into a sterile universal container at an early stage.

Bronchoscopic samples may also be required, especially among immunocompromised patients.

Pneumocystis jiroveci: diagnosis of Pneumocystis is carried out on bronchoscopic or induced sputum samples.

Paired sera for legionella should be obtained for all patients who do not respond to β-lactam antibiotics and particular patients with specific risk factors.

## Gastrointestinal tract infection

Gastroenteritis

Please note that this laboratory employs a cost-effective approach to the diagnosis of infectious diarrhoea.  Not all specimens are examined for every pathogen.  It is therefore important that clinical details or suspected diagnoses are included on the request form. Information that is of use when processing specimens includes: travel history, relationship to a particular food, prolonged diarrhoea, antibiotic use, suspected outbreak.

### Routine culture requests   on stool samples from patients who have been in hospital for 3 days or less are examined  for:

- Salmonella spp

- Shigella spp

- E.coli O157

- Campylobacter spp

- Oocysts of Cryptosporidium spp

- Adenovirus and Rotavirus from all patients up to 5 years of age and over 60 years of age.

### Additional Requests

- Other pathogens e.g. Yersinia spp Vibrio spp, Aeromonas spp, ova and parasites etc. are only examined if the clinical details suggest that their presence is a possibility.

- Clostridium difficile toxin detection is performed upon request.

- Please note the possibility of Norovirus infection and state whether vomiting is a feature or whether an outbreak is suspected.  Norovirus testing will be performed if requested upon consultation with Infection Prevention and Control.

Please send a blood culture if typhoid fever is suspected.

When to send a stool specimen: Send a stool specimen to the laboratory when there are ≥3 liquid or very loose stools per day.  There may be other symptoms suggestive of infectious diarrhoea e.g. abdominal pain or discomfort, nausea, faecal urgency, tenesmus, fever, blood or mucus in stools. Within the hospital specimens must be sent to the laboratory immediately. In General Practice, please refrigerate if there is to be a delay in transporting the specimen.

How many samples to send: One stool specimen is normally all that is required for culture. As microscopy for parasites is less sensitive, please send 3 specimens (but no more than 3) on different days as some parasites are excreted intermittently.  If a worm is excreted, please send the worm and faeces sample.

Please submit multiple separate faeces samples if multiple tests are requested e.g.Culture & C.Diff & Norovirus.

How much to send:  Please fill the specimen container to between ¼ and ½ full. Please do not fill to the brim.

### Anal swabs:

Anal swabs are collected primarily for the detection of carriage of Vancomycin-Resistant Enterococci (VRE) or for culture for Neisseria gonorrhoeae.  Insert swab about 2 cm into anal cavity, rotate and send specimen to laboratory.

## Bone and joint infection

## Osteomyelitis

### Blood culture:

Blood cultures should be performed an all patients with suspected osteomyelitis, preferably before antibiotics are started.

### Bone biopsy:

A biopsy of bone is the preferred specimen for the establishment of a diagnosis of osteomyelitis and the causative agent. The biopsy should be placed in a sterile universal container with saline and transported to the laboratory as quickly as possible.  It is also preferable to send multiple specimens (3 or 4) especially in cases of infection associated with a prosthetic device as this makes interpretation easier if a skin organism is recovered.  Consider requesting mycobacterial culture from high-risk groups.

### Septic arthritis

Blood cultures:

Blood cultures should be performed an all patients with septic arthritis, preferably before antibiotics are started.

Joint aspirate:

A joint aspirate obtained using an aseptic technique should be submitted in a sterile universal container from all patients with septic arthritis.

### Polyarticular arthritis

Send blood cultures and joint aspirate.  Consider sending serum for Lyme disease antibodies.  Viral causes also include Parvovirus and Rubella.  See MEDICAL INDICATIONS AND SEROLOGY TEST REQUESTING GUIDE for appropriate serology specimens to take.

### Chronic septic arthritis

Consider requesting serum for antibodies to Brucella, culture of joint aspirate for mycobacteria and fungi.

### Reactive arthritis

Faeces culture may be requested for Salmonella spp, Shigella spp, Campylobacter spp and Yersinia spp.

Send a serum specimen and request antibodies to Campylobacter and Yersinia. In rheumatic fever, send a throat swab and serum for ASO titre.

If a sexually transmitted aetiology is suspected then urethral, cervical or rectal swabs may be taken for gonococcal or chlamydial detection.

## Urinary Tract Infections

When should you send a sample of urine:

It is probably reasonable to treat a young sexually active female with symptoms of simple cystitis empirically but a urine specimen should be sent for microbiological examination from all other cases.  In severe or complicated UTI, a follow-up specimen should be taken 5 days post completion of antibiotic therapy.  Persistence of bacteriuria implies a structural abnormality.

A specimen should be sent from patients with symptoms as asymptomatic bacteriuria is generally not a cause for concern except in pregnant women and patients undergoing surgery on the genito-urinary tract. The role of asymptomatic bacteriuria in children is controversial.

The same applies to patients with in-dwelling urinary catheters.  Bacteriuria occurs in the vast majority of patients who are catheterised for more than 5 days, a urine specimen should only be sent if there are symptoms or signs suggestive of a systemic infection.

What type of specimen should you send?

Send a mid-stream specimen of urine (MSU) where possible.

Patients should be instructed to pass a little urine into the toilet first, then pass enough urine into the BD Urine Blue topped Cup to half fill it and finish urinating into the toilet.  Never obtain urine from a bedpan or commode.  Draw about 10 ml of urine into a sterile BD Urine vacutainer tube, and transport to the laboratory without delay.  Specimens should be processed within 4 h.  In General Practice if transport to the laboratory has to be delayed, the specimen can be stored at 4°C for up to 24 h.

A clean catch urine may also be obtained if the patient cannot co-operate.

A catheter specimen of urine (CSU) may also be sent to the laboratory.  Urine should be obtained from an already catheterised patient by a syringe and needle from the catheter before it enters the collection bag.  Clean the access point with a swab saturated with 70% isopropyl alcohol, and allow time to dry. Using a sterile syringe and needle (if necessary), aspirate the required amount of urine from the access point.  Re-clean access point with a swab saturated with 70% isopropyl alcohol.

## Skin and superficial wound swabs

Note that routine sampling of skin lesions that do not appear clinically infected should generally not be performed.  If there is a clinically infected lesion, please send a sample of pus in a universal container wherever possible.  Pus is always preferable to a swab.  If there is insufficient specimen, then use a swab, sample the infected area and send to the laboratory.

## Deep-seated wounds/abscesses/ post-operative wound infection

Please send a sample of pus in a universal container wherever possible. Pus is always preferable to a swab.  If there is insufficient specimen, then use a swab, sample the infected area and send to the laboratory. Clean the surface of the wound with sterile saline or water before taking the swab.

## Mycobacterial Infection

The diagnosis of mycobacterial infection requires special staining and culture techniques. These investigations are currently performed in the microbiology laboratory at University Hospital Galway.  Please ensure that you request TB culture on the request form and attach a danger of infection label.

If standard bacteriological culture and sensitivities are required in addition to mycobacterial investigation, a separate specimen is necessary.

Suitable specimens:

- Good quality early morning Sputum x 3

- Specimens obtained at Bronchoscopy

- Pus

- CSF, Pleural, Peritoneal, Joint and other Sterile Fluids

- Tissue

- Lymph node biopsy

- Pus aspirated from lymph nodes

- Pleural biopsy

- Surgical sample for routine culture

- Radiological sample for routine culture

- Histology sample where non-respiratory TB is a possibility

- Aspiration sample where non-respiratoryTB is a possibility

- Bone

- Gastric aspiration

- Blood

- Bone marrow

Unsuitable specimens:

Urine, Specimens of urine for Mycobacteria culture are no longer processed routinely in this laboratory because the yield of positives is negligible and the semi automated culture system is not validated for urine samples. If it is necessary to consider an exception, please contact the medical staff of the Dept of Microbiology,UHG. at 091 542477. The specimen will be stored for 10 days

## Fungal nail and skin infections

Affected areas should be scraped with a blunt scalpel to harvest affected hairs, broken-off hair stubs and scalp scale. This is preferable to plucking, which may remove uninvolved hairs. Scrapings should be transported in a folded square of paper preferably fastened with a paper clip, but commercial packs are also available (e.g. ‘Mycotrans’). It is easier to see affected hairs on white paper rather than black.

Return to Microbiology Index

Return to Table of Contents

## Medical indications and Serology test requesting guide

For a serological diagnosis, acute (as early as possible in the illness) and convalescent sera (10-14 weeks after onset) may need to be taken for for demonstrating seroconversion or rising titres.

Virus specific Ig M tests may be done on a single specimen of serum for the diagnosis of acute infections for example Hepatitis A. IgM is usually positive 5 days post onset.

N.B. A general request for “Viral screen” or “routine virology” or “atypical screen” can NOT be processed without accompanying clinical information.

The following “Requesting Guide” may assist in identifying possible viruses/agents involved.

* 	These specimens/ samples are referred to external laboratory for testing

(PTWIP) Phoned to ward if positive and/ or significant

**	NOTE:	 If sample needs to be sent to referral Lab for supplemental/ confirmatory testing Turnaround Time will be longer. Days are expressed as Calendar days.

| Provisional Diagnosis/ Symptoms | Tests to be ordered | Specimen Type |
| --- | --- | --- |
|  | Possible Virus/ Agent/ Disease |  |
| Respiratory Infection URTI and LRTI | Mycoplasma pneumoniae Coxiella burnetti (Q fever) Chlamydia Group | Serum/ Clotted Blood |
|  | Legionella pneumophilia (Urinary Antigen) | Urine |
|  | Influenza A** Influenza B** | Throat swab in viral transport media |
|  | Respiratory Syncital virus (RSV)* Parainfluenza* Adenovirus* | Nasopharyngeal Aspirate (NPA) or sputum |
| Arthralgia | Rubella virus* Parvovirus B19* Mycoplasma pneumoniae Brucella* Borrelia burgdorferi *(Lyme Disease) (if clinically suspected) | Serum/ Clotted Blood |
| Exanthem (Skin Rash) | Measles virus* Rubella virus* Parovirus B19* Antistreptolysin Titre (ASO) Borrelia burgdorferi *(Lyme Disease) (if clinically suspected) HIV(if risk factors) Hepatitis B (if risk factors) Dengue *(if risk factors) | Serum/ Clotted Blood Saliva Oral Fluid for Measles only |
|  | Herpes Simplex Virus* (HSV) Varicella Zoster Virus (VZV) | Vesicle Fluid/ Scrapings on Slide |
|  | Enterovirus* | Stool/ Viral Throat Swab |
| Central Nervous System | Mumps virus* | Serum/ Clotted Blood |
|  | Measles virus* | Serum/ Clotted Blood Nasopharyngeal Aspirate CSG |
|  | Herpes Simplex virus* (HSV) Varicella Zoster virus* (VZV) | Serum/ Clotted Blood or CSF |
|  | Enterovirus* | CSF/ Stool/ Viral Throat Swab/ Pleural Fluid |
|  | Dengue* (if risk factors) West Nile Virus* (if risk factors) | Serum/ Clotted Blood |
| Hepatitis | Hepatitis A, B, C, D & E Viruses Cytomegalovirus *(CMV) Epstein-Barr Virus* | Serum/ Clotted Blood |
| Genital infection | Herpes Simplex virus *(HSV) | Viral swab |
|  | Chlamydia trachomatis* | Urine Male uretheral swab Endocervical swab Eye swab |
|  | Syphilis** (Treponema pallidum) | Serum/ Clotted Blood |
| Diarrhoea/Vomiting | Rotavirus Adenovirus Astrovirus* Calicivirus* Norovirus (small round structured virus) | Stool |
| Intra-Uterine Infection | Toxoplasma gondi* Cytomegalovirus* Rubella virus* Parvovirus B19* Varicella Zoster Virus* (VZV) | Serum/ Clotted Blood |
| Organ donors | Hepatitis B & C viruses Human Immunodeficiency Virus (HIV) Cytomegalovirus* (CMV) Toxoplasma gondii * Human T-Lymphotropic Virus* (HTLV) Syphilis (Treponema pallidum) | Serum/ Clotted Blood |
| Pleurodynia | Coxsackie Group B viruses* | Stool/ Viral Throat Swab or Pleural Fluid |
| Pericarditis/ Myocarditis | Coxsackie Group B viruses* | Stool/ Viral Throat Swab or Pleural Fluid |
|  | Coxiella burnetii *(Q Fever) Chlamydia Group* Mycoplasma pneumoniae* | Serum/ Clotted Blood |
| Lymphadenopathy & Glandular fever | Monospot Epstein Barr virus* (EBV) Cytomegalovirus *(CMV) Toxoplasma gondii* | Serum/ Clotted Blood |
| Paraparesis | Human T-Lymphotropic Virus* (HTLV) | Serum/ Clotted Blood |
|  | Enterovirus* (Coxsackie Echo) | Stool |
| Conjunctivitis | Adenovirus* Herpes Simplex Virus* (HSV) Enterovirus* (Coxsackie Echo) | Eye swab in viral transport media |
|  | Chlamydia trachomatis* | Eye swab in chlamydia transport media |
| Stomatitis | Herpes Simplex Virus *(HSV) Enterovirus *(Coxsackie Echo) | Swab in viral transport media Serum/ Clotted Blood Stool/ Throat Swab |
| Hand, Foot and Mouth Disease | Coxsackie A16 Virus* | Stool |
| Immune Status | Hepatitis A & B virus Varicella Zoster virus *(VZV) Rubella virus Mumps virus * Measles virus * Parvovirus* | Serum/ Clotted Blood |

Return to Microbiology Index

Return to Table of Contents

## List of Microbiology tests and their Sample requirements

* 	These specimens/ samples are referred to external laboratory for testing

(PTWIP) Phoned to ward if positive and/ or significant

**	NOTE:	 If sample needs to be sent to referral Lab for supplemental/ confirmatory testing Turnaround Time will be longer. Days are expressed as Calendar days.

## Abscess culture

| Specimen Type | Pus is always preferable to a swab. If insufficient send a ‘Blue top’ swab well soaked in pus. |
| --- | --- |
| Sample Container | Sterile universal container. Blue amies agar transport swab. |
| Sample Collection/ Preparation | The optimal time of collection is before antimicrobial therapy where possible. Aspirate Pus and transfer into sterile universal container. A closed abscess should be aspirated with a needle and syringe after sterilizing skin with iodine, chlorhexidine preparation or isopropyl alcohol wipes. If Swabs are used: - Remove surface exudate if present by wiping an open abscess with sterile saline or 70% alcohol. - Sample the deepest part of an open abscess trying to avoid the superficial microflora. Sample must be acquired using aseptic technique. Sampling of skin surface area can introduce colonizing bacteria not involved in the infectious process. |
| Volume/Quantity | A minimum volume of 1ml of pus is required. One specimen is sufficient in the case of all swabs. |
| Safety Requirements | Ensure the swab is returned fully to the transport medium case and correctly closed. Place in a sealed plastic specimen bag with request form in the pouch, ready for transport to the laboratory. Ensure sterile universal containers are leak-proof and closed correctly. Place in a sealed plastic specimen bag with request form in the pouch, ready for transport to the laboratory. |
| Time Between Collection and Processing | Specimen should arrive in the laboratory within 24hrs of collection. If delivery to the laboratory is delayed, specimens should be refrigerated. |
| Sample Quality | The volume of the specimen influences the transport time that is acceptable. Larger volumes of purulent material maintain the viability of anaerobes for a longer period of time. The recovery of anaerobes is compromised if the transport time exceeds 3 hours. |
| Special Requirements | N/A |
| Turnaround Times | 2-5 Days |
| Comments | - Ideally all samples are processed as soon as possible as the recovery rate of anaerobes is compromised if the transport time exceeds 3 hours due to their susceptibility to air. The volume of specimen influences the transport time that is acceptable. Large volumes of purulent material maintain the viability of anaerobes for longer. - The following specimens when processed receive extended anaerobic culture (5 days). - Specimens with clinical details suggestive of gas gangrene, tetanus, wound botulism and/or Lemiere's Disease/Necrobacillosis - Samples of genuine pus. - Swabs and tissue from severe deep-seated infection. - Fluids/swabs from abscesses of the brain, liver, lung, kidney/psoas abscess, pelvis, pancreas, spine or tonsils. - Bronchial or lung biopsies. - Aspirates from a tubo-ovarian abscess/pelvic abscess and a dental abscess - Pelvic Inflammatory Disease specimens - Any specimen with a specific request for anaerobic culture. - Abscesses are accumulations of pus in the tissues. Any organism isolated may be significant. Abscesses occur in many parts of the body as superficial infections or as deep-seated infections associated with any internal organ. The location of an abscess often determines the flora likely to be isolated. - Recurrent staphylococcal furunculosis is highly infectious and may be the first sign of an underlying disease such as diabetes mellitus. - Aspiration of dental abscesses is necessary to obtain samples containing the likely causative organisms. Swabs are likely to be contaminated with superficial commensal flora. |

Main_Contents

## Acanthamoeba PCR *

| Specimen Type | 1. Corneal Scrapings in sterile universal container. or 2. Aqueous tap of ocular fluid in sterile universal container. 3. Material from the eye sent to the lab on a dry swab in a sterile universal container |
| --- | --- |
| Sample Container | Sterile universal container. |
| Sample collection/ preparation | Corneal scrapings and intraocular fluids will be collected by an ophthalmic surgeon: sterile needles may be used to aspirate or scrape material, and sterile scalpel blades to scrape material. |
| Volume/Quantity | As much corneal scraping as possible. A minimum volume of 1ml is required for intraocular fluids and pus exudates. |
| Safety Requirements | Ensure sterile universal containers are leak-proof and closed correctly. Place in a sealed plastic specimen bag with request form in the pouch, ready for transport to the laboratory. Ensure contact lens containers are leak-proof and closed correctly. Place in a sealed plastic specimen bag with request form in the pouch, ready for transport to the laboratory. |
| Time Between Collection and Processing | Transport as soon as possible, hold at ambient temperature. |
| Sample Quality | N/A |
| Special Requirements | N/A |
| Turnaround Times | 1 Month |
| Comments | - Referred to external laboratory for PCR. |

## Bartholins cyst fluid

| Specimen Type | Bartholins cyst fluid |
| --- | --- |
| Sample Container | Sterile universal container |
| Sample collection/ preparation | 1. Disinfect skin with chlorhexidine preparation. 2. Using a sterile needle and syringe, aspirate fluid from ducts. 3. Transfer sample into sterile universal container. |
| Volume/Quantity | 5 ml volume (minimum >1ml) |
| Safety Requirements | Do not submit sample in needle and syringe. |
| Time Between Collection and Processing | Transfer to the laboratory as quickly as possible, preferably within a few hours of the sample been taken. If delivery to the laboratory is delayed, specimens should be refrigerated. |
| Sample Quality | The volume of the specimen influences the transport time that is acceptable. Larger volumes of purulent material maintain the viability of anaerobes for a longer period of time. The recovery of anaerobes is compromised if the transport time exceeds 3 hours. |
| Special Requirements | N/A |
| Turnaround Times | 2-4 Days |
| Comments |  |

Main_Contents

## Biopsy, Tissue, Bone and Prosthetic Devices

| Specimen Type | Biopsy, Tissue, Bone and Prosthetic Devices |
| --- | --- |
| Sample Container | Sterile universal container (Do not add formaldehyde, as this will kill any bacteria present) |
| Sample collection/ preparation | The optimal time of collection is before antimicrobial therapy where possible. Specimens are collected according to local practice. If sterile saline is used to keep small quantities of tissue moist please indicate on label any additive e.g. 5mls sterile saline. |
| Volume/Quantity | As large a sample as possible should be sent. |
| Safety Requirements | Ensure sterile universal containers are leak-proof and closed correctly. Place in a sealed plastic specimen bag with request form in the pouch, ready for transport to the laboratory. |
| Time Between Collection and Processing | Specimen should arrive in the laboratory as soon as possible after collection. Tissue samples must not dry out; if sample size is small then some drops of sterile saline may be added but this must be indicated on the specimen container. If a delay in transport or processing is anticipated, the specimen should be refrigerated. |
| Sample Quality | Tissue Samples for Microbiology received in formalin will not be processed. |
| Special Requirements | N/A |
| Turnaround Times | 2-4 Days |
| Comments | - Tissue samples for Enterovirus PCR can be done by prior arrangement with the NVRL. SUH microbiology laboratory must be contacted when considering such requests. |

Main_Contents

## Blood Cultures

| Specimen Type | Venous blood is appropriate for most micro-organisms, however, if disseminated fungal infection is suspected than arterial blood may be submitted. |  |  |
| --- | --- | --- | --- |
| Sample Container | Paediatric/Neonate | Adult Set |  |
|  | A single paediatric (Bactec Peds Plus) PINK top bottle. | One Aerobic bottle (BACTEC Plus Aerobic) (Grey top) | One Anaerobic bottle (Bactec Lytic Anaerobic) (Purple top) |
| Sample collection/ preparation | The optimal time of collection is before antimicrobial therapy and as soon as possible after a spike of fever, except in endocarditis where timing is less important. It is essential that great care is taken in the collection of blood for culture to ensure no contaminant is introduced that may be misinterpreted as a significant isolate. Blood for culture should preferably be taken separately; however, if this is not possible or practical, then the blood culture bottles MUST be inoculated BEFORE drawn blood is used to fill any EDTA, Lithium Heparin, or other containers. For optimum sensitivity, 2 sets of blood cultures should be collected from separate sites. These should be taken at least ≥ 6 hours apart, or if the patient is extremely ill 20-30 minutes apart. Take at least three sets during a 24hr period where the patient has suspected infective endocarditis. 1. Wash and dry hands thoroughly. Carefully remove plastic flip cap from each blood culture bottle and avoid touching the rubber septum. Disinfect the septum with a single wrapped alcohol wipe and allow to air dry. 2. Select a suitable venepuncture site. Disinfect the skin at the venepuncture site for 1-2 minutes with a single wrapped alcohol wipe, e.g. Alco wipes (Mediswabs are unsuitable). Allow time for the skin to dry, this will take a few moments and is the process that disinfects the skin. Avoid touching the venepuncture site after disinfection. 3. Apply clean tourniquet . 4. To comply with standard precautions, it is recommended to wear disposable gloves during venepuncture. 5. Insert needle or collection device. 6. Withdraw required quantity of blood. Release tourniquet and withdraw needle and syringe. Changing needles between venepuncture and inoculation of the bottles is not recommended as this carries the risk of needlestick injury. 7. Inoculate blood into each bottle through the rubber septum. Mix gently by swirling bottles. 8. Discard sharps and/or all collection equipment into a sharps bin. Remove gloves and decontaminate hands. • For the diagnosis of bacteraemia withdraw blood from a peripheral vein and divide the sample equally among blood culture bottles. If a central line is present, withdraw blood also from the central line following the recommendations in hospital’s Guidelines for Preventing Central Vascular Catheter Related Infection. • Label bottles with patient name and hospital number or use hospital addressograph label. DO NOT COVER THE BOTTLE BARCODE. THIS IS FOR LABORATORY USE. • State on bottles and form if blood is from a peripheral vein or a central line. Complete laboratory request form giving a brief relevant history including antibiotic therapy. Complete Microbiology Specimen Request Form (Green), or On-call request form (Red) to ensure compliance with the Patient Specimen and Request Form Identification Criteria. Please supply relevant clinical and antibiotic therapy details. Send bottles and request form to the laboratory for immediate incubation |  |  |
| Volume/Quantity | Paediatric/Neonate 0.5 - 5.0 mls of blood in paediatric bottle (Bactec Peds Plus). Adult 8-10 mls of blood in each bottle (Bactec Plus Aerobic / Bactec Lytic Anaerobic). Endocarditis Three sets (Aerobic and Anaerobic) of blood cultures should be taken from separate venepuncture sites. |  |  |
| Safety Requirements | Standard precautions should be adhered to when collecting blood or biological material. Inspect the blood culture bottles for damage or defect before use and that they have not exceeded their expiry date. Gloves should be worn at collection. Do not re-sheath needles. |  |  |
| Time Between Collection and Processing | Blood cultures should be transported to the laboratory as soon as possible after collection, for incubation / loading to the BacT Alert 3D system within 4 hours. Where there is a delay in transport to the laboratory or loading onto the blood culture System, blood cultures should be incubated at 36±1°C as soon as possible after inoculation and MUST NOT be refrigerated. Pending transportation, store at room temperature. |  |  |
| Sample Quality | N/A |  |  |
| Special Requirements | N/A |  |  |
| Turnaround Times | - Most significant pathogens will be detected within 24-48 hrs; however blood cultures are routinely incubated for 5 days with the exception of endocarditis investigations where incubation is extended to 21 days. - Positive blood cultures are notified to the ward staff involved immediately on detection by the microbiology/on call staff therefore there is no need for ward staff to contact the Microbiology laboratory to determine if a blood culture is positive. |  |  |
| Comments | - Most organisms will be detected within 24-48 hrs and normally blood cultures will be incubated for 5 days but this time may be extended to 21 days in some cases e.g. endocarditis. - Positive blood cultures are notified to the ward involved immediately on detection by the microbiology/on call staff therefore there is no need for ward staff to contact the Microbiology laboratory to determine if a blood culture is positive. - Blood should NOT be taken through an intravenous catheter or other access device unless no other access is available. An exception to this is the investigation of suspected intravenous catheter related infections, when blood should be sampled from all catheter ports AND from a peripheral vein. - Bottle adaptors must be used with butterfly collections. |  |  |

## Bronchoalveolar Lavage/ Bronchial Washings/ Antral Washout

| Specimen Type | Bronchoalveolar Lavage (BAL)/ Bronchial Washings/ Antral Washout |
| --- | --- |
| Sample Container | Sterile universal container |
| Sample collection/ preparation | The optimal time of collection is before antimicrobial therapy where possible. Avoid contaminating bronchoscope with tap water, which may contain environmental Mycobacterium species. Collect specimen according to local practice. Complete the Microbiology Specimen Request Form (green), and specimen container fully to ensure compliance with the Patient Specimen and Request Form Identification Criteria. Please supply relevant clinical and antibiotic therapy details. |
| Volume/Quantity | Ideally the minimum sample size is 5 ml. |
| Safety Requirements | Ensure sterile universal containers are leak-proof and closed correctly. Place in a sealed plastic specimen bag with request form in the pouch, ready for transport to the laboratory. |
| Time Between Collection and Processing | Specimens should be transported to the laboratory as soon as possible. If a delay in transport or processing is anticipated, the specimen should be kept at 4ºC. |
| Sample Quality | Care should be taken to avoid contamination of sample by upper respiratory tract flora. |
| Special Requirements | N/A |
| Turnaround Times | 2-4 Days |
| Comments | Broncho Alveolar Lavage (BAL’s) are routinely cultured for bacterial pathogens as well as for Mycobacteria and are referred if indicated for CMV, other viruses and Pneumocystis jiroveci (carinii) investigations. |

Main_Contents

## Catheter Tips (intravenous or intra-arterial)

| Specimen Type | CVP or Hickman lines, Central/arterial/portacath/venous tips, Cannula tips. |
| --- | --- |
| Sample Container | Sterile universal container |
| Sample collection/ preparation | 1. Disinfect the skin around the cannula entry site according to local protocol. 2. Aseptically remove catheter and clip the 4 cm distal tip of the catheter into a sterile universal container using a sterile scissors. |
| Volume/Quantity | Distal 4 cms of tip (cut with a sterile scissors) |
| Safety Requirements | Ensure sterile universal containers are leak-proof and closed correctly. Place in a sealed plastic specimen bag with request form in the pouch, ready for transport to the laboratory. |
| Time Between Collection and Processing | Transport as soon as possible to prevent drying, store at 2-8oC |
| Sample Quality | N/A |
| Special Requirements | N/A |
| Turnaround Times | 2-5 Days |
| Comments | The culture of Foley (urinary) catheter tips is not clinically useful and they will therefore be rejected. Only send tips from lines that are suspected to be infected (4 cm of tip) |

## Cerebrospinal fluid (CSF)**

| Specimen Type | CSF (Blood cultures should also be collected from all patients with suspected meningitis) |
| --- | --- |
| Sample Container | THREE sequentially labelled sterile universal containers. A minimum of one additional sample if requesting Viral studies or any additional tests. |
| Sample collection/ preparation | 1. Sample must be acquired using aseptic technique. 2. Follow protocols outlined by the health care facility for this sample type. 3. Collect CSF sequentially into three or more separate sterile universal containers, which should be numbered consecutively 1, 2, and 3. |
| Volume/Quantity | Ideally, a minimum volume of 1ml. CSF is normally collected sequentially into three separate containers numbered 1, 2 and 3. All specimens should be submitted to the Microbiology department. |
| Safety Requirements | Ensure sterile universal containers are leak-proof and closed correctly. Place in a sealed plastic specimen bag with request form in the pouch, ready for transport to the laboratory. |
| Time Between Collection and Processing | Specimens should be transported to the laboratory for processing as soon as possible. Do not refrigerate the specimen. |
| Sample Quality | Cells in CSF disintegrate and any undue delay may produce a cell count that does not reflect the clinical situation of the patient. |
| Special Requirements | Treat all CSF specimens as urgent and transport to the laboratory immediately. Do not refrigerate the specimen. Do not send CSF samples in the pneumatic tube system (PTS). |
| Turnaround Times | Microscopy: 2 hours Culture: 2-4 Days |
| Comments | Reference Ranges: AGE; WBC/uL. 0-28 days old; 0 - 30. 29-56 days old; 0 - 20. 57 days-16 years old; 0 - 10. 16 yrs and older; 0 - 5. AGE; RBC/uL. <=6 days old; 0 - 675. >6 days old; 0 - 10. Meningitis: - CSF should be collected from all adult patients with suspected meningitis except when a clear contraindication exists (e.g. signs of raised intra-cranial pressure, focal neurological signs, severe shock, severely depressed or fluctuating conscious level, coagulation disorder) or if there is a confident clinical diagnosis of meningococcal infection with a typical rash. - Blood cultures should be collected from all patients with suspected meningitis - Send EDTA blood sample for PCR for meningococcus if this is suspected. - Do not submit samples for microbiological investigation on ice. - Indicate antimicrobial therapy or antifungal therapy on ordering requisition. Note: Antimicrobials should NOT be withheld pending a lumbar puncture. Viral Studies: - Samples being submitted for viral cultures only should be held/stored at 4oC. - Isolation of an enterovirus (Coxsackie virus, Echovirus) from the CSF is most productive within 2-3 days after onset of the CNS manifestations. - If viral meningitis or encephalitis is suspected it is advisable to collect faeces and a viral throat swab in addition to CSF. This would increase the possibility of detecting the aetiological agent. The uncertainty associated with CSF cell counts, is available to service users if required, and is available on the Q Pulse system. This record is PATH-MICRO-REC-167. |

Main_Contents

## Corneal Scrapings

| Specimen Type | Corneal Scrapings. |
| --- | --- |
| Sample Container | Direct culture at bedside using blood agar, chocolate agar and saboraud agar for fungal culture is the preferred option. Slides of sample should also be prepared. Contact microbiology to receive ‘Corneal scrapings culture pack’. Sterile Universal Container. |
| Sample collection/ preparation | Use a sterile needle to scrape material from the cornea. Collect material into a sterile universal container or inoculate the material directly onto the agar plates. The scrapings should be inoculated onto the surface of the agar plates only and not into the agar. Follow the written procedure received with the ‘Corneal scrapings culture pack’. Prepare a smear by sandwiching the remainder of the material between two clean glass microscope slides. Write patient name on correct slide face. If Amoebic Keratitis is suspected then Acantamoeba PCR should be considered. |
| Volume/Quantity | Corneal scrapings should be of sufficient quantity to make two smears and to inoculate culture plates. If there is insufficient specimen, culture takes priority. |
| Safety Requirements | Ensure that agar plates inoculated with corneal scrapings are sealed and labelled. Ensure the smears are placed in a slide holder. Place the agar plates and smears in a sealed plastic specimen bag with request form in the pouch, ready for transport to the laboratory. Ensure sterile universal containers are leak-proof and closed correctly. Place in a sealed plastic specimen bag with request form in the pouch, ready for transport to the laboratory. |
| Time Between Collection and Processing | Specimen should be sent to the laboratory immediately. If processing is delayed, store at 2-8°C and dispatch to lab as soon as possible. |
| Sample Quality | N/A |
| Special Requirements | If specimens for the investigation of Acanthamoeba sp. cannot be processed within 8 hours, it is preferable to store them at room temperature. |
| Turnaround Times | 7-9 Days |
| Comments |  |

Main_Contents

## Eye Swabs

| Specimen Type | Eye swab - any available pus is sampled as well as the lesion of interest. |
| --- | --- |
| Sample Container | Blue amies agar transport swab. |
| Sample collection/ preparation | Retract the lower eyelid and stroke the tarsal conjunctiva with a transport swab and remove all purulent material. |
| Volume/Quantity | One specimen is sufficient in the case of all swabs. |
| Safety Requirements | Ensure the swab is returned fully to the transport medium case and correctly closed. Place in a sealed plastic specimen bag with request form in the pouch, ready for transport to the laboratory. |
| Time Between Collection and Processing | Specimen should arrive in the laboratory within 24hrs of collection. If processing is delayed, store at 2-8°C and dispatch to lab as soon as possible. |
| Sample Quality | N/A |
| Special Requirements | N/A |
| Turnaround Times | 2-5 Days |
| Comments | Indicate antimicrobial therapy on ordering requisition. Separate swabs in appropriate transport media are needed for the diagnosis of viral and Chlamydia infections. If Chlamydia infection is suspected, please contact Serology laboratory beforehand to obtain chlamydial transport swab. Break the swab into this medium and replace top. |

Main_Contents

## Faeces

### Faeces - Routine

| Specimen Type | Faeces – Routine culture (Salmonella, Shigella, Campylobacter and E. coli O157:H7); Adenovirus/Rotavirus* & Cryptosporidium. Faecal Occult Blood (FOB). |
| --- | --- |
| Sample Container | Sterile Universal Container. |
| Sample collection/ preparation | Collect specimen as soon as possible after onset of symptoms. Specimen may be passed into a clean, dry, disposable bedpan or similar container and transferred into a sterile container (see above) using the spoon. The specimen is unsatisfactory if there remains any residual soap, detergent or disinfectant in the pan. |
| Volume/Quantity | 1-2g (spoonful) is sufficient. If more than one specimen is received on the same day, only one specimen per patient per day will be processed.Please submit multiple separate faeces samples if multiple tests are requested e.g.Culture & C.Diff & Norovirus |
| Safety Requirements | Please do not fill to the brim. Ensure that the lid of the container is firmly closed. Ensure sterile universal containers are leak-proof and closed correctly. Place in a sealed plastic specimen bag with request form in the pouch, ready for transport to the laboratory. |
| Time Between Collection and Processing | Stool specimens should arrive in the laboratory as soon as possible. If a delay is unavoidable, specimen should be refrigerated in a designated refrigerator or in a designated part of a refrigerator not close to medicines or food. New Molecular testing methods allow the issuing of negative reports on the same working day. Samples must be received in the microbiology laboratory by 9.30 am in order to be processed on the same day. |
| Sample Quality | Testing will only be performed on diarrhoeal stool. The stool specimen must take the shape of the container. |
| Special Requirements | When to send a stool specimen: Send a stool specimen to the laboratory when there are ≥3 liquid or very loose stools per day. There may be other symptoms suggestive of infectious diarrhoea e.g. abdominal pain or discomfort, nausea, faecal urgency, tenesmus, fever, blood or mucus in stools. |
| Turnaround Times | Molecular method allows same day results. |
| Comments | - From October 11th, 2021 the Dept. of Microbiology moved from a culture-based method for the detection of enteric pathogens in faecal specimens to a molecular platform: EntericBio realtime PCR. - The EntericBio system employed in SUH is a molecular, automated platform for the detection of enteric pathogens directly from stool samples. The test targets Salmonella spp, Shigella spp, Campylobacter spp, Cryptosporidium spp, Giardia spp and Verotoxin-producing E.coli (VTEC) in a PCR assay. - The assay will increase detection rates for the 6 main enteric pathogens, particularly VTEC. - Negative results will be reported as No target DNA Detected - Positive findings will be reported as follows;: Salmonella enterica spp Salmonella enterica spp DNA detected Shigella spp Shigella spp DNA detected Verotoxigenic E. coli Verotoxigenic E. coli DNA detected Campylobacter spp Campylobacter spp DNA detected. Cryptosporidium spp Cryptosporidium spp DNA detected Giardia spp Giardia lamblia DNA detected - Culture for confirmatory and epidemiological purposes will be performed on samples in which Salmonella spp or Shigella spp DNA is detected. If a viable organism is recovered, the isolate will be sent to the National Salmonella Reference Laboratory for speciation and susceptibility testing. - Occasionally the organism will not grow on culture as it may not be viable but the system will still detect small amounts of DNA. In these cases, we will issue the report as NOT ISOLATED. - If VTEC DNA is detected, the stool sample will be sent directly to Cherry Orchard Public Health Laboratory for full investigation. - The Molecular system is not designed for tests of clearance of carriage. If this is required, it must be indicated on the request form or communicated to the Clinical Microbiology Team. - Please note that this laboratory employs a cost-effective approach to the diagnosis of infectious diarrhoea. Not all specimens are examined for every pathogen. It is therefore important that clinical details or suspected diagnoses are included on the request form. Information that is of use when processing specimens includes: travel history, relationship to a particular food, prolonged diarrhoea, antibiotic use, suspected outbreak. - Other enteric pathogens e.g. Yersinia spp, Vibrio spp, Aeromonas spp, ova and parasites etc. are only examined if the clinical details suggest that possibility. - Bloody or liquid stools collected within 6 days of onset from patients with abdominal cramps have the highest yield for culture positive E. coli O157. - Culture for Enteropathogenic E. coli is no longer available in-house. - Adenovirus/ Rotavirus testing is only performed on faeces from children ≤2 years and adults ≥ 70 years old. |

## Faeces - C. difficile Toxin Assay

| Specimen Type | Faeces |
| --- | --- |
| Sample Container | Sterile Universal Container. |
| Sample collection/ preparation | Collect specimen as soon as possible after onset of symptoms. Specimen may be passed into a clean, dry, disposable bedpan or similar container and transferred into a sterile container (see above) using the spoon. The specimen is unsatisfactory if there remains any residual soap, detergent or disinfectant in the pan. |
| Volume/Quantity | 1-2g (spoonful) is sufficient. No more than 3 consecutive negative stools from different days will be tested on a single patient. |
| Safety Requirements | Ensure sterile universal containers are leak-proof and closed correctly. Place in a sealed plastic specimen bag with request form in the pouch, ready for transport to the laboratory. |
| Time Between Collection and Processing | Stool specimens should arrive in the laboratory as soon as possible. |
| Sample Quality | Formed stool will not be tested unless there is an indication that the patient has toxic megacolon. |
| Special Requirements | N/A |
| Turnaround Times | 24 hours |
| Comments | Sligo University Hospital Infection Prevention and Control will be notified of a positive result. |

Main_Contents

## Faeces – Norovirus Testing

| Specimen Type | Faeces |
| --- | --- |
| Sample Container | Sterile Universal Container. |
| Sample collection/ preparation | Collect specimen 3-5 days after onset of symptoms. Specimen may be passed into a clean, dry, disposable bedpan or similar container and transferred into a sterile container (see above) using the spoon. The specimen is unsatisfactory if there remains any residual soap, detergent or disinfectant in the pan. |
| Volume/Quantity | 1-2g (spoonful) is sufficient. If more than one specimen is received on the same day, only one specimen per patient per day is to be processed. |
| Safety Requirements | Ensure sterile universal containers are leak-proof and closed correctly. Place in a sealed plastic specimen bag with request form in the pouch, ready for transport to the laboratory. |
| Time Between Collection and Processing | Stool specimens should arrive in the laboratory as soon as possible. If a delay is unavoidable, specimen should be refrigerated in a designated refrigerator or in a designated part of a refrigerator not close to medicines or food. |
| Sample Quality | N/A |
| Special Requirements | N/A |
| Turnaround Times | 24 hours |
| Comments | - Norovirus requests are processed upon request after direct consultation of the ward with Infection Prevention and Control. - State whether vomiting is a feature or whether an outbreak is suspected. - Non diarrhoeal samples are rejected. |

Main_Contents

## Fluids

| Specimen Type | Fluids (Includes all aseptically obtained fluids such as: abdominal, amniotic, ascites, bile, joint, paracentesis, pericardial, peritoneal, pleural, synovial, continuous ambulatory peritoneal dialysis fluid (CAPD) and thoracentesis) |
| --- | --- |
| Sample Container | Sterile Universal Container. If a cell count is required on fluids other than CAPD a portion of the fluid specimen should be collected into an EDTA purple top tube. |
| Sample collection/ preparation | Sterile fluid specimens are collected by aseptic percutaneous aspiration or at surgery and transported in a clean, sterile container. For CAPD the complete dialysate bag should be sent or a minimum of 50 mls of CAPD in a sterile 250 ml. container. |
| Volume/Quantity | A minimum volume of 1 ml of fluids and 50 ml of CAPD is required. The yield is increased if >10 ml of fluid is collected. |
| Safety Requirements | Wear sterile gloves, and dispose of sharps into sharps container. Do not re-sheath needles. If the patient is suspected of having T.B. wear appropriate PPE as identified by local risk assessment during collection and discard any waste material into clinical waste bags. Ensure sterile universal containers are leak-proof and closed correctly. Place in a sealed plastic specimen bag with request form in the pouch, ready for transport to the laboratory. |
| Time Between Collection and Processing | Specimens should be transported to the laboratory as soon as possible. If a delay in transport or processing is anticipated, the specimen should be kept at 4ºC. |
| Sample Quality | Delays of 3 hours or more will greatly diminish the recovery of anaerobic organisms. |
| Special Requirements | N/A |
| Turnaround Times | 2-4 Days |
| Comments | Always submit as much fluid as possible, do not submit a swab dipped in fluid. |

## Fungal (Mycology) Culture

| Specimen Type | Superficial Infection * Skin scrapings, Nail clippings, Hair follicles. Systemic Infection Pus/aspirate, Tissue/Biopsy, BAL/Sputum, CSF, Blood Culture, Bone Marrow, Ear Swab or other. |  |
| --- | --- | --- |
| Sample Container | Superficial Infection Dermapak Type 3 or equivalent | or Sterile Universal Container |
|  | Systemic Infection Sterile universal container or Minitip Amies agar transport swab for ear swabs or blood culture bottles for blood cultures. |  |
| Sample collection/ preparation | Superficial Infection* Skin scrapings: - Clean the lesion area with 70% alcohol to reduce bacterial contamination. - Allow time for the alcohol to dry. - Using a blunt scalpel scrape scales of skin, preferable 2-3mm diameter, outwards from the active periphery of the lesion. - Snip off domes of any skin vesicles. Nail clippings: - Take scrapings from any discoloured, dystrophic or brittle parts of the nail using a scalpel. Discard the most superficial samples. - Sample some of the friable material under the nail. Hair follicles/Scalp specimen: - Scalp specimen is best obtained by scraping with a blunt scalpel. The contents should include hair stubs, the contents of plugged follicles and skin scales. - Hair may be plucked from the scalp with fine forceps. - Cut hairs are unsuitable for fungal culture as the focus of infection is below or near the surface of the scalp Systemic Infection Pus/aspirate, Tissue/Biopsy, BAL/Sputum, CSF, Blood Culture, Bone Marrow, Ear Swab. Refer to individual test for collection details. |  |
| Volume/Quantity | Superficial Infection One specimen is sufficient for skin scrapings, nail and hair specimen. Systemic Infection Pus/aspirate, Tissue/Biopsy, BAL/Sputum, CSF, Blood Culture, Bone Marrow, Ear Swab or other. Refer to individual test for volume quantity. |  |
| Safety Requirements | Ensure the Mycotrans or Dermapak envelope or equivalent is closed correctly. Place in a sealed plastic specimen bag with request form in the pouch, ready for transport to the laboratory. Ensure the swab is returned fully to the transport medium case and correctly closed. Place in a sealed plastic specimen bag with request form in the pouch, ready for transport to the laboratory. Ensure sterile universal containers are leak-proof and closed correctly. Place in a sealed plastic specimen bag with request form in the pouch, ready for transport to the laboratory. |  |
| Time Between Collection and Processing | Specimen should arrive in the laboratory as soon as possible after collection. If processing is delayed, store at room temperature and dispatch to the lab as soon as possible. |  |
| Sample Quality | N/A |  |
| Special Requirements | N/A |  |
| Turnaround Times | 7-9 Days |  |
| Comments | - Specimens are collected at onset of symptoms, and before antifungal therapy, where possible. Sufficient volume of pus/tissue/biopsy/other in sterile container transported directly to the laboratory. Specimens for subcutaneous mycological investigation are processed as soon as possible after collection. - Indicate any recent antifungal therapy. |  |

## Genital Tract Swabs

| Specimen Type | High Vaginal, Cervical, Urethral, Vulval. |
| --- | --- |
| Sample Container | Blue amies agar transport swab Orange minitip amies agar transport swab (for male urethral) |
| Sample collection/ preparation | Cervical and high vaginal swabs should be taken with the aid of a speculum. It is important to avoid vulval contamination of the swab. For Trichomonas vaginalis, the posterior fornix, including any obvious candidal plaques should be swabbed. If pelvic infection, including gonorrhoea, is suspected, the cervical os should be swabbed. Vaginal specimens: After the introduction of the speculum, the swab should be rolled firmly over the surface of the vaginal vault. For Trichomonas vaginalis, the posterior fornix, including any obvious plaques should be swabbed. Cervical specimens: After the introduction of the speculum, the swab should be rotated inside the endocervix. Urethral specimens Contamination with microorganisms from the vulva or the foreskin should be avoided. For male urethra, if a discharge is not apparent, attempts should be made to “milk” exudates from the penis. The patient should not have passed urine for at least 1 hour. The minitip amies swab is recommended for male urethral sampling. The swab is gently passed through the urethral meatus and rotated. Vulval specimens are taken from the vulva. After collection, swabs should be placed in a non-nutrient Transport Medium such as Amies or Stuart. |
| Volume/Quantity | One specimen is sufficient in the case of all swabs. Where more than one specimen is received without differentiation, it will be processed as a single specimen. |
| Safety Requirements | Ensure the swab is returned fully to the transport medium case and correctly closed. Place in a sealed plastic specimen bag with request form in the pouch, ready for transport to the laboratory. |
| Time Between Collection and Processing | All swabs should be sent to the laboratory as quickly as possible, preferably within a few hours of the sample been taken. |
| Sample Quality | Delays of 24 hours or more will greatly diminish the recovery of Neisseria gonorrhoeae. If delay is unavoidable a direct smear is made for Gram staining. Write name and date on slide. The smear is allowed to air dry and placed in a slide holder for transport to the laboratory The yield of Trichomonas vaginalis is significantly diminished if not examined on the day of collection. |
| Special Requirements | If delivery to the laboratory is delayed, specimens should be refrigerated. |
| Turnaround Times | 2-4 Days |
| Comments | - A range of sexually transmissible organisms cause infections responsible for a large number of clinical syndromes. When a specific STI is diagnosed, it is recommended to screen for other infections. Screening has a role in helping to control gonorrhoea, syphilis, chlamydial infection, and human immunodeficiency virus (HIV) infection - Bacterial Vaginosis (BV) is now considered to be associated with a variety of genital tract infections and complications. BV may be diagnosed clinically if three of the following four criteria are fulfilled: - Grey-white, thin homogenous discharge - Vaginal secretions pH > 4.5 - Positive amine odour test (release of fishy amine odour when vaginal secretion is mixed with 5-10% potassium hydroxide) - Presence of clue cells on microscopic examination Changes to our testing and reporting policy effective from 3rd February, 2020. In line with best practice, investigation for Neisseria gonorrhoea in female patients will be carried out on endocervical swabs only. This is the specimen of choice for isolation of Neisseria gonorrhoea. Gram staining of vaginal swabs will be carried out only when bacterial vaginosis is specifically requested or if clinically indicated. Gram staining of male urethral swabs will continue to be carried out on Genito urinary medicine (GUM) specimens and specimens where STI is being investigated. The specimen of choice for investigation of balanitis is a swab from the balanoprepucial groove. Urethral swabs querying balanitis will not be processed and will be reported with a comment requesting submission of a swab from balanoprepucial groove. These changes are in line with current international recommendations (Reference: Public Health England 2017. UK Standards for Microbiology Investigations (Investigation of Genital Tract and Associated Specimens) B 28 Issue 4.6) |

## Mycobacterium Staining and Culture *

| Specimen Type | Specimen type depends on clinical presentation. Refer to Comments section below. e.g. Sputum, BAL, Pus, CSF, Fluids, Tissue/Biopsy, Bone, Bone Marrow, Early Morning Urine (EMU). |
| --- | --- |
| Sample Container | Sterile universal container. |
| Sample collection/ preparation | Refer to individual test list for information on collection details. Refer to protocols outlined by your health care facility for these sample types. If the patient is suspected of having T.B. wear appropriate PPE as identified by local risk assessment during collection and discard any waste material into clinical waste bags. |
| Volume/Quantity | Sputum Three early morning specimens. Ideally a minimum voume of 5ml of sputum. Pus As much pus as possible. Other Body Fluids As available. Ideally 10 ml of fluid from normally sterile sites including CSF. |
| Safety Requirements | Collection of samples such as respiratory samples should be performed in negative pressure isolation areas wherever drug resistant mycobacterium is suspected. If the patient is suspected of having T.B. wear appropriate PPE as identified by local risk assessment during collection and discard any waste material into clinical waste bags. Ensure sterile universal containers are leak-proof and closed correctly. Place in a sealed plastic specimen bag with request form in the pouch, ready for transport to the laboratory. |
| Time Between Collection and Processing | Specimens should be transported to the laboratory as soon as possible. If a delay in transport or processing is anticipated, the specimen should be refrigerated. |
| Sample Quality | Sputum Salivary or muco-salivary sputum specimens may give misleading results, as these specimens will be contaminated by normal mouth flora. These specimens may be rejected by the Laboratory. Sputum specimens for routine bacteriological examination, which are greater than 24hours old, diminish the quality of the specimen. |
| Special Requirements | N/A |
| Turnaround Times | Samples are sent out to Galway University Hospital for testing. Microscopy: 1-2 days Culture: 6 to 7 weeks |
| Comments | The following is a list of suitable specimens to submit. Please note that respiratory specimens are the specimens of choice for patients with suspected pulmonary TB. - Good quality purulent early morning sputum. Three consecutive early morning specimens (2-5ml) should be submitted before the commencement of therapy. The specimen should be coughed from deep within the lungs. Poor quality sputum specimen’s e.g. salivary specimens or specimens of minute quantities are not suitable. - Specimens obtained at Bronchoscopy - Pus - CSF, Pleural, Peritoneal, Joint and other Sterile Fluids Tissue/Biopsy without fixative. - Bone - Gastric aspiration (in children from whom sputum cannot be obtained) - Blood (7-10 ml inoculated in a Bactec MYCO/F LYTIC blood culture bottle) - Bone marrow (> 0.5 ml inoculated directly into a Bactec MYCO/F LYTIC bottle) - Specimens of urine for Mycobacteria culture are no longer processed routinely in this laboratory because the yield of positives is negligible and the semi automated culture system is not validated for urine samples. If it is necessary to consider an exception, please contact the medical staff of the Dept of Microbiology,UHG. at 091 542477. The specimen will be stored for 10 days. - Faeces is NOT a suitable sample for TB culture. |

Main_Contents

## Parasites, Ova, and Cysts *

| Specimen Type | Faeces, Duodenal and Jejunal Aspirates, Sellotape slide for Enterobius vermicularis Ova, Urine for Schistosoma haematobium. |
| --- | --- |
| Sample Container | Sterile universal container. Glass slide and slide holder. 24 hour urine container without boric acid. |
| Sample collection/ preparation | Faeces Specimen may be passed into a clean, dry, disposable bedpan or similar container and transferred into a sterile universal container. The specimen is unsatisfactory if there remains any residual soap, detergent or disinfectant in the pan. Duodenal and jejunal aspirates Specimens will be obtained by specialist collection according to local protocols and sent to the laboratory in a sterile universal container. Sellotape slide for Enterobius vermicularis ova Sample collection is best performed in the morning prior to defecation. 1) Fold a 2” long piece of Sellotape sticky side out over the end of a wooden tongue depressor. 2) Grip tongue depressor close to edge of sellotape. 3) Press firmly against the perianal region. 4) Stick the Sellotape on to a glass microscope slide. Write name and date on slide. 5) Place in Slide holder for transport to laboratory Urine for Schistosoma haematobium The number of ova in the urine varies throughout the day, being highest in urine obtained between 10h 00 and 14h 00. The specimen should be collected between these times and consist of a single, terminal urine of at least 10 ml. Alternatively a 24-hour collection of terminal urine can be made. |
| Volume/Quantity | Faeces 1-2g (spoonful) is sufficient for ova and parasites. If more than one specimen is received on the same day only one will be processed, as shedding of ova and cysts can be intermittent. Three stool samples from separate days is recommended. Duodenal and jejunal aspirates Single aspirate is sufficient. Sellotape slide for Enterobius vermicularis ova Recommended to take up to 5 specimens. Urine for Schistosoma haematobium A minimum volume of 10ml is required. |
| Safety Requirements | Ensure sterile universal containers are leak-proof and closed correctly. Place in a sealed plastic specimen bag with request form in the pouch, ready for transport to the laboratory. Ensure slides are safely secured in a slide holder. |
| Time Between Collection and Processing | Specimens should be transported to the laboratory as soon as possible. |
| Sample Quality | Urine for Schistosoma haematobium If the urine must stand for an hour or longer, add 1ml of undiluted formalin (37% formaldehyde solution) to each 100ml of urine. This will preserve any eggs that might be present. |
| Special Requirements | Request form data should include all clinical details and in particular stating if the patient has a: - History of foreign travel - Abdominal pain with eosinophilia - Prolonged or chronic diarrhoea - Immunocompromised Failure to supply relevant details with requests for ova and parasites may result in the specimen not been processed. |
| Turnaround Times | 1 week |
| Comments | N/A |

Main_Contents

## Quantiferon Test *

| Specimen Type | Blood |
| --- | --- |
| Sample Container | QuantiFERON®-TB Gold Plus - (QFT®-Plus) Blood Collection Tubes These are only available from the Microbiology laboratory, and needs to have the appropriate Mater Hospital Request Form provided when picked up from the laboratory . |
| Sample collection/ preparation | Collect blood by venepuncture. Fill in patient details on sample tubes- LABELS SHOULD BE PLACED CORRECTLY ON SAMPLE TUBES AND SHOULD NOT COVER THE ‘FILL LEVEL’ Collect 1 mL into each tube in the following order: Grey, Green, Yellow Purple ***DO NOT OVERFILL*** Hold tube on needle for 2-3 seconds after flow ceases. Repeat tube if not close to black fill line. Butterfly needles: prime tubing with a “purge” tube before filling Immediately after filling tubes, shake tubes 10 times, just firmly enough to ensure entire Inner surface of tube is coated with blood, to dissolve antigens on tube wall. Caution: over-energetic shaking may cause gel disruption and could lead to aberrant results. Complete the Mater Hospital request form (MF-MIC-55 ) including date & time taken and clinical details |
| Volume/Quantity | Vacuum fills to 1 ml (black mark is acceptable 0.8–1.2 ml range ) |
| Safety Requirements | Standard blood handling precautions apply. |
| Time Between Collection and Processing | Blood must be incubated upright as soon as possible (and within 16 hours of collection). |
| Sample Quality | Over-energetic shaking may cause gel disruption and could lead to aberrant results. |
| Special Requirements | Immediately after filling tubes, shake them ten (10) times, just firmly enough to ensure the entire inner surface of the tube is coated with blood, to dissolve antigens on tube walls. |
| Turnaround Times | 1 week if received before 8 am on a Thursday. The test is carried out on Fridays in Mater Hospital. |
| Comments | Sample processed in Mater Hospital laboratory. Phone the Mater 01 803 2021 in case of any problems. Interpretation of QFT-G results is based on IFN-gamma concentrations in test samples. Each QFT-G result and its interpretation should be considered in conjunction with other epidemiological, historical, physical, and diagnostic findings. A positive result suggests that M. tuberculosis infection is likely; a negative result suggests that infection is unlikely; and indeterminate result suggests QFT-G results cannot be interpreted as a result of low mitogen response or high background response. A diagnosis of LTBI requires that TB disease be excluded by medical evaluation, which should include checking for signs and symptoms suggestive of TB disease, a chest radiograph, and, when indicated, examination of sputum or other clinical samples for the presence of M. tuberculosis. |

## Screening Swabs

CRE Screen

| Specimen Type | Rectal swabs/stoma swabs or swabs from faecal samples |
| --- | --- |
| Sample Container | Collect specimens in appropriate CE marked leak proof containers and transport in sealed plastic bags. |
| Sample collection/ preparation | Screening refers to - The collection of a rectal swab or sample of faeces. - The swab/sample should be submitted within 24 hours of the patientpresenting to the hospital. - Collection of rectal swabs, rather than waiting for stool samples, lendsitself to prompt sample collection and is generally preferred. - If rectal swab sampling is not acceptable to a patient, stool samples areacceptable. After collection, swabs should be placed in a non-nutrient Transport Medium such as Amies or Stuart. |
| Volume/Quantity | Four consecutive samples taken at intervals of not less than one week |
| Safety Requirements | In the acute hospital setting Standard Precautions and Contact Precautions should apply to any contact of a patient colonised with CPE. |
| Time Between Collection and Processing | Standard and Contact Precautions should be applied until a minimum of four consecutive samples taken at intervals of not less than one week have been tested by an appropriate method and reported as, “CPE not detected” or “CPE negative”. The final sample from a contact should be taken at least four weeks after the most recent contact. It is accepted that a small number of patients may become detectable as CPE positive more than four weeks after contact with a CPE positive patient but it is felt necessary at this time to apply a pragmatic time limit to the process. |
| Sample Quality | There should be visible faecal material on the rectal or peri-rectal swabs taken. Specimens should be transported and processed as soon as possible. If processing is delayed, refrigeration is preferable to storage at ambient temperature. |
| Special Requirements | Retesting of patients confirmed positive for CPE is generally not necessary at present.This is because an agreed process for declaring that a patient colonised with CPE is clear of CPE has not yet been defined. |
| Turnaround Times | 2 Working days. For positive sample genotypes the reference laboratory aims to report 95% of results within 28 working days. The average time will be 15 working days following receipt. Results are transmitted to users by hard-copy. |
| Comments | Screen: a. All contacts of a patient with CPE. Where such contacts have been discharged prior to their identification as a contact, their record should be marked to ensure screening on next admission. b. All admissions to critical care areas (Intensive Care Units, High Dependency Units, Neonatal Intensive Care Units4), on admission and weekly thereafter. c. All admissions to haematology and transplant wards on admission and weekly thereafter. d. All patients who have received cancer chemotherapy in the previous 12 months on admission. e. All patients who were transferred from any other hospital in Ireland or elsewhere. f. All patients who have been inpatients in any hospital in Ireland or elsewhere any time in the previous twelve months. Any hospital includes previous admissions to the hospital to which they are now being admitted. g. Renal dialysis patients at first dialysis in a unit, periodically during dialysis treatment (at intervals of not less than six months), and on return from dialysis elsewhere. h. All patients who normally reside in a long term care facility. |

## MRSA screen

| Specimen Type | Nasal swab only (Routine initial screen). Nasal, throat, perineum, any areas of broken skin, catheter specimen urine if patient is catheterised, sputum sample if patient is intubated. (Known MRSA positive) |
| --- | --- |
| Sample Container | Blue amies agar transport swab |
| Sample collection/ preparation | Nasal Swab: 1. Insert the swab, pre-moistened with saline, approximately 2 cm into the nares. 2. Rotate the swab against the nasal mucosa. Note: Both nares should be sampled using the same swab. Throat Swab: 1. Using a tongue depressor, take a vigorous swab sample from the tonsil or back of pharynx. Perineum Swab: 1. Rotate all sides of the swab on the perineum surface area. Wound Swab: 1. Follow sample collection procedure recommended by Infection Prevention and Control. |
| Volume/Quantity | Nasal Admission screening, Ward screening: Take one nasal swab only. Swab both nares with one swab only. Throat, Perineum. One swab is sufficient for each site. Swab these sites only if Nasal swab is positive. Other If clinically or epidemiologically indicated: Take swabs from abnormal skin lesions (e.g. eczema, dermatitis, burns), lesions, manipulated sites (e.g. intravenous lines and urinary catheters), and urines. |
| Safety Requirements | Ensure the swab is returned fully to the transport medium case and correctly closed. Place in a sealed plastic specimen bag with request form in the pouch, ready for transport to the laboratory. |
| Time Between Collection and Processing | Send to the laboratory as soon as possible. If delivery to the laboratory is delayed, specimens should be refrigerated. |
| Sample Quality | N/A |
| Special Requirements | N/A |
| Turnaround Times | 1-3 Days |
| Comments | Axilla and groin swabs are not part of routine MRSA screening protocol and will not be processed |

Main_Contents

## VRE screen

| Specimen Type | Rectal Swab. |
| --- | --- |
| Sample Container | Blue amies agar transport swab |
| Sample collection/ preparation | Moisten swabs in small amount of sterile water or saline in a universal container before swabbing site. Insert the swab into the rectum (through anal sphincter), gently rotate. The rectal swab should be visibly soiled. After collection, swabs should be placed in a non-nutrient Transport Medium such as Amies or Stuart. |
| Volume/Quantity | One swab is sufficient. |
| Safety Requirements | Ensure the swab is returned fully to the transport medium case and correctly closed. Place in a sealed plastic specimen bag with request form in the pouch, ready for transport to the laboratory. |
| Time Between Collection and Processing | Specimen should be transported and processed as soon as possible. If delivery to the laboratory is delayed, specimens should be refrigerated. |
| Sample Quality | The rectal swab should be visibly soiled. |
| Special Requirements | N/A |
| Turnaround Times | 2-4 Days |
| Comments | - Samples other than rectal swabs e.g. perineal swabs, are inappropriate for VRE surveillance. |

Main_Contents

## Skin Scrapings *

| Specimen Type | Skin Scrapings. |
| --- | --- |
| Sample Container | Slide. |
| Sample collection/ preparation | 1. Obtain glass microscope slides with frosted glass ends and plastic slide holders. 2. Wearing Latex gloves pinch a skin lesion between index finger and thumb in order to exclude circulating blood. 3. Pick the surface of the lesion with a sterile scalpel blade. 4. Apply more pressure to obtain a drop of tissue fluid and blood, this is spotted directly onto a glass slide by pressing the slide against the lesion. Several small smears are better than one large one. 5. The procedure should be repeated with a second skin lesion. 6. Label the frosted end of the slide in pencil with the patient’s name. Place in the slide holder and send to the laboratory for staining. 7. The excoriated lesion should also be swabbed with a culture swab. |
| Volume/Quantity | One sample is sufficient. |
| Safety Requirements | Ensure the slide is securely placed in the slide holder. |
| Time Between Collection and Processing | Send to the laboratory immediately. |
| Sample Quality | N/A |
| Special Requirements | N/A |
| Turnaround Times | 1 Day |
| Comments | The sensitivity of this test however is at best 50%, so a NEGATIVE test does NOT exclude disease. |

Main_Contents

## Sputum

| Specimen Type | Sputum |
| --- | --- |
| Sample Container | Sterile universal container. |
| Sample collection/ preparation | The optimal time of collection is early in the morning and before antimicrobial therapy where possible. Expectorated: 1. Sample should be collected under the direct supervision of a nurse or physician. 2. Have the patient rinse or gargle with water to remove superficial flora. 3. Instruct patient to cough deeply to produce lower respiratory secretions. 4. Collect in sterile container. Induced: 1. Have the patient rinse the mouth with water after brushing the gums and tongue. 2. Using a nebulizer, have the patient inhale ≈ 25 mL of a 3-10% sterile saline solution. 3. Collect induced specimen in a sterile container. |
| Volume/Quantity | Ideally a minimum volume of 5mls of sputum should be obtained. For routine culture one specimen taken before commencement of antimicrobial therapy. For Mycobacteria (AFB) collect 3 specimens on consecutive days. |
| Safety Requirements | If the patient is suspected of having T.B. wear appropriate PPE as identified by local risk assessment during collection and discard any waste material into clinical waste bags. Ensure sterile universal containers are leak-proof and closed correctly. Place in a sealed plastic specimen bag with request form in the pouch, ready for transport to the laboratory. |
| Time Between Collection and Processing | Specimens should be transported to the laboratory as soon as possible. Sputum may be refrigerated for up to 2-3 h without an appreciable loss of pathogens. Any delay beyond this time may allow overgrowth of Gram-negative bacilli, and target organisms such as Haemophilus species and Streptococcus pneumoniae may be rendered non-viable. . Delays of over 48h are undesirable. |
| Sample Quality | Salivary or muco-salivary sputum specimens may give misleading results, as these specimens will be contaminated by normal mouth flora. These specimens may be rejected by Laboratory. Sputum specimens for routine bacteriological examination, which are greater than 24hours old, diminish the quality of the specimen. |
| Special Requirements | N/A |
| Turnaround Times | 1-4 Days |
| Comments | - Indicate antimicrobial therapy on ordering requisition. - Respiratory therapists should collect a specimen via suction from paediatric patients unable to produce a sputum sample. - A good quality purulent or mucopurulent sputum specimen should be obtained, preferably before antimicrobial therapy although antimicrobial therapy should not be delayed unnecessarily while awaiting a sputum specimen. The specimen should be transported to the laboratory within 2 h. Specific aetiological agents have been associated with certain underlying diseases. It is therefore important to include all relevant clinical information. - TB culture is not routinely performed on sputum samples; please request this specifically if clinically indicated. Separate samples are required if both routine and TB culture is requested. - Pneumocystis jiroveci pneumonia (PCP) – Bronchoscopic or Induced sputum sample referred to external laboratory if testing is required. |

Main_Contents

## Upper Respiratory Tract Samples

## Ear Swab

| Specimen Type | Ear. |
| --- | --- |
| Sample Container | Minitip Amies agar transport swab. |
| Sample collection/ preparation | Inner ear: Sample must be acquired using aseptic technique. Follow protocols outlined by your health care facility for this sample type. Outer ear: Use a moistened swab to remove any debris or crust from the ear canal. Obtain sample by firmly rotating swab in the outer canal. |
| Volume/Quantity | One specimen is sufficient in the case of all swabs. |
| Safety Requirements | Ensure the swab is returned fully to the transport medium case and correctly closed. Place in a sealed plastic specimen bag with request form in the pouch, ready for transport to the laboratory. |
| Time Between Collection and Processing | Specimens should arrive in the laboratory within 24hrs of collection. In the event of any delays, store swab at 4oC. It is possible for coliforms to multiply in transport media after a few hours at room temperature causing a significant change in culture results. |
| Sample Quality | N/A |
| Special Requirements | N/A |
| Turnaround Times | 2-5 Days |
| Comments | - Where possible specimen collection should occur before antimicrobial therapy and always when pus or exudate is present. - Respiratory syncytial virus and parainfluenza viruses have been isolated from middle ear effusions and may have a role in the aetiology of otitis media especially in children. Use a Green or Pink top viral culture swab if indicated. - Mycotic infection of the ear is a superficial, chronic or subacute infection of the external auditory canal. Fungal infection accounts for two to ten percent of cases of otitis externa, and most frequently occurs after treatment of bacterial infection. Superficial infection with Candida spp occurs more commonly in patients who use hearing aids. For investigation of fungal infection, scrapings of material from the ear canal are preferred although swabs can also be used. |

Main_Contents

## Nasal Swab

| Specimen Type | Nasal. |  |
| --- | --- | --- |
| Sample Container | Bacterial Culture: Blue amies agar transport swab. | Viral: Viral Swab (Pink or Green Top) |
| Sample collection/ preparation | Sample the anterior nares by gently rotating the swab over the mucosal surface. Sample as soon as possible after symptoms begin. Before antiviral medications are administered, even if symptoms began more than one week ago |  |
| Volume/Quantity | One specimen is sufficient in the case of all swabs. |  |
| Safety Requirements | Ensure the swab is returned fully to the transport medium case and correctly closed. Place in a sealed plastic specimen bag with request form in the pouch, ready for transport to the laboratory. |  |
| Time Between Collection and Processing | Specimens should arrive in the laboratory within 24hrs of collection. In the event of any delays, store swab at 4oC. |  |
| Sample Quality | Diagnosis of respiratory viruses (influenzae, mumps, RSV, etc.) depends on the collection of high quality specimens, their rapid transport to the lab and appropriate storage. Nasopharyngeal swabs are superior to nasal swabs when considering viral studies thus all attempts should be made to obtain a nasopharyngeal swab. |  |
| Special Requirements | N/A |  |
| Turnaround Times | 2-4 Days |  |
| Comments | - Indicate antibacterial and/or antiviral therapy on ordering requisition. - Viral swabs are unsuitable for routine bacteriological culture and will not be processed for such - Viral swabs are referred to external reference laboratory for processing. |  |

Main_Contents

## Nasopharyngeal (High Nasal) Swab or Aspirate

| Specimen Type | Nasopharyngeal swab, Nasopharyngeal aspirate. |  |  |
| --- | --- | --- | --- |
| Sample Container | Sterile Universal Container. | Bacterial culture: Blue minitip amies agar flexible twisted wire | Viral: Viral Swab (Pink or Green Top) |
| Sample collection/ preparation | Optimal time for collection is at onset of symptoms and before antimicrobial or antiviral therapy where possible. Swab Bend the flexible wire of the swab very slightly in the shape of an arc. With the tip directed downwards, pass the swab gently along the floor of the nose for about 2 inches until it meets the resistance of the posterior wall of the nasopharynx (see diagram below). Allow the swab to remain in the nasopharynx for a moment so that secretions are absorbed onto the swab. Hold the child securely: this can be done by wrapping a blanket around the arms and holding the head steady (if a baby). A toddler can be held on the lap of the assistant while the latter holds the child's arms with one hand and the child's forehead with the other. Aspirate Nasopharyngeal aspirate may be obtained using a suction catheter. The exudates are collected into the sterile plastic trap or a sterile clear plastic universal container and transported to the laboratory. |  |  |
| Volume /Quantity | One specimen is sufficient in the case of all swabs. A minimum volume of 1ml is required for aspirates. |  |  |
| Safety Requirements | Ensure the swab is returned fully to the transport medium case and correctly closed. Place in a sealed plastic specimen bag with request form in the pouch, ready for transport to the laboratory. Ensure sterile universal containers are leak-proof and closed correctly. Place in a sealed plastic specimen bag with request form in the pouch, ready for transport to the laboratory. |  |  |
| Time Between Collection and Processing | Specimen should arrive in the laboratory within 24hrs of collection. If delivery to the laboratory is delayed, specimens should be refrigerated. |  |  |
| Sample Quality | Diagnosis of respiratory viruses (influenzae, mumps, RSV, etc.) depends on the collection of high quality specimens, their rapid transport to the lab and appropriate storage. Nasopharyngeal swabs are superior to nasal swabs when considering viral studies thus all attempts should be made to obtain a nasopharyngeal swab. |  |  |
| Special Requirements | Important: Contact Microbiology prior to sampling to check on availability of culture media. |  |  |
| Turnaround Times | - Bacterial: 5-7 days - Viral: 3-14 days (Referred tests) |  |  |
| Comments | - Nasopharyngeal swabs are predominantly submitted for Bordatella spp culture. If an alternate etiologic agent, i.e. C. diphtheriae, is suspected, please indicate on requisition and contact Microbiology department directly. - Nasopharyngeal aspirates are reserved primarily for the detection of Bordetella pertussis. Other available referred tests are: Influenza A / Influenza B / Parainfluenza / RSV - Respiratory Syncytial Virus / Rhinovirus / Human Metapneumovirus / CMV - Cytomegalovirus / Paramyxoviridae / Paramyxovirus / Pneumovirinae / Measles |  |  |

Main_Contents

## Nasopharyngeal (High Nasal) Swab or Aspirate for PCR (SARS-CoV-2 and other Respiratory Viruses)

| Specimen Type | Nasopharyngeal PCR (Required for SARS-CoV-2 and Respiratory Viruses Screening ) |
| --- | --- |
| Sample Container | Universal Transport Medium (UTM-RT) |
| Sample collection/ preparation | See previous Nasopharyngeal details (above). Instructions for UTM use are as follows; - Collect specimen with swab - Aseptically remove red cap from the tube with the UTM-RT liquid medium. - Insert swab into the tube with UTM-RT liquid medium - Break swab shaft by bending it against the tube wall. - Replace cap on tube and close tightly - Label with appropriate patient information. - Send to the laboratory immediately. |
| Volume/Quantity | The required specimen is a nasopharyngeal swab into 3 ml of Universal Transport Medium (UTM-RT). See picture above. These can be provided by the laboratory on request. Please note if a liquid swab is not submitted, we cannot provide the rapid testing. |
| Safety Requirements | Refer to HPSC Acute Hospital Infection Prevention and Control Precautions for Possible or Confirmed COVID-19 in a Pandemic Setting |
| Time Between Collection and Processing | Testing for virus nucleic acid in a person diagnosed with COVID-19 is not appropriate before declaring that the infectious period is over. Testing for virus nucleic acid in a person previously diagnosed with COVID-19 is generally not appropriate before scheduling treatment (surgery or other treatment) in a person who has clinically recovered. |
| Sample Quality | Please submit nasopharyngeal swabs for PCR testing as our testing platforms are not validated for nasal swabs. |
| Special Requirements | A .Routine Screening: There will be batch runs at: 10:30 (with results available at approximately 15:00) 15:30 (with results available at approximately 20:00) All ROUTINE samples received at the lab after 1500 hrs will be processed in the next morning’s batch. B. Rapid PCR Batch times, numbers of specimen (6 per batch) and criteria for rapid SARS-CoV-2 testing; 12 am, 8 am, 12pm, 4 pm & 8 pm • All ED / CAU attendances to the Red Zone • Unvaccinated emergency attendances /admission • All admissions to the Oncology ward • ICU admissions (Also, admission to Med 5 escalation beds should have Covid result before transfer to ward) Post midnight, 2 rapid tests are available for medical emergencies and require Consultant to Consultant Microbiologist approval. In order to prioritise scarce resources, please note that rapid tests will not be performed on known positive patients. Similarly, positive antigen tests do not warrant a rapid PCR test. These will be tested on the Batch system. All other rapid requests must be authorised by consultant microbiologists |
| Turnaround Times | Specimens must be received in laboratory 1 hour before tests are set up. Excess specimens will be processed on the next batch. Rapid Turnaround time is 2 hours (3 hours for respiratory panel) |
| Comments | Re: Add-on Respiratory testing e.g. Flu / RSV / Adenovirus / Enterovirus Please note that Add-on respiratory viral tests are NOT performed in Microbiology without prior consultant to consultant microbiologist approval. Otherwise, please submit a repeat specimen with a new test request form. All positive test results on patients will be phoned to the ward. Negative results will be available on the LIS immediately once the results are authorised in the laboratory. Please do not call regarding rapid tests except for consultant to consultant communication in medical emergencies out of hours |

Main_Contents

## Oral Swabs

| Specimen Type | Gum, Mouth, Tongue |
| --- | --- |
| Sample Container | Blue amies agar transport swab |
| Sample collection/ preparation | Sample any lesions or inflamed areas. The use of a tongue depressor or spatula will aid vision and avoid contamination from other parts of the mouth. |
| Volume/Quantity | One specimen is sufficient in the case of all swabs. |
| Safety Requirements | Ensure the swab is returned fully to the transport medium case and correctly closed. Place in a sealed plastic specimen bag with request form in the pouch, ready for transport to the laboratory. |
| Time Between Collection and Processing | Specimens should arrive in the laboratory within 24hrs of collection. If delivery to the laboratory is delayed, specimens should be refrigerated. |
| Sample Quality | N/A |
| Special Requirements | N/A |
| Turnaround Times | 2-4 Days |
| Comments | N/A |

Main_Contents

## Throat Swab

| Specimen Type | Throat |  |
| --- | --- | --- |
| Sample Container | Bacterial Culture: Blue amies agar transport swab. | Viral: Viral Swab (Pink or Green Top) |
|  | Molecular /PCR Universal Transport Medium (UTM-RT) |  |
| Sample collection/ preparation | 1. Depress the tongue with a tongue depressor. 2. Sample the posterior pharynx, tonsils and inflamed areas. Do not touch the buccal mucosa or tongue. Sample as soon as possible after symptoms begin. Before antibacterial or antiviral medications are administered. Even if symptoms began more than one week ago. |  |
| Volume/Quantity | One specimen is sufficient in the case of all swabs. |  |
| Safety Requirements | Ensure the swab is returned fully to the transport medium case and correctly closed. Place in a sealed plastic specimen bag with request form in the pouch, ready for transport to the laboratory. |  |
| Time Between Collection and Processing | Specimen should arrive in the laboratory within 24hrs of collection. If delivery to the laboratory is delayed, specimens should be refrigerated. |  |
| Sample Quality | N/A |  |
| Special Requirements | N/A |  |
| Turnaround Times | - Bacterial: 1-3 days - Viral: 3-14 days (Referred tests) - Rapid PCR : 2 Hours |  |
| Comments | - Indicate antibacterial and/or antiviral therapy on ordering requisition. - Throat cultures are contraindicated for patients with an inflamed epiglottis. For specific etiologic agents, i.e. C. diphtheriae, please provide information to laboratory. - Throat swabs for N. gonorrhoeae should be transported to the laboratory as soon as possible. - Respiratory viruses are recovered during 3-7 day viral shedding period following infection. - Give date of onset of illness, date of collection and brief clinical description or the provisional diagnosis. For example, does the patient have a rash, a respiratory illness or neurological symptoms? |  |

  - Urine Microscopy and Culture      NB: THERE IS AN INTEGRATED SHARP IN THE COLLECTION CUP LID

| Specimen Type | Mid Stream Urine, Catheter Urine, Bag Urine, Suprapubic Aspirate, Catch Specimen Urine. |
| --- | --- |
| Sample Container | Sterile BD Urine collection cup and vacutainer NB: Sharp Risk-There is an integrated sharp in the collection cup lid !! |
| Sample collection/ preparation | Mid Stream Urine. A clean mid-stream specimen is essential. Female: 1. Thoroughly cleanse the urethral area with soap and water or wipes. 2. Rinse the area with wet gauze pads. 3. While holding the labia apart, begin voiding. 4. After several milliliters have been passed, collect a midstream portion (without stopping the flow) into the Sterile BD Urine collection cup. 5. Transfer urine into the urine vacutainer and submit vacuntainer to laboratory. Male: 1. Retract the foreskin (if uncircumcised) and clean the glans with soap and water (rinse after cleansing) or wipes. 2. Begin voiding. 3. After several milliliters have been passed, collect a midstream portion (without stopping the flow) into the Sterile BD Urine collection cup. 4. Transfer urine into the urine vacutainer and submit vacuntainer to laboratory. Catheter Urine. Samples may be from patients who have had a catheter passed for a one-off urine sample or who have in-dwelling catheters. In patients with a long term indwelling catheter, samples should only be sent if clinically indicated i.e. patient symptomatic or systemically unwell or where patient has urinary retention or has urinary tract instrumentation. 1. Disinfect the catheter collection port with 70% alcohol. 2. Use a needle and syringe to aseptically collect 5-10 mL of urine into the Sterile BD Urine collection cup. 3. Transfer urine into the urine vacutainer and submit vacuntainer to laboratory. Bag Urine. A sterile collection bag is attached to the cleansed perineum to catch urine, which must than be drained into the Sterile BD Urine collection cup. This is commonly used in infants. 1. Thoroughly wash the area around the urethra. 2. Open a urine collection bag (a plastic bag with an adhesive paper on one end). For boys, the entire penis can be placed in the bag and the adhesive attached to the skin. For girls, place the bag over the labia. 3. Diaper the infant as usual, covering and securing the bag. Check the baby frequently and remove the bag after the infant has urinated into it. Active infants may displace the bag, so it may take more than one attempt to obtain the specimen. 4. Drain the urine into the Sterile BD Urine collection cup. 5. Transfer urine into the urine vacutainer and submit vacuntainer to laboratory. Suprapubic Aspirate. This method is used when a bedridden patient cannot be catheterized or a sterile specimen is required. The urine specimen is collected by needle aspiration through the abdominal wall into the bladder. Catch Specimen Urine. Thorough periurethral cleaning is recommended. The whole specimen is collected into the Sterile BD Urine collection cup. Transfer urine into the urine vacutainer and submit vacuntainer to laboratory. |
| Volume/Quantity | Minimum volume ≥ 1 ml. One specimen is sufficient in most cases. |
| Safety Requirements | Ensure sterile urine vacutainer is leak-proof and closed correctly. Place in a sealed plastic specimen bag with request form in the pouch, ready for transport to the laboratory. |
| Time Between Collection and Processing | Specimens should be transported and processed within 2 hours where possible. Any sample which may be subject to delay of more than 2 hrs before being sent to the lab should be refrigerated. |
| Sample Quality | Urine acts as a culture medium and therefore specimens should be stored at 40C to prevent subsequent multiplication of bacteria after collection of the patient sample which would invalidate the bacterial count. Bag Urine Culture results can be difficult to interpret with this sample type as contamination with skin flora is common. Mid Stream Urine An MSU significantly reduces the opportunities for contaminants to enter into the urine stream. |
| Special Requirements | Refrigerate samples at 40C if delivery to the lab is longer than 2 hours. |
| Turnaround Times | - Urgent Microscopy / Cell Count = 2 hours - Routine Microscopy/Cell count = Same Day - Culture/Sensitivity = 1→ 3 days |
| Comments | Reference Range: METHOD; CELL; / µL. Automated Cell Counts; WBC; < 40. RBC; < 100. Manual Cell Counts; WBC; < 20. RBC; < 100. - Please indicate clearly on request form if requesting examination for cellular casts. The first morning urine sample is preferable. - Urinary catheter tips are inappropriate for culture and will not be processed. - Bacteriuria occurs in the vast majority of patients who are catheterised for more than 5 days, a urine specimen should only be sent if there are symptoms or signs suggestive of a urinary or a systemic infection. - In severe or complicated UTI, a follow-up specimen should be taken 5 days post completion of antibiotic therapy. Persistence of bacteriuria implies a structural abnormality. The uncertainty associated with Urine cell counts, is available to service users if required, and is available on the Q Pulse system. This record is PATH-MICRO-REC-80 Cell Count Reporting Update (2022) Values of >1000 /μL of white blood cells (WBC) and/or red blood cells (RBC) will no longer be reported for automated cell counts, rather it will be the absolute value counted per μL. Reporting of manual counts will remain unchanged i.e. the absolute value of WBC and RBC will be reported up to 999 per μL. Thereafter, >1000/μL will be reported. Bacterial cells and epithelial cells will be reported as scanty, 1+, 2+ or 3+. |

## URINE Tests

## Urinary Antigen  - Legionella

| Specimen Type | Urine |
| --- | --- |
| Sample Container | Sterile BD Urine collection cup and urine vacutainer NB: Sharp Risk-There is an integrated sharp in the collection cup lid !! |
| Sample collection/ preparation | Collect a urine specimen into a Sterile BD Urine collection cup and transfer to the urine vacutainer. Submit vacutainer only to the laboratory. |
| Volume/Quantity | Minimum volume ≥ 1 ml, ensure that the lid of the container is firmly closed. One specimen is sufficient. |
| Safety Requirements | Place urine vacutainer in a sealed plastic specimen bag with request form in the pouch, ready for transport to the laboratory. |
| Time Between Collection and Processing | ≤ 4 hrs, store at room temperature. Alternatively, specimens may be stored at 2-8oC for up to 14 days or frozen (-20oC) for longer periods before testing |
| Sample Quality | Boric acid may be used as a preservative. |
| Special Requirements | N/A |
| Turnaround Times | Same Day |
| Comments | - This test is useful in the early detection of Legionnaires disease. Antigen excretion may begin as early as 3 days after onset of symptoms and persist for up to a year afterwards. - Excretion of Legionella antigen in urine may vary depending on the individual patient and the stage of the disease. Some individuals have been shown to excrete antigen for an extended period of time, so a positive test reaction may reflect a recent but not active infection. - Early treatment with appropriate antibiotics may also decrease antigen excretion in some individuals. |

## Urinary Antigen  - Pneumococcal

| Specimen Type | Urine |
| --- | --- |
| Sample Container | Sterile BD Urine collection cup and urine vacutainer NB: Sharp Risk-There is an integrated sharp in the collection cup lid !! |
| Sample collection/ preparation | Collect a urine specimen into a Sterile BD Urine collection cup and transfer to the urine vacutainer. Submit vacutainer only to the laboratory. |
| Volume/Quantity | Minimum volume ≥ 1 ml. One specimen is sufficient. |
| Safety Requirements | Place urine vacutainer in a sealed plastic specimen bag with request form in the pouch, ready for transport to the laboratory. |
| Time Between Collection and Processing | ≤ 4 hrs, store at room temperature. Alternatively, specimens may be stored at 2-8oC for up to 14 days or frozen (-20oC) for longer periods before testing |
| Sample Quality | Boric acid may be used as a preservative. |
| Special Requirements | N/A |
| Turnaround Times | Same Day |
| Comments | N/A |

## Urine - Pregnancy Tests

| Specimen Type | Urine |
| --- | --- |
| Sample Container | Sterile BD Urine collection cup and urine vacutainer NB: Sharp Risk-There is an integrated sharp in the collection cup lid !! |
| Sample collection/ preparation | Collect a urine specimen into a Sterile BD Urine collection cup and transfer to the urine vacutainer. Submit vacutainer only to the laboratory. |
| Volume/Quantity | Minimum volume ≥ 1 ml. One specimen is sufficient. |
| Safety Requirements | Place urine vacutainer in a sealed plastic specimen bag with request form in the pouch, ready for transport to the laboratory. |
| Time Between Collection and Processing | ≤ 48 hrs, store at 2-8oC for up to 48 hours or frozen (-20oC) for longer periods before testing |
| Sample Quality | n/a |
| Special Requirements | A first morning urine specimen is preferred since it generally contains the highest concentrationof hCG; however, urine specimens collected at any time of the day may be used. |
| Turnaround Times | Same Day |
| Comments | N/A |

## Wounds

| Specimen Type | Superficial wounds, Bite wounds, Post Operative wounds, Deep-Seated wound infections, Burns. |
| --- | --- |
| Sample Container | Amies agar transport swab |
| Sample collection/ preparation | The optimal time of collection is before antimicrobial therapy where possible. Superficial or Bite wound swabs: 1. Remove surface exudate by wiping with sterile saline or 70% alcohol. Sample must be acquired using aseptic technique. 2. Sample a representative part of the lesion. Soak the swab well in any pus or exudates. Samples of pus, if present, are preferred to swabs. Post Operative or Deep-Seated wounds: 1. Swab the deepest part of the wound to avoid the superficial microflora. Swabs must be well soaked in pus. |
| Volume/Quantity | One specimen is sufficient in the case of all swabs. |
| Safety Requirements | Ensure the swab is returned fully to the transport medium case and correctly closed. Place in a sealed plastic specimen bag with request form in the pouch, ready for transport to the laboratory. |
| Time Between Collection and Processing | Specimen should arrive in the laboratory within 24hrs of collection. If a delay in transport or processing is anticipated, the specimen should be refrigerated. |
| Sample Quality | The volume of the specimen influences the transport time that is acceptable. Larger volumes of purulent material maintain the viability of anaerobes for a longer period of time. The recovery of anaerobes is compromised if the transport time exceeds 3 hours. |
| Special Requirements | Indicate type of bite wound, i.e. human or animal, on the ordering requisition. |
| Turnaround Times | 2-4 Days |
| Comments | Samples of pus, if present, are always preferred to swabs. Please refer to the test section on Pus. |

Return to Microbiology Index

Return to Table of Contents

## Serology

## General Serology Information

## Sample collection/preparation:

Gently invert the blood tubes 4-6 times immediately after blood collection to reach a proper mix of additive and blood. Do not shake the tubes. Vigorous mixing may cause foaming or haemolysis. Insufficient mixing or delayed mixing in serum tubes may result in delayed clotting.

Complete the Microbiology Specimen Request Form (green) for Chlamydia testing or the Blood Sciences request form (blue) for all Serology Blood tests, fully to ensure compliance with the Patient Specimen and Request Form Identification Criteria.

Request form data should include all clinical details and in particular stating:

- Routine screen to establish immune status

- Date of onset of illness if appropriate

- Contact details

- Vaccination History

- Previous exposure

- Travel history

- Symptoms for example Rash, specific organ or anatomical involvement

- If inoculation injury specify source or recipient.

## Volume/Quantity:

A minimum of one full vacuette tube containing 3-4 ml of whole blood is required for all serological tests performed “in-house” at SUH. Paediatric specimen tubes should be filled to contain a minimum of 1.5 mls of whole blood. If other tests, which are sent to external reference laboratories are required please collect a second tube.

## Specimen Collect Date and Time

Specimen collect date and time MUST BE PROVIDED for all antibiotic requests, Molecular serology investigations – PCR, Viral Load, Genotype, CD4 count. Clotted and EDTA specimens taken for molecular virology testing MUST be sent immediately to the laboratory for IMMEDIATE separation and freezing to maintain the integrity of the viral DNA or RNA.

See List of Serology tests for more details.

## Anonymous / Uniquely Identified specimens

Where confidentiality demands, unique identifier or patient initials may be used but it is mandatory that Date of Birth is supplied.  Patient initials, DOB, and unique GUM clinic number are the unique identifiers for GUM clinic.The patient is identified by the attending physician /nurse, who ask him/her to confirm their identity prior to sampling.

## HIV Testing

Request for serology for HIV testing are accepted on the understanding that the patient has been properly counselled and the result will be returned under confidential cover to the clinician whose name is on the request form as having requested the test

## Storage and Transport of Serology Samples

All specimens should be sent to the Laboratory as quick as possible, preferably within a few hours of specimen collection. All specimens should be transported at ambient temperature and if delivery is delayed specimens should be refrigerated. Samples are centrifuged as soon as possible after receipt in Laboratory to avoid deterioration.

## Needle Stick Injuries (NSI’s)

Bloods from NSI’s are processed in Serology. Personnel who sustain a NSI should contact Occupational Health Department and present at ED, where necessary arrangements will be made to obtain blood and contact the laboratory. HBsAg and HIV testing of source patient are tested Out Of Hours.

## Safety requirements:

- Standard precautions should be adhered to when collecting blood or biological material.

- Wear gloves during venepuncture, and when handling blood collection tubes to minimise exposure hazard. After venepuncture, the top of the cap may contain residual blood. Take proper precautions when handling tubes to avoid exposure to this blood.

- Dispose of any used needles using an appropriate disposal device. Do not resheath needle. Resheathing of needles increases the risk of needle stick injury and blood exposure.

- Place tube in sealable section of plastic specimen bag and request form in separate pouch section for transport to the laboratory. If delivery from an outlying site please ensure packaging complies with ADR requirements.

## Sample Quality:

Grossly Lipaemic, Grossly Haemolysed or heat affected specimens are not suitable for testing.

## Special Requirements:

If delivery to the laboratory is delayed, specimens should be refrigerated.

Return to Microbiology Index

Return to Table of Contents

## Criteria for Rejection of Serology Specimens

As well as the general specimen acceptance/ rejection criteria (described at the introductory section of this manual) there are specific rejection criteria that are carried out in the Serology Laboratory. These are described in table below. Where possible, specimens are stored until relevant information is supplied by clinician and the sample can then be processed. However many of the rejection scenarios described below may not be rectified without a new sample being submitted.

| Serology Test | Sample Type | Test requirements | Reason for rejection given on report and Corrective Action Required |
| --- | --- | --- | --- |
| * Sample referred to external laboratory |  |  |  |
| All | Clotted Blood | Samples to be delivered to Laboratory ASAP but within 72 hours of venepuncture | Unspun blood sample received > 72 hrs from venepuncture. Sample too old to process. Unsuitable for analysis./ Advise submit repeat specimen |
| Amikacin levels | Clotted Blood | Not applicable | Test not available. Discuss with Consultant Microbiologist./ Antimicrobial Pharmacist |
| Amoebic Serology* | Clotted Blood | Relevant Clinical details provided & prior discussion with Consultant Microbiologist required. | No relevant clinical details provided or no discussion with Consultant Microbiologist./ Please contact Consultant Microbiologist with relevant clinical details for test to be processed. |
| Bordatella pertussis antibodies* | Clotted Blood | Relevant Clinical details provided & prior discussion with Consultant Microbiologist required. | No relevant clinical details provided or no discussion with Consultant Microbiologist./ Please contact Consultant Microbiologist with relevant clinical details for test to be processed. |
| Chlamydia trachomatis (CT) / Neisseria gonorrhea (GC) PCR * | Urine specimen Endocervical swab Urethral Swab Eye Swab Rectal Swab Throat Swab | Urine and swabs for CT/GC PCR should be received in a (Urine or Swab) Aptima collection device that is in date provided by the Serology Laboratory. Urine sample received in a universal container must reach Serology Lab within 24 hrs of collection so that it can be transferred to a Aptima Urine Collection device. Specimen collect date and time must be provided. The level of urine in the Aptima collection device must be between the two black indicator lines on the tube. For Swabs: Discard cleaning swab (WHITE shafted swab) after use. Specimen collection swab (BLUE shafted swab) ONLY must be put in Aptima transport tube | Expired Aptima collection device received unsuitable for analysis No Collect date and time provided on Universal urine container. Unable to establish if it is < 24 hrs since collection or Urine sent in primary universal container > 24 hours of collection. Urine sample does not fall between the guidance markers on the collection device and is unsuitable for analysis Swab unsuitable for analysis if white shafted & blue shafted swabs OR white shaft swab only are received in Aptima transport tube For all of the above: Advise submit repeat specimen. |
| Chloramphenicol levels * | Clotted Blood | Relevant Clinical details provided & prior discussion with Consultant Microbiologist required. | No relevant clinical details provided or no discussion with Consultant Microbiologist./ Please contact Consultant Microbiologist with relevant clinical information for test to be processed. |
| CMV DNA * | EDTA whole blood Urine | Specimen collect date and time must be provided on request form. EDTA sample must be received in Laboratory, separated and frozen within 24 hrs of venepuncture. Urine samples must be frozen ASAP. Laboratory must be contacted. | Incorrect sample received - Clotted Blood unsuitable for analysis - EDTA Blood samples required Specimen date and collect time NOT provided. Sample received in laboratory > 24hrs of venepucture For all of the above: Advise submit repeat specimen |
| Clostridium tetani antibodies * | Clotted Blood | Relevant Clinical details provided & prior discussion with Consultant Microbiologist required. | No relevant clinical details provided or no discussion with Consultant Microbiologist./ Please contact Consultant Microbiologist with relevant clinical details for test to be processed. |
| Corynebacterium diphtheriae antibodies * | Clotted Blood | Relevant Clinical details provided & prior discussion with Consultant Microbiologist required. | No relevant clinical details provided or no discussion with Consultant Microbiologist./ Please contact Consultant Microbiologist with relevant clinical details for test to be processed. |
| Coxiella burnetti (Q fever) antibodies * | Clotted Blood | Relevant Clinical details provided & prior discussion with Consultant Microbiologist required. | No relevant clinical details provided or no discussion with Consultant Microbiologist./ Please contact Consultant Microbiologist with relevant clinical details for test to be processed. |
| Cryptococcus Serology * | Clotted Blood | Relevant Clinical details provided & prior discussion with Consultant Microbiologist required. | No relevant clinical details provided or no discussion with Consultant Microbiologist./ Please contact Consultant Microbiologist with relevant clinical details for test to be processed. |
| Dengue antibodies * | Clotted Blood | Relevant Clinical Details including details of foreign travel and prior discussion with Consultant Microbiologist required. | No relevant clinical details provided or no discussion with Consultant Microbiologist./ Please contact Consultant Microbiologist with relevant clinical details for test to be processed. |
| DNAse B Abs * | Clotted Blood | Relevant Clinical details provided & prior discussion with Consultant Microbiologist required. | No relevant clinical details provided or no discussion with Consultant Microbiologist./ Please contact Consultant Microbiologist with relevant clinical details for test to be processed. |
| Echinococcus antibodies * (Hydatid Cyst / Cystercercosis Ab) | Clotted Blood | Relevant Clinical details provided & prior discussion with Consultant Microbiologist required. | No relevant clinical details provided or no discussion with Consultant Microbiologist./ Please contact Consultant Microbiologist with relevant clinical details for test to be processed. |
| Epstein-Barr PCR * | EDTA whole blood | Specimen date and collect time MUST be indicated on request form. EDTA samples must be received in Laboratory, separated and frozen within 24 hrs of venepuncture. | Incorrect sample received - Clotted Blood unsuitable for analysis. EDTA Blood samples required Specimen date and collect time NOT provided. Sample received in laboratory > 24hrs of venepucture. For all of the above: Advise submit repeat specimen |
| Hepatitis C RNA | EDTA Whole Blood or Clotted Blood | Specimen collect date and time must be indicated on request form. Specimen must be sent to the Serology Lab Urgently so that it can be centrifuged, aliquoted and frozen within 6 hrs of venepuncture. The Serology laboratory must be contacted before blood is taken and specimen must reach laboratory before 4pm. | Specimen date and collect time NOT provided or or specimen received in laboratory > 6 hours from venepuncture. Sample not received and frozen within 6 hours of venepuncture/ Advise submit repeat specimen |
| HCV genotype * | EDTA Whole Blood or Clotted Blood | Specimen collect date and time must be indicated on request form. Specimen must be sent to the Serology Lab Urgently so that it can be centrifuged, aliquoted and frozen within 6 hrs of venepuncture. The Serology laboratory must be contacted before blood is taken and specimen must reach laboratory before 4pm. | Specimen date and collect time NOT provided or specimen received in laboratory > 6 hours from venepuncture Sample not received and frozen within 6 hours of venepuncture./ Advise submit repeat specimen |
| HIV Viral load * | EDTA whole blood | Specimen collect date and time must be indicated on request form. Two EDTA samples must be received centrifuged and frozen within 6 hours of venepuncture. Laboratory must be contacted before blood is taken. | Specimen date and collect time NOT provided or specimen received in laboratory > 6 hours from venepuncture. Sample not received and frozen within 6 hours of venepuncture./ Advise submit repeat specimen |
| Hepatitis B Viral Load * | EDTA Whole | Specimen collect date and time must be indicated on request form. Specimen must arrive in Serology Urgently so that it can be centrifuged, aliquoted and frozen within 6 hrs of venepuncture. The Serology laboratory must be contacted before blood is taken and specimen must reach laboratory before 4pm. | Specimen date and collect time NOT provided or specimen received in laboratory > 6 hours from venepuncture. Sample not received and frozen within 6 hours of venepuncture./ Advise submit repeat specimen |
| Legionella * | Urine | Blood samples unsuitable for testing. Urine sample required. | Incorrect sample received. Blood sample received, Unsuitable for analysis,/ Advise submit Urine sample. Urine antigen detection has replaced the antibody test as the primary diagnostic method for Legionella pneumophila. |
| Mycoplasma IgM * | Clotted Blood | NVRL test Mycoplasma IgM for patients under the age of 20. As samples on patients 20 or older have to be referred to UK prior discussion with Consultant Microbiologist is required. | Patient is over the age of 20 and no discussion with Consultant Microbiologist/ Please contact Consultant Microbiologist with relevant clinical details for test to be processed. |
| Pneumococcal antibodies * | Clotted Blood | Relevant Clinical details provided & prior discussion with Consultant Microbiologist required. | No relevant clinical details provided or no discussion with Consultant Microbiologist/ Please contact Consultant Microbiologist with relevant clinical details for test to be processed. |
| Polyomavirus * (JC & BK) | Clotted Blood Urine | Specimen collect date and time must be provided on request form and sample. Blood Sample must be received and frozen within 24 hours of venepuncture. Urine sample must be frozen within 24 hrs | Specimen date and collect time NOT provided or Sample received in laboratory > 24hrs of venepucture/ Advice submit repeat sample. |
| Schistosomal antibodies * (Primarily screened on urine in microbiology) | Clotted Blood | Relevant Clinical details provided & prior discussion with Consultant Microbiologist required. | No relevant clinical details provided or no discussion with Consultant Microbiologist. / Please contact Consultant Microbiologist with relevant clinical details for test to be processed. |
| Staphyloccal antibodies * | Clotted Blood | Test currently suspended |  |
| Teicoplanin level *(Trough) | Clotted Blood | Timing of sampling, dose administered, dose frequency and focus of infection must be specified & prior discussion with Consultant Microbiologist required. | Inadequate clinical information provided / Please contact Consultant Microbiologist for test to be processed. |
| Viral Screen * | Clotted Blood | ‘Specimens accompanied by forms requesting ‘Viral Studies” are not routinely processed: clinical details are essential and tests MUST be specified. Refer to NVRL User manual. Clinical team in NVRLcan be contacted at 01 7164418 for discussion re the most appropriate test(s) to request. | Tests MUST be specified. A serum aliquot of this sample has been stored, but will not be processed until Lab contacted & tests specified. |
| West Nile Virus * | Clotted Blood | Relevant Clinical Details including history and prior discussion with Consultant Microbiologist. | No relevant clinical details provided or no discussion with Consultant Microbiologist/ Please contact Consultant Microbiologist with relevant clinical details for test to be processed. |
| Yersinia antibodies * | Clotted Blood |  | Test discontinued. The recommended method for the diagnosis of suspected Yersiniosis is the culture of Yersinia species from faecal specimens. |

Return to Microbiology Index

Return to Table of Contents

## List of Serology tests

PAEDIATRIC SAMPLES: If submitting 2 ml microtubes please provide 1 tube per investigation

| Test/ Profile | Specimen Type | Additive required | Volume Required/ ml | Container Type | Special Requirements |  | Turnaround Times |
| --- | --- | --- | --- | --- | --- | --- | --- |
| * Specimens/ samples are referred to external laboratory for testing ** If sample needs to be sent to referral Lab for supplemental/ confirmatory testing Turnaround Time will be longer. Days are expressed as Calendar days. |  |  |  |  |  |  |  |
| Adenovirus PCR* | Blood | None | 5.0 | Purple top vacuette EDTA or red top vacuette serum tube | Serology lab must be notified before sending samples. Collect date and time must be provided. Sample must be frozen within 24hrs |  | 7-12 days |
| Amikacin levels * | Blood | None | 5.0 | Red top vacuette serum tube | Test Not available. Discuss with Consultant Microbiologist / Antimicrobial pharmacist |  |  |
| Amoebic Serology * | Blood | None | 5.0 | Red top vacuette serum tube | Only accepted following prior consultation with Consultant Microbiologist. |  | 18-24 days |
| Antenatal Screen/ Rubella, Syphilis, HBsAg, HIV ** | Blood | None | 5.0 | Red top vacuette serum tube |  |  | 2- 6 days |
| Antibiotic assays | See under individual antibiotic assays |  |  |  |  |  |  |
| Anti-DNAse B (Streptococcus Abs) * | Blood | None | 5.0 | Red top vacuette serum tube |  |  | Weeks |
| Anti-Streptolysin titre (ASOT) | Blood | None | 5.0 | Red top vacuette serum tube | Useful for the investigation of Group A Beta- haemolytic Streptococcal infection or post- streptococcal disorder e.g. rheumatic fever. |  | 1 – 3 da |
| Aspergillus precipitans * | Blood | None | 5.0 | Red top vacuette serum tube |  |  | 13 – 18 days |
| Aspergillus PCR* | Blood | None | 5.0 | Purple top EDTA tube | Only available for patients attending Crumlin |  |  |
| Avian allergans * | Blood | None | 5.0 | Red top vacuette serum tube |  |  | 13 – 21 days |
| Bartonella henselae and quintana antibodies */ Cat Scratch Disease | Blood | None | 5.0 | Red top vacuette serum tube |  |  |  |
| BK virus* |  |  |  |  | See Polyomavirus |  |  |
| Bordatella pertussis antibodies * | Blood | None | 5.0 | Red top vacuette serum tube | Only accepted following prior consultation with Consultant Microbiologist. |  | 18-24 days |
| Borrellia burgdorferi antibodies (Lyme Disease)* | Blood | None | 5.0 | Red top vacuette serum tube |  |  | 13 – 18 days |
|  | CSF | None | 500µl |  | Must be accompanied with blood sample within 24 hrs of CSF collection |  |  |
| Brucella screen * | Blood | None | 5.5 | Red top vacuette serum tube |  |  | 7-14 days |
| Chikungunya IgM* | Blood | None | 5.0 | Red top vacuette serum tube |  |  |  |
| Chlamydia Pnemoniae IgM and IgG* | Blood | None | 5.0 | Red top vacuette serum tube |  |  |  |
| Chlamydia Psittaci IgG and IgM* | Blood | None | 5.0 | Red top vacuette serum tube |  |  |  |
| Chlamydia trachomatis (CT) PCR * Samples requested for CT investigations will also be tested for Neisseria gonorrhoeae (GC) and also Mycoplasma genitalium if requested | Urethral Swab Endocervical Swab Eye Swab Throat swab Rectal Swab Urine specimen | None | Not relevant | Swab/ Urine APTIMA collection device kits Available from Serology Lab | Details on specimen collection for combined CT and GC testing are included in the APTIMA collection device kits |  | 7-14 days |
| Chloramphenicol levels * | Blood | None | 5.5 | Red top vacuette serum tube | Only accepted following prior consultation with Consultant Microbiologist. |  | 3 – 7days for phoned result |
| Clostridium tetani antibodies * | Blood | None | 5.5 | Red top vacuette serum tube | Only accepted following prior consultation with Consultant Microbiologist. |  | 18-24 days |
| Coeliac Screen** | Blood | None | 5.5 | Red top vacuette serum tube | Supplementary testing sent to Immunology UCHG if Anti tTG is positive on initial screening. |  | 2-5 days for in-house screen |
| Corynebacterium diphtheriae antibodies * | Blood | None | 5.5 | Red top vacuette serum tube | Only accepted following prior consultation with Consultant Microbiologist. |  | 18-24 days |
| Covid Abs/ Anti SARS COV 2* | Blood | None | 5.0 | Red top vacuette serum tube | Only accepted following prior consultation with Consultant Microbiologist |  |  |
| Coxiella burnetti (Q fever) antibodies * | Blood | None | 5.5 | Red top vacuette serum tube | Only accepted following prior consultation with Consultant Microbiologist. |  | 18 - 24 days |
| Cryptococcus Serology * | Blood | None | 5.5 | Red top vacuette serum tube | Only accepted following prior consultation with Consultant Microbiologist. |  | 24 days |
| Cytomegalovirus (CMV) antibodies * | Blood | None | 5.5 | Red top vacuette serum tube |  |  | 7-12 days |
| Cytomegalovirus (CMV) DNA CMV PCR * | Blood | K EDTA | 4.5 | Purple top vacuette EDTA tube | Serology Lab must be notified before sending samples. Specimen collect date and time must be provided on request form. Samples must be received in Laboratory, separated and frozen within 24 hrs of venepuncture. |  | 10 – 18 days |
|  | Urine | None | 4.5 | Sterile Universal Container | Please send to laboratory immediately as sample must be sent frozen to referral lab |  |  |
| Dengue Antibodies * | Blood | None | 5.5 | Red top vacuette serum tube | Only accepted following prior consultation with laboratory. Please provide clinical details including comprehensive travel history |  | 18-24 days |
| E.coli PCR | Blood | None | 5.0 | EDTA whole blood | Clinical details required: pre collection antibiotics, date of onset, primary diagnosis, clinical details, lab findings. |  |  |
| Echinococcus antibodies (Hydatid Cyst / Cystercercosis Ab) * | Blood | None | 5.5 | Red top vacuette serum tube | Only accepted following prior consultation with Consultant Microbiologist. |  | 18-24 days |
| Endomysial Antibodies (EMA)* |  |  |  |  | See Coeliac Screen |  |  |
| Epstein-Barr Virus (EBV) antibodies * | Blood | None | 5.5 | Red top vacuette serum tube |  |  | 7 – 12 days |
| Epstein-Barr Virus PCR EBV DNA * | Blood | K EDTA | 4.5 | Purple top vacuette EDTA tube | Serology Lab must be notified before sending samples. Specimen collect date and time must be provided on request form. Samples must be received in Laboratory, separated and frozen within 24 hrs of venepuncture |  | 10 – 21 days |
| Farmers lung screen * | Blood | None | 5.5 | Red top vacuette serum tube |  |  | 10 – 24 days |
| Galactomannan Assay* | Blood | None | 5.5 | Red top vacuette serum tube |  |  | Weeks |
| Gentamicin levels | Blood | None | 5.5 | Red top vacuette serum tube | Clinical details including site of infection, Time blood was collected, Dose schedule, When last dose was given, should be clearly indicated on request form. See SHARx App Desirable Levels: Gentamicin (pre-dose): <1mg/L. |  | 3-6 hours Results NOT phoned |
| Group B streptococcal PCR | Blood | K EDTA | 4.5 adult 1.5 paed | Purple top vacuette EDTA tube | Please state on request form if patient was on antibiotic prior to sample collection, clinical details, date of onset of symptoms |  | If sample received in referral lab before 11 AM preliminary verbal report can be issued same day. |
| Haemophilus influenzae b antibodies (HIB) * | Blood | None | 5.5 | Red top vacuette serum tube |  |  | 15-24 days |
| Haemophilus PCR * | Blood | K EDTA | 4.5 adult 1.5 paed | Purple top vacuette EDTA tube | Please state on request form if patient was on antibiotic prior to sample collection, clinical details, date of onset of symptoms |  | If sample received in referral lab before 11 AM preliminary verbal report can be issued same day. |
| Hepatitis A IgM (Acute infection) | Blood | None | 5.5 | Red top vacuette serum tube |  |  | 2 – 6 days |
| Hepatitis A IgG (Immunity/ Past infection) * | Blood | None | 5.5 | Red top vacuette serum tube |  |  | 7 – 14 days |
| Hepatitis B surface antigen (HBsAg) Acute Infection ** | Blood | None | 5.5 | Red top vacuette serum tube |  |  | 2 – 6 days |
| Anti-HBs (Hepatitis B Immunity/ Vaccination) | Blood | None | 5.5 | Red top vacuette serum tube | Please provide vaccination history. For information on HBV vaccine schedule/ post vaccination testing refer to Immunisation Guidelines at www.hse.ie/eng/health/immunisation/hcpinfo/guidelines - Chapter 9 Hepatitis B |  | 2 - 6 days |
| Anti-HB core (Evidence of past infection) * | Blood | None | 5.5 | Red top vacuette serum tube |  |  | 7 – 12 days |
| Hep B markers: Anti-HBe, HBeAg, Anti Hep B core specific IgM | Blood | None | 5.5 | Red top vacuette serum tube |  |  | 7 – 12 days |
| Hepatitis B viral load, HBV DNA * | Blood | K EDTA | 4.5 | Purple top Vacuette EDTA tube | Specimen collect date and time must be provided on request form. Samples must be received in Laboratory, separated and frozen within 24 hours of venepuncture and Serology Lab notified before blood is taken. |  | 10 – 21 days |
| Hepatitis C serology ** | Blood | None | 5.5 | Red top vacuette serum tube |  |  | 2 – 6 days |
| Hepatitis C Ag * | Blood | None | 5.5 | Red top vacuette serum tube |  |  | 5-12 days |
| HCV Genotype * | Blood | K EDTA OR None | 4.5 5.5 | Purple top Vacuette EDTA tube Red top vacuette serum tube | Specimen collect date and time must be provided on request form. Samples must be received in Laboratory, separated and frozen within 24 hours of venepuncture and Serology Lab notified before blood is taken. |  | 10 – 24 days |
| HCV PCR/ viral load * | Blood | KEDTA OR None | 4.5 5.5 | Purple top Vacuette EDTA tube Red top vacuette serum tube | Specimen collect date and time must be provided on request form. Samples must be received in Laboratory, separated and frozen within 24 hours of venepuncture and Serology Lab notified before blood is taken. |  | 10 – 24 days |
| Hepatitis delta antigen * | Blood | None | 5.5 | Red top vacuette serum tube | Requests only accepted from patients with documented Hepatitis B infection |  | Weeks |
| Hepatitis E * | Blood | None | 5.5 | Red top vacuette serum tube | Not part of Hepatitis Screen. Please specify on request form if Hepatits E is required. |  | 7-12 days |
| Herpes simplex antibodies * | Blood | None | 5.5 | Red top vacuette serum tube |  |  | 10 – 18 days |
| Herpes simplex PCR* | Blood | KEDTA OR None | 4.5 5.5 | Purple top Vacuette EDTA tube Red top vacuette serum tube | Specimen collect date and time must be provided on request form. Samples must be received in Laboratory, separated and frozen within 24 hours of venepuncture and Serology Lab notified before blood is taken. |  |  |
| HIV 1 / 2 Abs + p24 Ag ** | Blood | None | 5.5 | Red top vacuette serum tube |  |  | 2 – 6 days (PTWIP) |
| HIV confirmatory tests * | Blood | None | 5.5 | Red top vacuette serum tube |  |  | 5 – 12 days |
| HIV Genotypic antiviral resistance testing | Blood | K EDTA | 2 X 4.5 | Purple top vacuette EDTA tube | Specimen collect date and time must be provided on request form. Samples must be received in Laboratory, separated and frozen within 24 hours of venepuncture and Serology Lab notified before blood is taken. |  | 16-24 Days |
| HIV viral load * | Blood | K EDTA | 2 X 4.5 | Purple top vacuette EDTA tube | Specimen collect date and time must be provided on request form. Samples must be received in Laboratory, separated and frozen within 24 hours of venepuncture and Serology Lab notified before blood is taken. |  | 10 – 24 days |
| HTLV | Blood | None | 5.0 | Red top vacuette serum tube |  |  |  |
| Influenza virus * | Nasopha-ryngeal aspirate, Viral nasal/ Throat sample | None | 4.5 | Sterile Universal Container or viral swab | Send to Microbiology Laboratory |  | 5-12 days |
| JC Virus* |  |  |  |  | See polyomavirus |  |  |
| Leptospiral screen * | Blood | None | 5.5 | Red top vacuette serum tube |  |  | 10 – 18 days |
| Measles antibodies (IgM + IgG) * | Blood | None | 5.5 | Red top vacuette serum tube |  |  | 10 – 18 days |
| Meningococcal antibodies * | Blood | None | Paed 1.5 (0.2-0.5 ml serum) | Red top vacuette serum tube | Please specify which serogroups to be tested quadrivalent vaccine for Meningococcal A, C, W, Y and/ or Meningococcal serogroup B |  | Variable, 2 – 6 months |
| Meningococcal PCR* | Blood | K EDTA |  | Purple top vacuette EDTA tube | Clinical details required: Pre collection antibiotics, date of onset, primary diagnosis, clinical details and lab findings |  |  |
| Monospot (Glandular fever) | Blood | None | 5.5 | Red top vacuette serum tube |  |  | 1 - 3 days |
| Mumps antibodies (IgM + IgG) * | Blood | None | 5.5 | Red top vacuette serum tube |  |  | 10 – 18 days |
| Mumps RNA* | Swab | None |  | Saliva foam swab |  |  |  |
| Mycoplasma pneumoniae antibodies * | Blood | None | 5.5 | Red top vacuette serum tube | NVRL will test Mycoplasma IgM for patients under the age of 20. For patients >/= 20 years old prior discussion is required with Consultant Microbiologist as these samples are sent, to UK for analysis. Viral swab for influenza is preferred sample. |  | 10 – 18 days |
| Neisseria meningitidis PCR * | Blood | K EDTA | 4.5 adult 1.5 paed | Purple top vacuette EDTA tube | Please state on request form if patient was on antibiotic before taking sample, Clinical details, Date of onset of symptoms |  | If sample received in referral lab before 11 AM preliminary verbal report can be issued same day. |
| Parvovirus B19 serology * | Blood | None | 5.5 | Red top vacuette serum tube |  |  | 10 – 18 days |
| Parvovirus B19 DNA | Blood | K EDTA | 5.5 | Purple top vacuette EDTA tube | Sample requires freezing within 24hrs of venipuncture. Collection date and time required. |  |  |
|  | Swab |  |  | Buccal swab |  |  |  |
| Pneumococcal antibodies * | Blood | None | 5.5 | Red top vacuette serum tube | Only accepted following prior consultation with Consultant Microbiologist |  | 15-24 days |
| Pneumococcal PCR * | Blood | K EDTA | 4.5 adult 1.5 paed | Purple top vacuette EDTA tube | Please state on request form if patient was on antibiotics prior to sample collection, clinical details, date of onset of symptoms |  | If sample received in referral lab before 11 AM preliminary verbal report can be issued same day |
| Polyomavirus (JC, BK) PCR * | Blood | None | 5.5 | Red top vacuette serum tube | Specimen collect date and time must be provided on request form and sample. Blood Sample must be received and frozen within 24 hours of venepuncture. Urine sample must be frozen within 24 hrs of collection |  | 10-24 days |
|  | CSF Urine |  |  | Sterile Universal Container |  |  |  |
| Rubella IgG | Blood | None | 5.5 | Red top vacuette serum tube |  |  | 2-6 days |
| Rubella IgM * | Blood | None | 5.5 | Red top vacuette serum tube |  |  | 7-12 days |
| Schistosomal antibodies * (Primarily screened on urine in microbiology) | Blood | None | 5.5 | Red top vacuette serum tube | Only accepted following prior consultation with Consultant Microbiologist |  | 15-24 days |
| Staphylococcal antibodies * | Blood | None | 5.5 | Red top vacuette serum tube | Test currently suspended |  |  |
| Syphilis screen (Treponema pallidum) ** | Blood | None | 5.5 | Red top vacuette serum tube |  |  | 2-6 days |
| Teicoplanin level (Trough) * | Blood | None | 5.5 | Red top vacuette serum tube | Site of infection, Dose schedule, When last dose was given, must be clearly indicated on form. Only accepted following prior consultation with Consultant Microbiologist |  | 3– 7 days for phoned result |
| Tobramycin Level * | Blood | None | 5.5 | Red top vacuette serum tube | State dose schedule, when last dose was received, Tobramycin is assayed in St Vincent’s Hospital |  | 2 – 4 days for phoned result |
| TORCH Screen |  |  |  |  | See individual assays |  |  |
| Toxocara antibodies * | Blood | None | 5.5 | Red top vacuette serum tube |  |  | 15-24 days |
| Toxoplasma screen * | Blood | None | 5.5 | Red top vacuette serum tube |  |  | 7-12 days |
| Tissue Trans-glutaminase |  |  |  |  | See Coeliac Screen |  |  |
| Vancomycin levels | Blood | None | 5.5 | Red top vacuette serum tube | Site of infection, Collect time of sample, Dose schedule, When last dose was given, should be clearly indicated on request form. See SHARx App Desirable Levels: Vancomycin (trough): Aim for 10-15mg/L. For serious infection,eg septicaemia, endocarditis osteomyelitis etc.: Aim for 15-20mg/L |  | 2 hrs Results only phoned to wards if Vancomycin level is > 20 mg/L |
| Varicella Zoster Virus (VZV) antibodies | Blood | None | 5.5 | Red top vacuette serum tube |  |  | 2-6 days |
| Viral Screen (not processed as specific tests must be requested ) | Tests MUST be specified and clinical details provided. Refer to NVRL handbook. Clinical team in NVRL can be contacted at 01 7164418 if advice is required |  |  |  |  |  |  |
| West Nile Virus * | Blood | None | 5.5 | Red top vacuette serum tube | Only accepted following prior consultation with Consultant Microbiologist. Please provide clinical details including travel history. |  | 10- 18 days |
| Widal test | Discontinued. Does not meet criteria for diagnostic test. No longer available in this country. |  |  |  |  |  |  |
| Yellow fever IgM | Blood | None | 5.5 | Red top vacuette serum tube |  |  |  |
| Yersinia antibodies * | Blood | None | 5.5 | Red top vacuette serum tube | Test discontinued. The recommended method for the diagnosis of suspected Yersiniosis is the culture of Yersinia species from faecal specimens. |  |  |
| Zika virus/Zika PCR/Zika RNA | Blood | None | 5.5 | Red top vacuette serum tube | Symptomatic patients with appropriate travel history within 14 days. Discuss with consultant microbiologist. Sample must be frozen within 24 hours of venipuncture. |  |  |

Return to Microbiology Index

Return to Table of Contents

# Public Health Laboratory

Public Health Laboratory Pathology Department Sligo University Hospital Sligo

Return to Table of Contents

| ## Hours of Operation | Monday- Friday 0900-1700 |  |
| --- | --- | --- |
| Phone | Main Laboratory | 071 917 4558 |

Services provided by the Public Health and Official Food Microbiology Laboratory.

The Public Health Laboratory, a subsection of the Clinical Microbiology Department, is an official Food Safety/Surveillance Laboratory, whose statutory role is to test food for compliance with the relevant guidelines and legislation, in order to safeguard public health.

Microbiological analysis is carried out, not only on a wide range of foodstuffs but also on water samples, submitted to the Laboratory, primarily by Environmental Health Officers, but also by Hospitals and other Agencies.

Environmental testing is also carried out for the Environmental Health Service and some Hospital Departments as well as monitoring of Air Quality.

Public Health Laboratory is a testing laboratory accredited to ISO 17025 since 1998, Irish National Accreditation Board (INAB) registration number 098T and continues to provide an accredited regional Food, Water and Environmental testing service for the Saolta University Healthcare group areas of Sligo, Leitrim, Donegal and West Cavan. Detail of the scope of accreditation can be viewed on the INAB website www.inab.ie

The functions of the Laboratory may be described as

- The analysis of food and water samples is for a variety of food borne pathogens and indicator organisms

- Participation in the investigation and control of the outbreak of illness suspected of arising from food, water or environmental contamination

- Provision of relevant expert advice and support to Environmental Health Officers and Public Health Physicians.

# Histology and Cytology

Histology/Cytology Laboratory Pathology Department, Sligo University Hospital, Sligo.

Return to Table of Contents

Histology and Cytology Laboratory Index

Histology/Cytology Hours of Operation	179

Histology Laboratory Staff Contact Details	179

Histology/Cytology General Information	180

List of Histology Specimens and their Requirements	181

List of Cytology Specimens and their Requirements	183

Fine Needle Aspirates (FNAs)	184

Turnaround Times (TaT’S)	184

Storage and Disposal of Specimens	185

Mortuary Hours of Operation	185

Mortuary Staff Contact Details	186

To Request a Hospital Autopsy	186

Autopsy on patient with infectious disease	186

Autopsy on Still births and foetuses	186

Amputation of a Limb	186

Procedure for dealing with Coroner’s Cases	186

## Histology/Cytology Hours of Operation

| Hours of Operation | Monday- Friday 0900-1700 |  |
| --- | --- | --- |
| Phone | Histology Laboratory | 071 9174559 |
|  | Cytology Laboratory | 071 9174173 |
| Fax | 071 9136871 |  |

## Histology Laboratory Staff Contact Details

| Name | Job Title | Contact / Email |
| --- | --- | --- |
| Mr. Liam O’Grady | Pathology Manager | Liam.ogrady@hse.ie Work 071 917 4560 |
| Dr.Paul Hartel | Consultant Pathologist | Secretary 071 9174710/4554 |
| Dr. Erich Langner | Consultant Pathologist | Secretary 071 9174710/4554 |
| Sinéad O’Rourke | Chief Medical Laboratory Scientist | 071 9174564 |
| Elaine Logan | Senior Medical Scientist (Quality Officer) | 071 9174559 |

Return to Histology/Cytology Index

Return to Table of Contents

## Histology/Cytology General Information

The Pathology Department located on level 4 above the Out Patients Department and the North West Hospice. The Histology/Cytology laboratory is located in the Pathology Department, right past Central Reception, next right to Histology/Cytology.

Any deviations from Histology/Cytology Specimen Acceptance Criteria (see below) are recorded as non-conformances, corrective and preventive actions implemented and follow-up monitoring implemented.

If there is any doubt, on review of information provides here, about how to handle a specimen please contact the laboratory, assistance is provided by Senior Scientific staff. In addition, feedback on the content of this document would be of great assistance to the Histology/Cytology Quality Management team. Consultant Pathologists provide information to requesting physicians with regard to clinical indicators and/or the frequency of repeat specimens, if relevent. The possibility of further examination of a primary specimen previously submitted can be discussed with either the Consultant Pathologist.

Histology/Cytology examination procedures are limited by the quality of the sample received. Appropriate handling and transportation of specimens from all location to the laboratory is essential to ensure safe delivery of same. All samples must be transported in sealed leak-proof containers. Formalin Histopots should be sealed in the envelope portion of the Histology/Cytology request form. All Histology/Cytology specimens are delivered directly to the Histology/Cytology laboratory, Pathology Central Reception must be by-passed, and specimens are DATE/TIME stamped on receipt in the laboratory. Refer to QPulse; S-CLN-TH-008 Care and Handling of Specimens in General Theatre, Orthopaedic Theatre and Day Services. Specimens must be stored according to hospital policy.

Histology/Cytology reports are issued to the requesting physician as identified on the Histology/Cytology request form submitted. Ensure the addresograph labels used are from the current admission. Ensure episode/event corresponds to the clinician who is to receive the report, and no other clinician is referenced on the request form.

Reports are also available to requesting physicians in electronic format on CoPath under restricted access.

Histology/Cytology Specimen Acceptance Criteria

All specimens for routine Histology should be submitted in 10% neutral buffered formalin, in a suitably sized, leak proof container. The container should hold at least three times the volume of fixative in ratio to the size of the specimen to ensure adequate fixation. Formalin Histopots (red-top) should be used at specimen collection for all biopsies and small tissue specimens. Larger Histology specimens should be submitted in a disposable container for surgical specimens. Specimens for Cytology should be submitted fresh in a sterile screw-top container or Cytolyte fixative pre-filled containers. Larger volume Cytology specimens should be submitted in multiple 20ml universal containers.

The specimen container must be clearly labeled with 3 patient identifiers; Name (surname, first name), Date of Birth, and PCN or address. The specimen type/ anatomic site must also be recorded on the specimen container body, if also labeling specimen container lid- the lid and body container labeling must match. Include further descriptive terms (e.g. left, right), as required, to uniquely identify the specimen. Larger specimen containers should be submitted with patient identification labels on both the body and lid of the container. Do not selotape the request form to the specimen container for labeling purposes.

A completed Histology/Cytology request form (purple form, doc.no.68444) must accompany the specimen.

A complete request form must include patient's name (surname, first name), Date of Birth, and PCN or address.  Gender, location, name of requesting physician, pertinent clinical information, specimen description, preoperative and/or postoperative diagnosis, date and time the specimen was taken and signature and contact details of requesting physician. In the case of an outside patient the include patient's name (surname, first name), Date of Birth, and PCN or address. The specimen description must be given on both the specimen and request form. Where specimens are collected at a clinic, a clinic specimen list accompanies the specimens to the laboratory, all patient and specimen identification details recorded on this list must match the specimen container(s) and request form.

Specimens and/or request forms that are not properly completed will not be processed. The person who takes the sample will be contacted and asked to come to the laboratory to complete the labeling requirement, to permit specimen acceptance.

Histology/Cytology specimens should be labeled at the time of specimen collection, according to local collection procedures for patient/ specimen/ test request identification checks. The Histology/Cytology request form should be completed by the requesting physician at the time of specimen collection.

Histology/Cytology request forms (document number 68444) fixative and specimen containers can be obtained at the Laboratory by contacting the porter on duty Bleep 188.

Return to Histology/Cytology Index

Return to Table of Contents

## List of Histology Specimens and their Requirements

The specimen description, as documented by the clinician on the Histology/Cytology request form, is essential for the appropriate examination procedures relating to it. This description also forms part of the final diagnostic report and consequently the medical record of the patient. Therefore the accuracy of this description is an essential part of the request. There is a separate part of the request form for the procedure, previous history and clinical details. Ensure the requisition form is completed fully and legibly. All anatomic parts and tissues removed are taken to the Histology laboratory.

| Test | Specimen (Part) Type | Additive and amount required | Container type | Special requirements |
| --- | --- | --- | --- | --- |
| Small biopsies for Histology | Endoscopic, skin, core/needle biopsies (prostate breast, lung etc.) curettings etc. | 10% Neutral Buffered Formalin (NBF) | Prefilled 40 ml containers with lid firmly closed | None |
| Larger biopsies or organs for Histology | Fixed tissue Resections, larger biopsies, organs etc | 10% NBF. Bulk liquid is available from the Histology Laboratory. Ensure specimen is fully immersed in liquid | Select appropriately sized Histology container (available from the Pathology Laboratory) with the lid securely closed | None |
| Frozen section for Histology | Fresh tissue | None Do Not Immerse in Fluid | Appropriately sized empty Histology container with lid securely closed | Prior to procedure- inform Pathologist on-duty and laboratory to advise and ensure appropriate staff are available. Adhere to the standard safety precautions for infectious material. Transport immediately to the laboratory |
| Genetic studies* | Paraffin embedded tissue | N/A | N/A | Pathologist selected on request |
| Cytogenetic studies** | Fresh tissue | RPMI+ATB transport media | Specific container supplied by Eurofins Biomnis laboratories | Eurofins Biomnis request form and patient consent form must be completed prior to specimen collection |
| Immunophenotyping/Flow Cytometry* | Cerebrospinal fluids/Fine needle aspirations | RPMI transport media | Prefilled 20ml containers available from Histology | Dispense fluid directly into the 20ml prefilled container at procedure |

* and** These tests are referred to outside laboratories for analysis.

** Eurofins Biomnis RPMI transport medium, Cytogenetics request form and Patient consent form are available in the Histology laboratory. The report will go to requesting Clinician.

Return to Histology/Cytology Index

Return to Table of Contents

## List of Cytology Specimens and their Requirements

Diagnostic cytology involves the study of cells recovered from aspirated samples or from other body fluids.

| Specimen type | Container Type | Special Requirements |
| --- | --- | --- |
| Ascitic Fluid | Sterile screw capped container | Send an aliquot of the fluid. Do not send bags |
| Bronchoalveolar lavage (BAL)/ brushing | Sterile screw capped container or Cytolyte fixative pre-filled container |  |
| Cyst Fluid | Sterile screw capped container |  |
| Cerebrospinal fluid (CSF) | Sterile screw capped container |  |
| Fluids: Pleural / Pericardial / Peritoneal etc. | Sterile screw capped container | Send an aliquot of the fluid. Do not send bags |
| Synovial Fluid | Sterile screw capped container |  |
| Fine Needle Aspirate (FNA) | For fluids: Cytolyte fixative pre-filled container For slides: Pencil labelled slides in slide mailer | Submit air dried and wet fixed slides labelled with mode of fixation and patient’s name, DOB and PCN |
| Urine for fat globules | Sterile screw capped container | Transported to laboratory immediately |
| Urine for Cytology | Sterile screw capped container or Cytolyte fixative pre-filled container | 2nd whole voided urine of the day after exercise |

Specimens for Cytology must be delivered as quickly as possible to the laboratory as fresh samples are essential for accurate diagnoses. Specimens must be labeled are per Specimen Acceptance criteria (above) and sent in screw-capped, leak proof containers. Large volume fluid specimens must be collected in multiple screw-capped containers, each one labeled as per Specimen acceptance criteria.

A fully completed Histology/Cytology request form (purple, doc.no.68444) must accompany the specimen. A completed request form includes include patient's name (surname, first name), DOB, and PCN or address, location, name of requesting physician, date and time specimen was taken and signature and contact details of requesting physician and include source of specimen, patient history, details of previous Cytology or Histology investigations and details of ongoing or recent treatment.

Specimens and/or request forms that are not properly labelled will not be processed. The person who takes the sample will be contacted and asked to come to the laboratory to complete the labelling required. Only then will the sample be processed.

A completed purple Histology/Cytology request form must be submitted with all specimens for Cytology. However, an exception to these specimen acceptance criteria is permitted in the case of a limited fluid specimen for Cytology where other examinations e.g. c&s, are also required on the specimen. In this situation a request form other than the purple Histology/Cytology form is acceptable.

Return to Histology/Cytology Index

Return to Table of Contents

## Fine Needle Aspirates (FNAs)

Slides must first be labelled, using a hard lead pencil, giving the include patient's name (surname, first name), DOB, and PCN and mode of fixation for that slide. This laboratory requires samples of both air-dried and wet-fixed material.

- Air - dried smears

- Wet fixed smears should be immersed in 95% alcohol (available from the Histology lab) immediately.

In addition, the material in the needle may be flushed out using 5 –10 mls of sterile saline. This must be transported immediately to the Cytology laboratory in an appropriately labelled, screw-capped container.

A fully completed request form (PURPLE) must accompany the specimen. A complete requisition form includes patient's name (surname, first name), DOB, and PCN or address. Location, name of requesting physician, date and time specimen was taken and signature and contact details of requesting physician. Source of specimen, patient history, details of previous cytology or histology investigations and details of ongoing or recent treatment should be included.

Specimens and/or request forms that are not properly labeled will not be processed. The person who takes the sample will be contacted and asked to come to the laboratory to complete the labeling required. Only then will the sample be processed.

## Pathology Laboratory assisted FNAs

A Pathologist and/or Medical Scientist are available if required, by pre-booked appointment only, to perform, or assist with FNAs. An appointment for assistance must be made through the laboratory in advance EXT. 74173 or 4559.

On attendance please have available the patient’s chart and a fully completed request form with all relevant details. Materials used in primary sample collection are disposed of in accordance with SUH policy and procedure QPulse COR-WAS-001 Sligo Regional Waste Management Policy

Return to Histology/Cytology Index

Return to Table of Contents

## Turnaround Times (TaT’S)

TaTs are calculated based on the date and time of accessioning on receipt in the laboratory, to the date and time of report issuing. We aim to adhere to the published TaTs, as defined below, for 80% of Histology specimens accepted for processing.

| Specimen Type | Times to issuing of report |
| --- | --- |
| All large specimens; resection and excision | 80% 10 Working Days |
| All small specimens; Biopsies | 80% 10 Working days |
| Prostate Biopsies | 80% 10 Working days |
| Cytology specimens | 80% 7 Working days |
| Urgent samples | Contact duty pathologist |

Return to Histology/Cytology Index

Return to Table of Contents

## Storage and Disposal of Specimens

Examined specimens are stored in the Histology/Cytology Laboratory under controlled conditions. Histology samples, with excess tissue, are disposed of 30 days post the final sign out of report.

Fixed liquid cytology preparations are retained for up to 21 days post preparation.

Requests for additional examinations may be made up to this time by contacting the pathologist on duty.

Disposal of other materials

Formalin and other chemicals used in this service are disposed of using controlled conditions. If disposal of these chemicals are required they must be returned to the laboratory where they will be disposed of in accordance with the policies of the laboratory.

Return to Histology/Cytology Index

Return to Table of Contents

## Autopsy Service

| Dr Paul Hartel Dr Erich Langner | Consultant Pathologist | Secretary 071 9174554 |
| --- | --- | --- |

## Mortuary Hours of Operation

| Hours of Operation | Routine Service Monday-Friday 0830 - 1700 |
| --- | --- |

## Mortuary Staff Contact Details

| Name | Job Title | Contact / Email |
| --- | --- | --- |
| Mr Desmond Horan | Senior Anatomical Pathology Technician | Work 071 9174451 Mob 087 6790113 Or via switchboard |

## To Request a Hospital Autopsy

Consent for Autopsy Form must be signed by as close a relative to the deceased as possible. The form is then filed in the patient’s chart and kept at ward level

Ensure the chart and all details are available prior to the performance of the autopsy

Contact the Anatomic Pathology Technician Ext. 4451 or 087 6790113 to give details, have the case accepted and arrange a time for the autopsy

Contact the Medical Secretary at 4554/4710 to have the case accepted

Arrange to have the body transported to the Mortuary by contacting the porter on duty via the Hospital switchboard

## Autopsy on patient with infectious disease

Autopsies on patients with infectious disease i.e. Tuberculosis, Hepatitis etc. are NOT performed at this facility.

Note: Body bags are available at the Mortuary if necessary.

## Autopsy on Still births and foetuses

The arrangements for autopsy are made as for a deceased adult. Deceased babies over 24 weeks gestation must have Consent for Autopsy form signed by a parent. If appropriate, please ensure that the placenta either accompanies the body to the mortuary or is sent to the Histology Laboratory for examination.

Arrangements for disposal or funeral must be made with the parent(s).

Return to Histology/Cytology Index

Return to Table of Contents

## Amputation of a Limb

Amputated limbs may be disposed of by the hospital or can be removed by the patient/relative for burial. Please ensure that the patient before surgery signs the appropriate form.

Return to Histology/Cytology Index

Return to Table of Contents

## Procedure for dealing with Coroner’s Cases

When a death occurs in circumstances that require notification to the Coroner:

DO NOT REQUEST THE NEXT OF KIN TO SIGN A HOSPITAL AUTOPSY PERMISSION FORM

DO NOT COMPLETE A DEATH CERTIFICATE

The doctor should report the case to the Coroner.

Coroner for Sligo/Leitrim is     Mr.Eamon MacGowan

Stephen House,

Stephen Street,

Sligo

Phone: 071 9146800

# Laboratory Information System

Laboratory Information System (LIS) Office Pathology Department Sligo University Hospital Sligo

Return to Table of Contents

Laboratory Information System Index

24.	Laboratory Information System	188

Hours of Operation	188

Pathology Reports	188

## Hours of Operation

| Hours of Operation | Routine hours only Monday-Friday 0900-1700 |  |  |
| --- | --- | --- | --- |
| Primary Contact |  | LabInfo.SystemsNW@hse.ie |  |
| Phone | Martin Lawrence | LIS Manager | Ext 74565 |
| Phone | Siobhan McHugh | LIS Assistant Manager | Ext 76824 |

Please note: As not all phone calls may be answered, it is advisable to submit enquiries to the email given above.

## Pathology Reports

This laboratory aims to perform the laboratory tests and send interim and final reports out as promptly as possible. The Pathology Department is served by a 2 fully integrated Laboratory Information Systems (LIS--Sunquest),

- Sunquest Laboratory, covers, Biochemistry, Blood Transfusion, Haematology and Microbiolog.

- CoPath Plus, covers Histology/Cytology.

Since all reports from Pathology are computer generated, the quality and legibility of information received on the request forms is critical.

The Reference Ranges of results for tests are included in the report where appropriate (particularly on Haematology and Biochemistry Pathology reports). Reference ranges for each test are shown in the departmental sections. Please contact the Consultants or other senior laboratory staff to discuss any further interpretations or doubts that may arise from the reports.

## Printed Reports

Reports are printed with reference ranges and or suitable comments whenever appropriate to aid interpretation of results. Reports will be addressed to requesting clinician.

Please note that the printed authorised report issued by the laboratory is a medico legal document within the patient record. Page number is indicated on the printed patient report. It is also indicated on the bottom of the printed reports as to whether or not a patients report is completed i.e. ‘End of report’ or there are additional pages to the report i.e. ‘Continued’.

Internal reports

Paper reports are printed throughout the day on paper specific for each Pathology Department These reports are sorted into requesting source by pathology clerical staff and sent via the pneumatic chute system or alternatively are hand delivered to the appropriate location.

External reports

Test result reports for primary care practitioners and other users of the service are sent via the postal service.

Referral test reports are returned directly to the requesting clinician by the referral laboratory. In general Sligo Pathology laboratories do not keep electronic copy of results. Any queries relating to referral tests should be made directly to the referral laboratory.

When doctors have taken note of the results it should be policy to ensure that all reports, whatever the results, are filed in the patient's case notes to provide a permanent record.

Emergency critical, abnormal and urgent results are phoned directly to wards or requesting clinician.

Electronic Reports

When Pathology results are authorised this information is available for viewing on the ward PCs throughout the Hospital.  Some primary care sites have access to results electronically.

All locations receiving results electronically continue to receive hard copy.

Results can be accessed electronically using the LIS.

Tests are resulted with reference range displayed after result.

Tests that are displayed as pending are still due for processing.

NB: some tests are performed in batches, please refer to relevant departmental section for test details and turn around times.

## Pathology results access

The user of Sunquest laboratory access will be responsible for the proper use of the facility. In order to comply with the HSE obligations under the data protection act 1988 and EU GDPR to protect the confidentiality of the patient record it is current hospital policy that any information viewable on Sunquest enquiry is not to be printed.

In addition the information on Sunquest is only to be used by hospital staff for the purpose for which it is intended ie clinical management.

Information available from Sunquest enquiry must be used strictly in accordance with Sligo University Hospital Confidentiality policy.

If this facility is abused in any way, Sunquest enquiry may be withdrawn and disciplinary action may be taken.

## Access to Microbiology Results

The Laboratory Information System was not designed for ward access to Microbiology results. The system allows access to incomplete and/or unauthorised results. If accessing the LIS to view microbiology results, the user MUST ensure he/she scrolls through ALL windows associated with the particular report in order to view all interpretations and comments and check the report status.  Results with a report status of ‘pending’ are unauthorised and may be subject to change.

## Sunquest Laboratory Information System Ward Access Training

This describes how to log-on to the Laboratory Information System (LIS) and access patient results. It provides a description of each function required and examples of how they are used.

This manual refers to LIS access via a PC and supersedes all previous versions.

General notes:

Turn on Caps Lock, as all input to the system is to be in uppercase.

An option in angled brackets < > is a default and Pressing Return will select it.

To move to a previous screen press the F11 key unless you are prompted to press the * key (Hold down shift and the number 8).

To log out of the system keep moving to the previous screen using the F11 key until you get the message below – DO NOT close the application or use X to close the application until the message below is displayed:

Fig 1: Screen shot showing correct logout message.

To change your password type CPW at the function prompt and then follow instructions.

Typing (*) at the DATE/DAYS/(E)EVENTS: prompt allows another patient PCN to be entered.

(Typing a semi-colon (;) at ‘the HOSP. NO: prompt allows results for the previous patient to be examined.)

If no further patient results are required Press F11 to return to the FUNCTION: prompt.

## Accessing Lab Results:

The simplest way of going through this process is to think of it as four separate stages:

Log onto the system.

Identify the patient.

Identify the Time period within which you want to look at results.

Identify the results you want to review.

Logging onto the lab system

Double Click LIS Icon on Desktop

(Might also be called Lab or Kepler)

Fig 2: Screen shot showing shortcut icon

At the login: prompt enter HOSP and then press (Enter).

Fig 3: Screen shot showing initial logon to the system

At the DEVICE LOC: prompt enter S to access results of tests performed at Sligo then press (Enter).

Fig 4: Screen showing device loc prompt

At the ACCESS CODE: prompt type in your ACCESS CODE which where possible (But NOT always) is the first letter of your forename followed by your surname: then press (Enter).

Fig 5: Screen shot showing ACCESS CODE entry.

At the PASSWORD: prompt type your password and then (Enter)

Identifying the patient

After logging onto the system you are presented with a FUNCTION: prompt. Enter I (for Inquiry) and press Enter

Fig 6: Screen shot showing FUNCTION prompt.

You are then asked to provide the hospital number for the patient you want to lookup.

Fig 7: Screen shot showing Patient inquiry screen.

Then press (Enter).

Note: Hospital numbers have to be at least 6 digits in length – if they are less then they should be padded out to 6 digits using preceding zero’s (0) e.g.: 1234 becomes 001234

Identify the time period

Once you have identified the patient then their details appear at the top of the screen and you are presented with a DATE/DAYS/(E)VENTS: prompt

Fig 8: Screen shot showing patient selected and time period query screen.

The following options apply here:

Pressing Return selects the most recent results

Entering a date(1) searches for results on that specific date.

Entering a date(1) range e.g. nn/nn/nnnn-nn/nn/nnn searches for results within the specified date range.

(1) Acceptable Date Formats.  E.g. For 01/01/2002 the following can be entered:

01012002

01/01/02

010102

01/Jan/2002

Note: When a Date Range is entered results are displayed in reverse chronological order (Most recent results first).

Entering a number allows results for that number of days prior to, and including, the patient’s most recent day of activity, to be displayed, maximum 999 days, enter 999

Enter inquiry for results from previous no of days eg. Results from previous 7days, enter T-7 (T=today)

Entering E displays a list of events for that patient. Highlight the appropriate event and Press Return.

Identify Results to be displayed

Fig 9: Screen shot showing patient selected, time period selected and test department selection screen.

Pressing Return here selects all tests.

TEST-1  Enter C for Clinical Chemistry results, or enter individual test code as outlined below

or

Enter H for Haematology results or enter individual test code as outlined below

or

Enter HC for Coagulation results or enter individual test code as outlined below

or

Enter S for Serology or enter individual test code as outlined below

or

Enter MC for Micro Culture results, or enter individual test code as outlined below

Then Press Enter

TEST-2  Repeat as for TEST-1 if results for other Laboratory Departments are required.

TEST-N Repeat as for Test-1 or Test-2

Fig 10: Screen shot showing patient selected, time period selected and result departments selected screen.

So in the screen shot above we have requested the results for all the Chemistry(C), Haematology(H) and Coagulation(HC) tests for the last 999 days for patient Joe Bloggs.

Results for a specific test only

Sometimes a query results in a lot of information being displayed and you may be interested in just one particular test. To look up the results for one particular test is very similar to the above – the only difference being we specify the test code at the TEST-1 prompt. For example if you know the code for Uric Acid is UA type UA at the TEST-1 prompt and press enter.

If the test code is not known type  = followed by any string of characters that could form part of the test name. A list of possible test names and test codes is displayed. The codes are highlighted on the right-hand side of the screen.  Choose the appropriate code.

Fig 11: Screen shot showing search for tests containing the string “sodium”.

In the example above we are looking for the test code for Sodium and we can see all the tests that have Sodium mentioned in the description.  We can also see that entering the code NA and pressing Enter has resulted in the system knowing that it is the sodium results that are being looked for.

Interpreting the results screen:

15

13

14

12

10

11

9

8

7

6

5

4

3

2

1

Fig 12: Screen shot showing a page of results.

Accession Number – number used in the lab – can be useful if you need to contact them regarding a particular result.

Collect Date for the Specimen.

Collect time for the Specimen (UNKNOWN in this case).

Date Specimen received in the Lab.

Time Specimen received in the Lab.

Requesting Physician.

Battery/Test Name.

* To draw attention to results outside of the reference range.

Result.

Reference range.

Units.

Page number.

Continue onto next page (Default option) Press Enter to select this.

Quit the results screen. Press Q to select then Enter.

Scroll to last results for that date(s)/event. Press S to select then Enter.

## Faxed reports

Results can be faxed only when the following criteria have been met and are the responsibility of the individual laboratory departments involved.

A request to fax a result must be requested on headed paper, clearly indicating a contact person, location, address and fax no.

The fax no will be verified independently by the laboratory, a faxed request is issued by the laboratory to confirm identity of fax no location, only upon receipt of a response fax is the fax number validated.

No results will be faxed without this security procedure. This is to ensure patient confidentiality.

Please note this is a limited service and its abuse will result in its withdrawal.